## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 27 |  |  |  | Date : 27/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 27/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.18 | 8.08 | 84.8 | 25.15 | 187.76 | NA | 3.4 | 2.61 | 0 | 0.06 | 0 | 11.1 | 884.94 | 98.21 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.08 | 8.05 | 73.72 | 28.75 | 178.9 | NA | 3.31 | 2.68 | 0 | 0.06 | 0 | 13.48 | 885.18 | 143.25 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.05 | 8.01 | 76.19 | 28.11 | 184.79 | NA | 3.08 | 2.55 | 0 | 0.06 | 0 | 9.66 | 885.2 | 145.66 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.2 | 8.04 | 78.44 | 27.63 | 194.34 | NA | 3.08 | 2.33 | 0 | 0.06 | 0 | 12.96 | 885.11 | 76.18 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.08 | 8.08 | 81.95 | 27.22 | 202.1 | NA | 3.33 | 2.75 | 0 | 0.06 | 0 | 9.17 | 884.66 | 96.21 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.08 | 8.29 | 79.27 | 28.15 | 221.2 | NA | 3.44 | 2.81 | 0 | 0.06 | 0 | 10.16 | 883.99 | 78.65 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.1 | 8.29 | 74.54 | 28.53 | 224.19 | NA | 3.31 | 2.58 | 0 | 0.06 | 0 | 8.68 | 883.36 | 107.12 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.26 | 8.43 | 74.2 | 29.2 | 146.44 | NA | 3.06 | 2.45 | 0 | 0.06 | 0 | 8.9 | 882.72 | 56.05 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.21 | 8.41 | 85.99 | 26.27 | 222.07 | NA | 3.39 | 2.58 | 0 | 0.06 | 0 | 8.55 | 882.52 | 10.7 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.53 | 8.33 | 90.33 | 25 | 234.96 | NA | 3.55 | 2.6 | 0 | 0.06 | 0 | 5.48 | 882.79 | 4.59 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.28 | 8.29 | 94.94 | 23.4 | 186.25 | NA | 3.51 | 2.6 | 0 | 0.06 | 0.01 | 6.74 | 883.25 | 0.36 | 1.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.21 | 8.15 | 98 | 21.78 | 216.21 | NA | 3.35 | 2.66 | 0 | 0.06 | 0 | 7.73 | 883.83 | 0 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.18 | 8.15 | 97.25 | 21.61 | 200.4 | NA | 3.42 | 2.55 | 0 | 0.06 | 0 | 9.89 | 884.83 | 0 | 2.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.1 | 8.08 | 98.55 | 21.53 | 204.19 | NA | 3.44 | 2.65 | 0 | 0.06 | 0.11 | 9.64 | 885.74 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.1 | 8.08 | 99.5 | 21.15 | 264.24 | NA | 2.97 | 2.46 | 0 | 0.06 | 0.01 | 11.44 | 886.07 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.15 | 8.05 | 99.5 | 20.86 | 256.57 | NA | 3.44 | 2.71 | 0 | 0.06 | 0 | 12.74 | 886.12 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.03 | 8.08 | 99.5 | 20.74 | 227.33 | NA | 3.02 | 2.55 | 0 | 0.06 | 0 | 10.59 | 885.95 | 0 | 3.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.08 | 8.01 | 99.5 | 20.7 | 252.61 | NA | 3.31 | 2.66 | 0 | 0.06 | 0 | 13.18 | 885.51 | 0 | 3.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.21 | 8.01 | 99.5 | 20.39 | 277.57 | NA | 3.65 | 2.8 | 0 | 0.06 | 0 | 14.12 | 885 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0 | 7.9 | 99.5 | 20.28 | 194.06 | NA | 2.99 | 2.56 | 0 | 0.06 | 0 | 15.66 | 884.98 | 0 | 3.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.15 | 7.83 | 99.5 | 20.34 | 229.78 | NA | 3.17 | 2.5 | 0 | 0.06 | 0 | 20.13 | 884.97 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.03 | 7.94 | 99.5 | 20.18 | 267.83 | NA | 3.22 | 2.63 | 0 | 0.06 | 0 | 15.52 | 885.19 | 0 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.23 | 7.94 | 99.5 | 20.07 | 262.43 | NA | 3.17 | 2.53 | 0 | 0.06 | 0 | 15.04 | 885.57 | 0 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.13 | 7.76 | 99.5 | 20.03 | 261.52 | NA | 3.44 | 2.8 | 0 | 0.06 | 0.01 | 16.87 | 886.17 | 8.5 | 2.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.1 | 7.9 | 99.5 | 20.13 | 253.41 | NA | 2.95 | 2.33 | 0 | 0.06 | 0.01 | 11.77 | 886.64 | 39.54 | 2.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.15 | 8.09 | 91.31 | 23.49 | 222.05 | NA | 3.28 | 2.6 | 0 | 0.06 | 0.01 | 11.57 | 884.81 | 34.6 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0 | 7.76 | 73.72 | 20.03 | 146.44 | NA | 2.95 | 2.33 | 0 | 0.06 | 0 | 5.48 | 882.52 | 0 | 1.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.53 | 8.43 | 99.5 | 29.2 | 277.57 | NA | 3.65 | 2.81 | 0 | 0.06 | 0.11 | 20.13 | 886.64 | 145.66 | 3.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.15 | 8.09 | 91.31 | 23.49 | 222.05 | NA | 3.28 | 2.6 | 0 | 0.06 | 0.01 | 11.57 | 884.81 | 34.6 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.13 | 8.08 | 98 | 21.61 | 222.07 | NA | 3.31 | 2.6 | 0 | 0.06 | 0 | 11.1 | 885 | 0.36 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.1 | 8.08 | 99.5 | 20.74 | 256.57 | NA | 3.44 | 2.55 | 0 | 0.06 | 0 | 5.48 | 882.52 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.11 | 0.17 | 10.14 | 3.45 | 33.98 | NA | 0.2 | 0.13 | 0 | 0 | 0.02 | 3.42 | 1.16 | 49.62 | 0.51 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0