## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 5 |  |  |  | Date : 05/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 05/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 2 | 0.13 | 6.27 | 99.5 | 19.79 | 116.63 | 0 | 3.18 | 2.54 | 0 | 0.06 | 0.13 | 46.81 | 887.62 | 22.14 | 3.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 0.1 | 0.21 | 6.27 | 99.5 | 20.65 | 125.64 | 0 | 3.29 | 2.52 | 0 | 0.06 | 0 | 52.82 | 887.61 | 52.19 | 2.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 2.84 | 0.21 | 6.3 | 98.19 | 22.95 | 126.13 | 0 | 3.25 | 2.5 | 0 | 0.06 | 0 | 57.87 | 887.22 | 64.4 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 9.64 | 0.31 | 6.34 | 83.5 | 25.8 | 124.4 | 0 | 3.4 | 2.56 | 0 | 0.06 | 0 | 59.53 | 886.96 | 79.21 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 13.8 | 0.18 | 6.32 | 81.59 | 26.46 | 128.17 | 0 | 3.24 | 2.55 | 0 | 0.06 | 0 | 50.37 | 886.51 | 63.4 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 21.59 | 0.11 | 6.41 | 81.6 | 26.41 | 123.84 | 0 | 3.14 | 2.55 | 0 | 0.06 | 0 | 56.91 | 886.06 | 75.27 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 38.12 | 0.14 | 6.38 | 88.05 | 24.9 | 120.52 | 0 | 3.32 | 2.65 | 0 | 0.06 | 0 | 51.49 | 885.38 | 66.02 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 38.05 | 0.21 | 6.48 | 79.99 | 27.22 | 117.87 | 0 | 3.24 | 2.51 | 0 | 0.06 | 0 | 50.76 | 884.79 | 91.47 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 43.68 | 0.14 | 6.49 | 73.46 | 28.96 | 113.23 | 0 | 3.24 | 2.56 | 0 | 0.06 | 0 | 50.85 | 884.21 | 81.67 | 1.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 53.48 | 0.11 | 6.59 | 80.78 | 26.52 | 108.45 | 1.69 | 3.14 | 2.55 | 0 | 0.06 | 0 | 56.12 | 884.15 | 32.03 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 57.79 | 0.24 | 6.56 | 95.01 | 22.63 | 114.78 | 0.31 | 3.29 | 2.51 | 0 | 0.06 | 0.21 | 61.4 | 884.37 | 0 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 21.02 | 0.22 | 6.54 | 99.47 | 21.52 | 117.62 | 0 | 3.18 | 2.42 | 0 | 0.06 | 0.01 | 56.64 | 884.93 | 0 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 22.79 | 0.24 | 6.5 | 99.5 | 21.45 | 116.13 | 0 | 3.26 | 2.51 | 0 | 0.06 | 0 | 53.93 | 885.69 | 0 | 2.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 22.05 | 0.22 | 6.46 | 99.5 | 21.33 | 125.66 | 0 | 3.37 | 2.56 | 0 | 0.06 | 0.06 | 58.25 | 885.99 | 0 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 6.83 | 0.16 | 6.45 | 99.5 | 20.55 | 120.08 | 0 | 3.3 | 2.59 | 0 | 0.06 | 0 | 54.32 | 886.12 | 0 | 2.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 6 | 0.22 | 6.41 | 99.5 | 20.4 | 102.62 | 0 | 3.41 | 2.62 | 0 | 0.06 | 0 | 43.7 | 886.45 | 0 | 2.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 6.95 | 0.16 | 6.34 | 99.29 | 20.62 | 118.34 | 0 | 3.2 | 2.53 | 0 | 0.06 | 0 | 47.04 | 886 | 0 | 2.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 4.16 | 0.24 | 6.36 | 98.95 | 20.78 | 120.31 | 0 | 3.24 | 2.47 | 0 | 0.06 | 0 | 59.43 | 885.48 | 0 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 8.74 | 0.23 | 6.35 | 99.5 | 20.81 | 120.29 | 0 | 3.16 | 2.39 | 0 | 0.06 | 0 | 67.12 | 884.84 | 0 | 2.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 10.9 | 0.16 | 6.37 | 99.5 | 20.97 | 119.96 | 1.69 | 3.25 | 2.57 | 0 | 0.06 | 0 | 66.68 | 884.55 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 14.79 | 0.27 | 6.33 | 99.5 | 20.84 | 122.19 | 0.31 | 3.38 | 2.58 | 0 | 0.06 | 0 | 65.27 | 884.12 | 0 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 15 | 0.28 | 6.36 | 99.5 | 20.84 | 122.82 | 0 | 3.27 | 2.48 | 0 | 0.06 | 0 | 63.82 | 884.18 | 0 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 14.05 | 0.12 | 6.3 | 99.5 | 21.05 | 123.97 | 0 | 3.26 | 2.54 | 0 | 0.06 | 0 | 64.29 | 884.55 | 0.91 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 14.95 | 0.16 | 6.31 | 99.48 | 21.64 | 135.89 | 0 | 3.3 | 2.62 | 0 | 0.06 | 0 | 67.29 | 884.89 | 8.24 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 19.74 | 0.18 | 6.32 | 92.55 | 24 | 140.46 | 0 | 3.3 | 2.55 | 0 | 0.06 | 0 | 64.16 | 885.37 | 42.8 | 1.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 18.76 | 0.19 | 6.39 | 93.86 | 22.76 | 121.04 | 0.16 | 3.26 | 2.54 | 0 | 0.06 | 0.02 | 57.07 | 885.52 | 27.19 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0.1 | 0.11 | 6.27 | 73.46 | 19.79 | 102.62 | 0 | 3.14 | 2.39 | 0 | 0.06 | 0 | 43.7 | 884.12 | 0 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 57.79 | 0.31 | 6.59 | 99.5 | 28.96 | 140.46 | 1.69 | 3.41 | 2.65 | 0 | 0.06 | 0.21 | 67.29 | 887.62 | 91.47 | 3.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 18.76 | 0.19 | 6.39 | 93.86 | 22.76 | 121.04 | 0.16 | 3.26 | 2.54 | 0 | 0.06 | 0.02 | 57.07 | 885.52 | 27.19 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 14.79 | 0.21 | 6.36 | 99.47 | 21.45 | 120.31 | 0 | 3.26 | 2.55 | 0 | 0.06 | 0 | 56.91 | 885.38 | 0.91 | 2.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2 | 0.16 | 6.32 | 99.5 | 20.84 | 128.17 | 0 | 3.24 | 2.55 | 0 | 0.06 | 0 | 43.7 | 884.55 | 0 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 15.83 | 0.05 | 0.09 | 8.45 | 2.67 | 7.7 | 0.47 | 0.08 | 0.06 | 0 | 0 | 0.05 | 6.83 | 1.1 | 33.64 | 0.46 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0