## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 16 |  |  |  | Date : 16/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 16/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | No data : Computer issue
07-08Hr
08-09Hr | 63 | 0.06 | 1.72 | 69.84 | 29.57 | 243.35 | 4 | 3.34 | 2.6 | 2.57 | 0.06 | 0 | 11.19 | 887.46 | 180.54 | 15.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 63 | 0.21 | 1.72 | 69.41 | 29.6 | 206.76 | 4 | 3.38 | 2.6 | 1.92 | 0.06 | 0 | 10.32 | 887.14 | 178.42 | 4.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 47 | 0.09 | 1.72 | 59.81 | 31.44 | 205.32 | 11 | 3.01 | 2.49 | 0.94 | 0.06 | 0 | 7.01 | 886.54 | 246.68 | 1.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 59 | 0.13 | 1.72 | 58.9 | 31.16 | 238.3 | 10 | 3.14 | 2.57 | 0.7 | 0.06 | 0.02 | 9.83 | 885.87 | 180.5 | 0.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 61 | 0.21 | 1.72 | 67.42 | 29.6 | 240.85 | 7 | 3.27 | 2.5 | 1.49 | 0.06 | 0 | 7.52 | 885.13 | 102.76 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 54 | 0.28 | 1.72 | 68.82 | 29.29 | 214.32 | 3 | 3.27 | 2.46 | 2.26 | 0.06 | 0 | 5.66 | 884.55 | 80.16 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 59 | 0.15 | 1.72 | 70.93 | 28.78 | 226.34 | 4 | 3.22 | 2.58 | 2.98 | 0.06 | 0 | 6.4 | 884.32 | 35.59 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 61 | 0.22 | 1.72 | 79.21 | 26.39 | 219.92 | 10 | 3.17 | 2.47 | 2.47 | 0.06 | 0 | 5.57 | 884.41 | 1.92 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 67 | 0.18 | 1.72 | 84.82 | 24.87 | 245.95 | 6 | 3.34 | 2.61 | 2.45 | 0.06 | 0 | 9.7 | 885.33 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 58 | 0.24 | 1.72 | 85.88 | 24.16 | 232.11 | 3 | 3.3 | 2.5 | 2.24 | 0.06 | 0 | 6.93 | 885.84 | 0 | 0.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 53 | 0.18 | 1.72 | 87.67 | 23.77 | 232.21 | 4 | 3.2 | 2.55 | 1.99 | 0.06 | 0 | 6.42 | 886.94 | 0 | 0.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 46 | 0.22 | 1.72 | 88.46 | 23.76 | 209.59 | 7 | 3.19 | 2.51 | 1.31 | 0.06 | 0 | 6.49 | 887.69 | 0 | 0.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 54 | 0.21 | 1.72 | 90.73 | 23.54 | 193.01 | 9 | 3.14 | 2.41 | 0.98 | 0.06 | 0 | 14.65 | 887.56 | 0 | 0.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 51.19 | 0.18 | 1.72 | 92.29 | 22.74 | 214.69 | 7.12 | 3.32 | 2.6 | 0.6 | 0.06 | 0 | 12.89 | 886.89 | 0 | 0.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 46 | 0.24 | 1.72 | 92.76 | 22.49 | 188.63 | 5 | 3.34 | 2.52 | 0.49 | 0.06 | 0 | 11.29 | 885.89 | 0 | 0.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 44 | 0.23 | 1.72 | 94.41 | 22.37 | 211.93 | 9 | 3.23 | 2.54 | 0.08 | 0.06 | 0 | 10.76 | 885.95 | 0 | 0.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 41.16 | 0.21 | 1.72 | 95.35 | 22.22 | 210.31 | 5.2 | 3.16 | 2.43 | 0.05 | 0.06 | 0 | 10.68 | 886.16 | 0 | 0.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 38 | 0.16 | 1.72 | 94.77 | 22.15 | 207.45 | 3 | 3.3 | 2.63 | 0.01 | 0.06 | 0 | 12.62 | 886.32 | 0 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 30 | 0.12 | 1.72 | 96.1 | 21.96 | 196.94 | 3 | 3.19 | 2.56 | 0 | 0.06 | 0 | 10.85 | 886.67 | 0.19 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 34 | 0.19 | 1.72 | 96.47 | 22.05 | 220.67 | 7 | 3.17 | 2.46 | 0 | 0.06 | 0 | 15.13 | 886.37 | 10.61 | 0.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 30 | 0.13 | 1.72 | 96.23 | 22.41 | 226.25 | 6 | 3.33 | 2.62 | 0 | 0.06 | 0.25 | 14.04 | 886.99 | 8.72 | 0.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 30 | 0 | 1.72 | 96.71 | 22.08 | 224.27 | 6 | 2.88 | 2.28 | 0 | 0.06 | 0 | 18.09 | 887.31 | 20.12 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 49.52 | 0.17 | 1.72 | 83.5 | 25.29 | 218.6 | 6.06 | 3.22 | 2.52 | 1.16 | 0.06 | 0.01 | 10.18 | 886.24 | 47.55 | 1.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 30 | 0 | 1.72 | 58.9 | 21.96 | 188.63 | 3 | 2.88 | 2.28 | 0 | 0.06 | 0 | 5.57 | 884.32 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 67 | 0.28 | 1.72 | 96.71 | 31.44 | 245.95 | 11 | 3.38 | 2.63 | 2.98 | 0.06 | 0.25 | 18.09 | 887.69 | 246.68 | 15.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 49.52 | 0.17 | 1.72 | 83.5 | 25.29 | 218.6 | 6.06 | 3.22 | 2.52 | 1.16 | 0.06 | 0.01 | 10.18 | 886.24 | 47.55 | 1.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 11.46 | 0.06 | 0 | 12.64 | 3.36 | 15.75 | 2.46 | 0.12 | 0.08 | 1.01 | 0 | 0.05 | 3.37 | 0.99 | 75.97 | 3.22 | 0 | 0 | 0 | 0 | 0
Mode | 30 | 0.21 | 1.72 | 69.84 | 29.6 | 243.35 | 4 | 3.34 | 2.6 | 0 | 0.06 | 0 | 11.19 | 887.46 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 53 | 0.19 | 1.72 | 88.46 | 23.77 | 219.92 | 6 | 3.23 | 2.54 | 0.98 | 0.06 | 0 | 10.68 | 886.37 | 1.92 | 0.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Total Data Points | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0