## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 23 |  |  |  | Date : 23/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 13 | 0.14 | 4.86 | 90.83 | 23.2 | 133.39 | 0 | 3.26 | 2.65 | 0.57 | 0.06 | 0 | 8.09 | 881.55 | 58.92 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 14 | 0.18 | 4.89 | 87.26 | 24.75 | 193.81 | 0 | 3.25 | 2.55 | 0.66 | 0.06 | 0 | 6.6 | 881.96 | 93.99 | 2.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 32 | 0.19 | 4.94 | 81.62 | 26.55 | 139.7 | 0 | 3.17 | 2.49 | 0.55 | 0.06 | 0 | 6.39 | 882.04 | 107 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 50 | 0.17 | 4.99 | 76.68 | 27.44 | 182.96 | 0 | 3.15 | 2.48 | 0.83 | 0.06 | 0 | 10.33 | 881.78 | 96.91 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 42 | 0.19 | 4.96 | 79.36 | 26.69 | 170.84 | 0 | 3.16 | 2.51 | 1.34 | 0.06 | 0 | 12.77 | 881.24 | 100.11 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 25 | 0.12 | 5.01 | 78.51 | 26.92 | 142.29 | 0 | 3.14 | 2.57 | 1.45 | 0.06 | 0 | 8.79 | 880.43 | 91.97 | 2.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 24 | 0.2 | 5.03 | 74.33 | 28.35 | 162.21 | 0 | 3.33 | 2.55 | 2.43 | 0.06 | 0.01 | 6.64 | 879.63 | 107.64 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 20 | 0.25 | 5.04 | 71.92 | 29.44 | 175.99 | 0.97 | 3.14 | 2.4 | 3.27 | 0.06 | 0 | 6.87 | 878.87 | 123.26 | 2.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 42 | 0.18 | 5.08 | 71.59 | 29.43 | 181.98 | 0.03 | 3.14 | 2.49 | 4.07 | 0.06 | 0 | 5.45 | 878.64 | 98.48 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 25 | 0.19 | 5.11 | 84.81 | 25.8 | 158.57 | 0 | 3.21 | 2.51 | 4.52 | 0.06 | 0 | 6.73 | 878.59 | 21.75 | 2.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 35 | 0.22 | 5.08 | 88.38 | 24.48 | 161.29 | 2.9 | 3.2 | 2.41 | 4.71 | 0.06 | 0 | 6.82 | 878.68 | 3.03 | 1.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 28.53 | 0.2 | 4.97 | 91.84 | 23.43 | 160.07 | 1.07 | 3.25 | 2.55 | 4.14 | 0.06 | 0 | 7.05 | 879.1 | 0 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 24 | 0.13 | 4.97 | 93.97 | 23.03 | 170.82 | 0.03 | 3.12 | 2.52 | 3.42 | 0.06 | 0 | 7.74 | 879.73 | 0 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 11.82 | 0.18 | 5 | 95.73 | 22.94 | 143.89 | 0 | 3.28 | 2.6 | 1.8 | 0.06 | 0 | 7.8 | 880.59 | 0 | 2.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 15.75 | 0.16 | 5.07 | 97.64 | 22.39 | 210.67 | 0 | 3.23 | 2.58 | 1.76 | 0.06 | 0.04 | 7.23 | 881.18 | 0 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 8 | 0.15 | 5.06 | 99.16 | 22.08 | 256.63 | 0 | 3.13 | 2.49 | 1.44 | 0.06 | 0 | 6.73 | 880.91 | 0 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 6 | 0.21 | 5.05 | 99.04 | 22.01 | 181.51 | 0 | 3.12 | 2.38 | 0.96 | 0.06 | 0 | 6.68 | 880.35 | 0 | 2.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 7 | 0.27 | 4.98 | 97.72 | 22.06 | 149.14 | 0 | 3.18 | 2.4 | 0.59 | 0.06 | 0 | 7.4 | 879.72 | 0 | 2.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 7 | 0.17 | 4.99 | 97.22 | 22.02 | 153.74 | 0 | 3.37 | 2.62 | 0.4 | 0.06 | 0 | 17.9 | 879.13 | 0 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 4 | 0.11 | 4.97 | 96.63 | 21.92 | 159.22 | 0 | 3.08 | 2.51 | 0.19 | 0.06 | 0 | 11.7 | 878.98 | 0 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 3 | 0.27 | 5 | 97.01 | 21.77 | 183.54 | 0 | 3.27 | 2.47 | 1.2 | 0.06 | 0 | 12.54 | 878.78 | 0 | 2.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 1 | 0.2 | 4.95 | 97.64 | 21.65 | 179.14 | 0 | 3.29 | 2.56 | 0.73 | 0.06 | 0 | 20.6 | 878.81 | 0 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 5 | 0.13 | 4.92 | 98.21 | 21.91 | 198.82 | 0 | 3.25 | 2.58 | 0.5 | 0.06 | 0 | 6.53 | 879.44 | 6.88 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 10.83 | 0.14 | 4.9 | 93.68 | 23.45 | 154.41 | 0 | 3.05 | 2.46 | 0.65 | 0.06 | 0 | 6.38 | 879.8 | 52.74 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 13 | 0.04 | 4.9 | 84.09 | 26.3 | 159.16 | 0 | 2.95 | 2.46 | 0.95 | 0.06 | 0 | 6.56 | 880.26 | 90.93 | 1.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 18.68 | 0.18 | 4.99 | 88.99 | 24.4 | 170.55 | 0.2 | 3.19 | 2.51 | 1.73 | 0.06 | 0 | 8.73 | 880.01 | 42.14 | 2.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.04 | 4.86 | 71.59 | 21.65 | 133.39 | 0 | 2.95 | 2.38 | 0.19 | 0.06 | 0 | 5.45 | 878.59 | 0 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 50 | 0.27 | 5.11 | 99.16 | 29.44 | 256.63 | 2.9 | 3.37 | 2.65 | 4.71 | 0.06 | 0.04 | 20.6 | 882.04 | 123.26 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 18.68 | 0.18 | 4.99 | 88.99 | 24.4 | 170.55 | 0.2 | 3.19 | 2.51 | 1.73 | 0.06 | 0 | 8.73 | 880.01 | 42.14 | 2.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 14 | 0.18 | 4.99 | 91.84 | 23.43 | 162.21 | 0 | 3.18 | 2.51 | 1.2 | 0.06 | 0 | 7.05 | 879.73 | 6.88 | 2.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 7 | 0.18 | 4.97 | 97.64 | 26.3 | 256.63 | 0 | 3.25 | 2.55 | 0.57 | 0.06 | 0 | 6.73 | 878.64 | 0 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 13.63 | 0.05 | 0.07 | 9.29 | 2.56 | 26.26 | 0.63 | 0.09 | 0.07 | 1.43 | 0 | 0.01 | 3.74 | 1.14 | 47.99 | 0.32 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0