## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 28 |  |  |  | Date : 28/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 28/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.18 | 181.6 | 0.02 | 74.43 | 1.05 | 0.08 | 0.01 | 0.01 | 27.62 | NA | 3.1 | 9.12 | 0.02 | 0 | 891.72 | NA | 2.48 | 0.06 | 0.01 | 15.94 | 41.16
07-08Hr | 0.11 | 181.79 | 0.02 | 65.08 | 0.89 | 0.41 | 0.01 | 0.01 | 30.12 | NA | 3.33 | 9.11 | 0.02 | 0 | 892.07 | NA | 2.41 | 0.06 | 0.01 | 13.28 | 22.54
08-09Hr | 0.13 | 184.79 | 0.02 | 71.82 | 0.56 | 0.15 | 0.01 | 0.01 | 27.19 | NA | 3.06 | 9.26 | 0.02 | 0 | 891.93 | NA | 2.44 | 0.06 | 0.01 | 8.29 | 84.37
09-10Hr | 0.11 | 188.9 | 0.02 | 77.71 | 0.56 | 0.1 | 0.01 | 0.01 | 26.87 | NA | 3.13 | 9.4 | 0.02 | 0 | 891.23 | NA | 2.45 | 0.06 | 0.01 | 12.93 | 35.58
10-11Hr | 0.12 | 189.19 | 0.02 | 72.36 | 0.64 | 0 | 0.01 | 0.01 | 28.26 | NA | 3.13 | 9.37 | 0.02 | 0 | 890.46 | NA | 2.66 | 0.06 | 0.01 | 13.35 | 100.25
11-12Hr | 0.25 | 180.91 | 0.02 | 58.01 | 0.96 | 0.1 | 0.01 | 0.01 | 31.16 | NA | 3.29 | 9.29 | 0.02 | 0 | 889.67 | NA | 2.65 | 0.06 | 0.01 | 12.69 | 196.59
12-13Hr | 0.06 | 186.46 | 0.02 | 61.64 | 1.05 | 0.08 | 0.01 | 0.01 | 30.04 | NA | 3.26 | 9.4 | 0.02 | 0 | 889.14 | NA | 2.53 | 0.06 | 0.01 | 15.18 | 74.43
13-14Hr | 0.21 | 170.73 | 0.02 | 73.39 | 0.64 | 0.13 | 0.01 | 0.01 | 26.96 | NA | 3.22 | 9.47 | 0.02 | 0 | 888.79 | NA | 2.5 | 0.06 | 0.01 | 7.64 | 31.69
14-15Hr | 0.06 | 178.86 | 0.02 | 77.66 | 0.4 | 0.1 | 0.01 | 0.01 | 26.14 | NA | 3.31 | 9.54 | 0.02 | 0 | 888.8 | NA | 2.67 | 0.06 | 0.01 | 11.92 | 37.21
15-16Hr | 0 | 222.18 | 0.02 | 80.99 | 0.24 | 0.15 | 0.01 | 0.01 | 24.89 | NA | 3.26 | 9.58 | 0.02 | 0 | 889.01 | NA | 2.58 | 0.06 | 0.01 | 9.98 | 15.91
16-17Hr | 0.14 | 163.29 | 0.02 | 89.77 | 0.4 | 0.44 | 0.01 | 0.01 | 22.73 | NA | 3.22 | 9.58 | 0.02 | 0 | 889.24 | NA | 2.28 | 0.06 | 0.01 | 27.53 | 0
17-18Hr | 0.15 | 186.25 | 0.02 | 92.52 | 0 | 0.03 | 0.01 | 0.01 | 22.4 | NA | 3.02 | 9.58 | 0.02 | 0 | 889.74 | NA | 2.41 | 0.06 | 0.01 | 13.63 | 0
18-19Hr | 0.22 | 178.37 | 0.02 | 93.64 | 0 | 0.05 | 0.01 | 0.01 | 22.13 | NA | 3.35 | 9.51 | 0.02 | 0 | 890.42 | NA | 2.75 | 0.06 | 0.01 | 12.17 | 0
19-20Hr | 0.14 | 208.31 | 0.02 | 95.31 | 0.08 | 0.1 | 0.01 | 0.01 | 21.78 | NA | 3.4 | 9.44 | 0.02 | 0 | 890.82 | NA | 2.85 | 0.06 | 0.01 | 14.62 | 0
20-21Hr | 0.11 | 187.45 | 0.02 | 97.5 | 0 | 0.13 | 0.01 | 0.01 | 21.51 | NA | 3.26 | 9.44 | 0.02 | 0 | 890.94 | NA | 2.55 | 0.06 | 0.01 | 16.3 | 0
21-22Hr | 0.15 | 198.15 | 0.02 | 98.65 | 0.24 | 0.08 | 0.01 | 0.01 | 21.25 | NA | 3.13 | 9.4 | 0.02 | 0 | 890.93 | NA | 2.6 | 0.06 | 0.01 | 19.06 | 0
22-23Hr | 0.23 | 213.1 | 0.02 | 99.32 | 0.32 | 0.13 | 0.01 | 0.01 | 21.03 | NA | 3.51 | 9.4 | 0.02 | 0 | 890.73 | NA | 2.88 | 0.06 | 0.01 | 22.31 | 0
23-00Hr | 0.18 | 193.98 | 0.02 | 99.5 | 0.08 | 0.51 | 0.01 | 0.01 | 20.83 | NA | 3.96 | 9.44 | 0.02 | 0 | 890.26 | NA | 2.71 | 0.06 | 0.01 | 19.5 | 0
00-01Hr | 0.05 | 186.55 | 0.02 | 99.5 | 0.48 | 0.15 | 0.01 | 0.01 | 20.66 | NA | 3.28 | 9.37 | 0.02 | 0 | 889.96 | NA | 2.5 | 0.06 | 0.01 | 21.55 | 0
01-02Hr | 0.11 | 213.38 | 0.02 | 98.97 | 0.64 | 0.28 | 0.01 | 0.01 | 20.8 | NA | 3.35 | 9.22 | 0.02 | 0 | 889.69 | NA | 2.53 | 0.06 | 0.01 | 15.88 | 0
02-03Hr | 0.14 | 207.88 | 0.02 | 96.53 | 0.56 | 0.1 | 0.01 | 0.01 | 20.78 | NA | 3.47 | 9.22 | 0.02 | 0 | 889.53 | NA | 2.8 | 0.06 | 0.01 | 19.16 | 0
03-04Hr | 0.14 | 192.88 | 0.02 | 98.36 | 0.56 | 0.13 | 0.01 | 0.01 | 20.69 | NA | 2.99 | 9.26 | 0.02 | 0 | 889.64 | NA | 2.48 | 0.06 | 0.01 | 18.34 | 0
04-05Hr | 0.11 | 197.4 | 0.02 | 99.5 | 0.56 | 0.15 | 0.01 | 0.01 | 21.11 | NA | 3.38 | 9.22 | 0.02 | 0 | 890.04 | NA | 2.56 | 0.06 | 0.01 | 18.27 | 7.08
05-06Hr | 0.14 | 196.88 | 0.02 | 95.66 | 0.56 | 0.08 | 0.01 | 0.01 | 22.93 | NA | 3.08 | 9.26 | 0.02 | 0 | 890.47 | NA | 2.58 | 0.06 | 0.01 | 15.5 | 62.09
06-07hr | 0.06 | 187.73 | 0.02 | 77.7 | 0.48 | 0.18 | 0.01 | 0.01 | 27.36 | NA | 3.37 | 9.29 | 0.02 | 0 | 890.98 | NA | 2.61 | 0.06 | 0.01 | 12.94 | 47.13
Avg | 0.13 | 191.08 | 0.02 | 85.82 | 0.48 | 0.15 | 0.01 | 0.01 | 24.29 | NA | 3.27 | 9.37 | 0.02 | 0 | 890.25 | NA | 2.58 | 0.06 | 0.01 | 15.52 | 30.24
Min | 0 | 163.29 | 0.02 | 58.01 | 0 | 0 | 0.01 | 0.01 | 20.66 | NA | 2.99 | 9.11 | 0.02 | 0 | 888.79 | NA | 2.28 | 0.06 | 0.01 | 7.64 | 0
Max | 0.25 | 222.18 | 0.02 | 99.5 | 1.05 | 0.51 | 0.01 | 0.01 | 31.16 | NA | 3.96 | 9.58 | 0.02 | 0 | 892.07 | NA | 2.88 | 0.06 | 0.01 | 27.53 | 196.59
Geom.Mean | 0.13 | 191.08 | 0.02 | 85.82 | 0.48 | 0.15 | 0.01 | 0.01 | 24.29 | NA | 3.27 | 9.37 | 0.02 | 0 | 890.25 | NA | 2.58 | 0.06 | 0.01 | 15.52 | 30.24
Median | 0.14 | 187.73 | 0.02 | 92.52 | 0.56 | 0.13 | 0.01 | 0.01 | 22.73 | NA | 3.26 | 9.4 | 0.02 | 0 | 890.26 | NA | 2.56 | 0.06 | 0.01 | 15.18 | 7.08
Mode | 0.11 | 163.29 | 0.02 | 99.5 | 0.56 | 0.1 | 0.01 | 0.01 | 27.36 | NA | 3.13 | 9.4 | 0.02 | 0 | 891.72 | NA | 2.48 | 0.06 | 0.01 | 7.64 | 0
Std.Deviation | 0.06 | 13.81 | 0 | 13.65 | 0.31 | 0.13 | 0 | 0 | 3.51 | NA | 0.2 | 0.14 | 0 | 0 | 0.94 | NA | 0.14 | 0 | 0 | 4.52 | 45.98
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0