## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 25 |  |  |  | Date : 25/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 25/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
07-08Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
08-09Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
09-10Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
10-11Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
11-12Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
12-13Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
13-14Hr | 34.56 | 54.24 | 0.02 | 45.18 | 17.4 | 0 | 0.01 | 0.01 | 22.39 | 89.57 | 0 | 10.84 | 0.02 | 0 | 887.92 | 0.04 | 0.14 | 0.06 | 0.01 | 53.19 | 109.33
14-15Hr | 34.56 | 25.31 | 0.02 | 54.1 | 5.93 | 0.49 | 0.01 | 0.01 | 19.62 | 87.23 | 3.91 | 10.82 | 0.02 | 0 | 887.96 | 0.22 | 2.84 | 0.06 | 0.01 | 34.03 | 19.22
15-16Hr | 34.79 | 22.53 | 0.02 | 65.16 | 1.94 | 0.11 | 0.01 | 0.01 | 17.24 | 88.03 | 3.29 | 10.91 | 0.02 | 0 | 888.14 | 0.06 | 2.67 | 0.06 | 0.01 | 27.57 | 1.8
16-17Hr | 35.04 | 23.93 | 0.02 | 73.39 | 2.26 | 0.2 | 0.01 | 0.01 | 15.9 | 92.51 | 3.46 | 10.96 | 0.02 | 0 | 888.55 | 0.04 | 2.67 | 0.06 | 0.01 | 28.18 | 0
17-18Hr | 35.14 | 22.01 | 0.02 | 77.74 | 2.42 | 0.21 | 0.01 | 0.01 | 15.38 | 88.57 | 3.31 | 11.01 | 0.02 | 0 | 889.07 | 0 | 2.64 | 0.06 | 0.01 | 22.58 | 0
18-19Hr | 35.23 | 22.7 | 0.02 | 87.52 | 2.34 | 0.18 | 0.01 | 0.01 | 14.65 | 88.55 | 3.39 | 11 | 0.02 | 0 | 889.37 | 0 | 2.63 | 0.06 | 0.01 | 15.2 | 0
19-20Hr | 34.87 | 22.73 | 0.02 | 96.89 | 2.09 | 0.15 | 0.01 | 0.01 | 13.88 | 105.66 | 3.33 | 10.92 | 0.02 | 0 | 889.65 | 0.01 | 2.64 | 0.06 | 0.01 | 14.26 | 0
20-21Hr | 34.61 | 21.86 | 0.02 | 97.06 | 1.64 | 0.1 | 0.01 | 0.01 | 13.26 | 106.07 | 3.21 | 10.83 | 0.02 | 0 | 889.71 | 0 | 2.55 | 0.06 | 0.01 | 25.25 | 0
21-22Hr | 34.41 | 23.44 | 0.02 | 95.48 | 1.49 | 0.23 | 0.01 | 0.01 | 13.41 | 103.04 | 3.48 | 10.76 | 0.02 | 0 | 889.6 | 0 | 2.69 | 0.06 | 0.01 | 16.05 | 0
22-23Hr | 33.99 | 22.23 | 0.02 | 97.28 | 1.67 | 0.2 | 0.01 | 0.01 | 13 | 85.36 | 3.32 | 10.64 | 0.02 | 0 | 889.46 | 0 | 2.57 | 0.06 | 0.01 | 11.9 | 0
23-00Hr | 33.88 | 22.32 | 0.02 | 99.09 | 1.79 | 0.15 | 0.01 | 0.01 | 13.17 | 178.17 | 3.4 | 10.61 | 0.02 | 0 | 889.2 | 0 | 2.71 | 0.06 | 0.01 | 13.21 | 0
00-01Hr | 33.9 | 22.81 | 0.02 | 99.49 | 2.13 | 0.23 | 0.01 | 0.01 | 13.01 | 209.69 | 3.38 | 10.6 | 0.02 | 0 | 888.79 | 0 | 2.55 | 0.06 | 0.01 | 14.85 | 0
01-02Hr | 33.62 | 23.73 | 0.02 | 99.5 | 2.16 | 0.13 | 0.01 | 0.01 | 12.62 | 219.29 | 3.48 | 10.52 | 0.02 | 0 | 888.55 | 0 | 2.73 | 0.06 | 0.01 | 9.64 | 0
02-03Hr | 33.25 | 23.48 | 0.02 | 99.5 | 1.91 | 0.15 | 0.01 | 0.01 | 12.59 | 218.86 | 3.42 | 10.41 | 0.02 | 0 | 888.43 | 0 | 2.71 | 0.06 | 0.01 | 9.12 | 0
03-04Hr | 33.03 | 22.5 | 0.02 | 99.5 | 2.23 | 0.23 | 0.01 | 0.01 | 12.4 | 248.46 | 3.49 | 10.32 | 0.02 | 0 | 888.48 | 0.01 | 2.59 | 0.06 | 0.01 | 9.81 | 0
04-05Hr | 33 | 23.08 | 0.02 | 99.5 | 2.56 | 0.11 | 0.01 | 0.01 | 12.07 | 249.11 | 3.44 | 10.32 | 0.02 | 0 | 888.87 | 0 | 2.78 | 0.06 | 0.01 | 9.15 | 0
05-06Hr | 32.98 | 22.69 | 0.02 | 91.62 | 2.31 | 0.13 | 0.01 | 0.01 | 13.56 | 216.12 | 3.44 | 10.34 | 0.02 | 0 | 889.39 | 0 | 2.69 | 0.06 | 0.01 | 14.26 | 28.71
06-07hr | 33.13 | 25.31 | 0.02 | 82.69 | 1.94 | 0.19 | 0.01 | 0.01 | 15.88 | 84.85 | 3.67 | 10.39 | 0.02 | 0 | 889.87 | 0.01 | 2.8 | 0.06 | 0.01 | 16.67 | 9.12
Avg | 34.11 | 24.83 | 0.02 | 86.7 | 3.12 | 0.18 | 0.01 | 0.01 | 14.67 | 142.17 | 3.25 | 10.68 | 0.02 | 0 | 888.95 | 0.02 | 2.53 | 0.06 | 0.01 | 19.16 | 9.34
Min | 32.98 | 21.86 | 0.02 | 45.18 | 1.49 | 0 | 0.01 | 0.01 | 12.07 | 84.85 | 0 | 10.32 | 0.02 | 0 | 887.92 | 0 | 0.14 | 0.06 | 0.01 | 9.12 | 0
Max | 35.23 | 54.24 | 0.02 | 99.5 | 17.4 | 0.49 | 0.01 | 0.01 | 22.39 | 249.11 | 3.91 | 11.01 | 0.02 | 0 | 889.87 | 0.22 | 2.84 | 0.06 | 0.01 | 53.19 | 109.33
Geom.Mean | 34.11 | 24.83 | 0.02 | 86.7 | 3.12 | 0.18 | 0.01 | 0.01 | 14.67 | 142.17 | 3.25 | 10.68 | 0.02 | 0 | 888.95 | 0.02 | 2.53 | 0.06 | 0.01 | 19.16 | 9.34
Median | 34.2 | 22.77 | 0.02 | 96.19 | 2.15 | 0.16 | 0.01 | 0.01 | 13.48 | 104.35 | 3.41 | 10.7 | 0.02 | 0 | 888.97 | 0 | 2.67 | 0.06 | 0.01 | 15.02 | 0
Mode | 34.56 | 25.31 | 0.02 | 99.5 | 1.94 | 0.15 | 0.01 | 0.01 | 13.17 | 248.46 | 3.48 | 10.32 | 0.02 | 0 | 888.55 | 0 | 2.67 | 0.06 | 0.01 | 14.26 | 0
Std.Deviation | 0.79 | 7.41 | 0 | 17.02 | 3.69 | 0.1 | 0 | 0 | 2.74 | 65.75 | 0.82 | 0.25 | 0 | 0 | 0.62 | 0.05 | 0.6 | 0 | 0 | 11.23 | 26.19
Valid Data Points | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0