## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 9 |  |  |  | Date : 09/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 09/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 35.73 | 22.23 | 0.02 | 62.9 | 1.47 | 0.12 | 0.01 | 0.01 | 19.07 | 85.94 | 3.39 | 11.17 | 0.02 | 0 | 890.88 | 0 | 2.66 | 0.06 | 0.01 | 31.07 | 10.71
07-08Hr | 35.87 | 22.71 | 0.02 | 46.57 | 1.46 | 0.23 | 0.01 | 0.01 | 22.12 | 88.23 | 3.45 | 11.21 | 0.02 | 0 | 891.35 | 0 | 2.62 | 0.06 | 0.01 | 39.87 | 73.27
08-09Hr | 36.06 | 23.08 | 0.02 | 34.12 | 3.28 | 0.24 | 0.01 | 0.01 | 25.15 | 89.78 | 3.5 | 11.26 | 0.02 | 0 | 891.39 | 0 | 2.62 | 0.06 | 0.01 | 56.52 | 156.9
09-10Hr | 36.47 | 22.55 | 0.02 | 28.8 | 2.66 | 0.15 | 0.01 | 0.01 | 24.13 | 88.29 | 3.33 | 11.41 | 0.02 | 0 | 890.87 | 0 | 2.61 | 0.06 | 0.01 | 59.71 | 176.3
10-11Hr | 36.94 | 23.25 | 0.02 | 25.82 | 2.57 | 0.17 | 0.01 | 0.01 | 24.46 | 87.54 | 3.48 | 11.54 | 0.02 | 0 | 890.11 | 0 | 2.67 | 0.06 | 0.01 | 65 | 189.39
11-12Hr | 37.07 | 23.36 | 0.02 | 26.78 | 2.32 | 0.17 | 0.01 | 0.01 | 25.31 | 77.52 | 3.43 | 11.6 | 0.02 | 0 | 889.25 | 0 | 2.7 | 0.06 | 0.01 | 57.5 | 175.7
12-13Hr | 37.63 | 23.69 | 0.02 | 26.53 | 2.03 | 0.27 | 0.01 | 0.01 | 25.69 | 76.89 | 3.53 | 11.77 | 0.02 | 0 | 888.81 | 0 | 2.6 | 0.06 | 0.01 | 50.48 | 162.53
13-14Hr | 37.96 | 22.18 | 0.02 | 31.4 | 2.26 | 0.25 | 0.01 | 0.01 | 23.91 | 85.71 | 3.35 | 11.87 | 0.02 | 0 | 888.73 | 0 | 2.54 | 0.06 | 0.01 | 62.8 | 94.82
14-15Hr | 37.94 | 22.92 | 0.02 | 47.18 | 2.29 | 0.15 | 0.01 | 0.01 | 20.41 | 89.57 | 3.42 | 11.88 | 0.02 | 0 | 888.84 | 0 | 2.65 | 0.06 | 0.01 | 47.12 | 3.61
15-16Hr | 38.14 | 21.97 | 0.02 | 47.67 | 2.11 | 0.07 | 0.01 | 0.01 | 18.85 | 81.01 | 3.29 | 11.92 | 0.02 | 0 | 889.24 | 0 | 2.68 | 0.06 | 0.01 | 46.68 | 0.25
16-17Hr | 38.03 | 22.76 | 0.02 | 40.15 | 3.1 | 0.12 | 0.01 | 0.01 | 18.48 | 88.02 | 3.45 | 11.88 | 0.02 | 0 | 889.67 | 0 | 2.71 | 0.06 | 0.01 | 45.35 | 0
17-18Hr | 38.37 | 23.55 | 0.02 | 45.05 | 2.96 | 0.22 | 0.01 | 0.01 | 18.08 | 83.27 | 3.5 | 12 | 0.02 | 0 | 890.19 | 0 | 2.63 | 0.06 | 0.01 | 41.35 | 0
18-19Hr | 38.14 | 22.71 | 0.02 | 49.62 | 2.99 | 0.15 | 0.01 | 0.01 | 17.68 | 83.77 | 3.4 | 11.92 | 0.02 | 0 | 890.59 | 0 | 2.67 | 0.06 | 0.01 | 37.65 | 0
19-20Hr | 37.43 | 22.46 | 0.02 | 54.58 | 2.24 | 0.19 | 0.01 | 0.01 | 17.14 | 87.54 | 3.28 | 11.71 | 0.02 | 0 | 890.98 | 0 | 2.55 | 0.06 | 0.01 | 27.77 | 0
20-21Hr | 37.17 | 23.06 | 0.02 | 56.82 | 1.79 | 0.17 | 0.01 | 0.01 | 16.64 | 87.04 | 3.45 | 11.6 | 0.02 | 0 | 891.12 | 0.02 | 2.68 | 0.06 | 0.01 | 21.37 | 0
21-22Hr | 36.75 | 22.99 | 0.02 | 60.29 | 1.5 | 0.2 | 0.01 | 0.01 | 16.08 | 95.47 | 3.47 | 11.48 | 0.02 | 0 | 891.1 | 0.01 | 2.66 | 0.06 | 0.01 | 16 | 0
22-23Hr | 36.68 | 22.6 | 0.02 | 68.2 | 1.14 | 0.21 | 0.01 | 0.01 | 15.36 | 81.98 | 3.33 | 11.48 | 0.02 | 0 | 890.99 | 0 | 2.54 | 0.06 | 0.01 | 14.77 | 0
23-00Hr | 36.7 | 22.46 | 0.02 | 67.85 | 1.37 | 0.22 | 0.01 | 0.01 | 15.8 | 99.57 | 3.38 | 11.49 | 0.02 | 0 | 890.68 | 0 | 2.6 | 0.06 | 0.01 | 14.5 | 0
00-01Hr | 36.5 | 23.57 | 0.02 | 61.88 | 1.79 | 0.17 | 0.01 | 0.01 | 16.08 | 99.47 | 3.47 | 11.43 | 0.02 | 0 | 890.32 | 0 | 2.7 | 0.06 | 0.01 | 12.57 | 0
01-02Hr | 36.2 | 23.08 | 0.02 | 56.24 | 1.82 | 0.16 | 0.01 | 0.01 | 16.26 | 90.13 | 3.51 | 11.31 | 0.02 | 0 | 890.07 | 0 | 2.7 | 0.06 | 0.01 | 11.07 | 0
02-03Hr | 35.78 | 22.04 | 0.02 | 54.9 | 2.92 | 0.1 | 0.01 | 0.01 | 16.41 | 96.92 | 3.34 | 11.19 | 0.02 | 0 | 889.95 | 0 | 2.7 | 0.06 | 0.01 | 14.45 | 0
03-04Hr | 35.99 | 22.18 | 0.02 | 52.49 | 3.48 | 0.13 | 0.01 | 0.01 | 16.46 | 122.36 | 3.3 | 11.27 | 0.02 | 0 | 890.23 | 0 | 2.56 | 0.06 | 0.01 | 13.37 | 0
04-05Hr | 35.73 | 23.8 | 0.02 | 47.13 | 4.08 | 0.14 | 0.01 | 0.01 | 16.78 | 95.28 | 3.57 | 11.2 | 0.02 | 0 | 890.74 | 0 | 2.77 | 0.06 | 0.01 | 13.6 | 0.35
05-06Hr | 35.96 | 21.9 | 0.02 | 40.28 | 2.8 | 0.17 | 0.01 | 0.01 | 18.61 | 83.94 | 3.34 | 11.27 | 0.02 | 0 | 891.45 | 0 | 2.61 | 0.06 | 0.01 | 19.17 | 32.11
06-07hr | 35.96 | 24.91 | 0.02 | 38.2 | 2.25 | 0.22 | 0.01 | 0.01 | 19.91 | 72.97 | 3.69 | 11.22 | 0.02 | 0 | 891.9 | 0 | 2.78 | 0.06 | 0.01 | 21.86 | 5.94
Avg | 36.85 | 22.88 | 0.02 | 46.86 | 2.35 | 0.18 | 0.01 | 0.01 | 19.39 | 88.73 | 3.43 | 11.52 | 0.02 | 0 | 890.38 | 0 | 2.65 | 0.06 | 0.01 | 33.66 | 43.28
Min | 35.73 | 21.9 | 0.02 | 25.82 | 1.14 | 0.07 | 0.01 | 0.01 | 15.36 | 72.97 | 3.28 | 11.17 | 0.02 | 0 | 888.73 | 0 | 2.54 | 0.06 | 0.01 | 11.07 | 0
Max | 38.37 | 24.91 | 0.02 | 68.2 | 4.08 | 0.27 | 0.01 | 0.01 | 25.69 | 122.36 | 3.69 | 12 | 0.02 | 0 | 891.9 | 0.02 | 2.78 | 0.06 | 0.01 | 65 | 189.39
Geom.Mean | 36.85 | 22.88 | 0.02 | 46.86 | 2.35 | 0.18 | 0.01 | 0.01 | 19.39 | 88.73 | 3.43 | 11.52 | 0.02 | 0 | 890.38 | 0 | 2.65 | 0.06 | 0.01 | 33.66 | 43.28
Median | 36.7 | 22.76 | 0.02 | 47.18 | 2.26 | 0.17 | 0.01 | 0.01 | 18.48 | 87.54 | 3.43 | 11.48 | 0.02 | 0 | 890.59 | 0 | 2.66 | 0.06 | 0.01 | 31.07 | 0.25
Mode | 35.73 | 23.08 | 0.02 | 25.82 | 1.79 | 0.17 | 0.01 | 0.01 | 16.08 | 87.54 | 3.45 | 11.27 | 0.02 | 0 | 891.12 | 0 | 2.7 | 0.06 | 0.01 | 11.07 | 0
Std.Deviation | 0.89 | 0.69 | 0 | 13.01 | 0.74 | 0.05 | 0 | 0 | 3.47 | 9.67 | 0.1 | 0.28 | 0 | 0 | 0.89 | 0 | 0.06 | 0 | 0 | 18.48 | 70
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0