## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 5 |  |  |  | Date : 05/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 05/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.11 | 181.55 | 0.02 | 87.04 | 0.7 | 0.03 | 0.01 | 0.01 | 23.76 | NA | 3.26 | 8.72 | 0.02 | 0 | 890.68 | NA | 2.9 | 0.06 | 0.01 | 11.42 | 65.28
07-08Hr | 0.1 | 174.65 | 0.02 | 84.04 | 0.7 | 0.13 | 0.01 | 0.01 | 24.66 | NA | 3.33 | 8.94 | 0.02 | 0 | 890.46 | NA | 2.63 | 0.06 | 0.01 | 12.48 | 56.23
08-09Hr | 0.08 | 179.14 | 0.02 | 78.26 | 0.29 | 0.28 | 0.01 | 0.01 | 26.29 | NA | 3.24 | 8.87 | 0.02 | 0 | 890.55 | NA | 2.38 | 0.06 | 0.01 | 12.64 | 109.05
09-10Hr | 0.09 | 204.14 | 0.02 | 73.95 | 0.37 | 0.26 | 0.01 | 0.01 | 26.89 | NA | 3.26 | 8.87 | 0.02 | 0 | 890.21 | NA | 2.5 | 0.06 | 0.01 | 10.45 | 96.8
10-11Hr | 0.25 | 141.07 | 0.02 | 71.6 | 0.94 | 0.08 | 0.01 | 0.01 | 27.5 | NA | 3.19 | 8.97 | 0.02 | 0 | 889.43 | NA | 2.61 | 0.06 | 0.01 | 8.75 | 88.88
11-12Hr | 0.12 | 174.54 | 0.02 | 68.96 | 0.54 | 0.13 | 0.01 | 0.01 | 28.59 | NA | 3.42 | 9.11 | 0.02 | 0 | 888.63 | NA | 2.73 | 0.06 | 0.01 | 11.71 | 103.02
12-13Hr | 0.11 | 155.96 | 0.02 | 66.28 | 0.37 | 0.33 | 0.01 | 0.01 | 29.41 | NA | 3.33 | 9.01 | 0.02 | 0 | 887.76 | NA | 2.56 | 0.06 | 0.01 | 9.03 | 125.28
13-14Hr | 0.1 | 179.86 | 0.02 | 61.82 | 0.54 | 0.39 | 0.01 | 0.01 | 29.79 | NA | 3.62 | 9.01 | 0.02 | 0 | 887.15 | NA | 2.58 | 0.06 | 0.01 | 12.41 | 92.58
14-15Hr | 0.12 | 174.2 | 0.02 | 76.36 | 0.38 | 0.18 | 0.01 | 0.01 | 26.15 | NA | 3.42 | 9.19 | 0.02 | 0 | 886.8 | NA | 2.65 | 0.06 | 0.01 | 12.3 | 29.77
15-16Hr | 0.2 | 169.14 | 0.02 | 83.07 | 0.24 | 0.2 | 0.01 | 0.01 | 24.62 | NA | 3.24 | 9.19 | 0.02 | 0 | 886.85 | NA | 2.4 | 0.06 | 0.01 | 8.88 | 3.49
16-17Hr | 0.1 | 200.05 | 0.02 | 89.42 | 0.35 | 0.15 | 0.01 | 0.01 | 23.12 | NA | 3.31 | 9.22 | 0.02 | 0 | 887.3 | NA | 2.65 | 0.06 | 0.01 | 10.5 | 0
17-18Hr | 0.12 | 185.83 | 0.02 | 89.03 | 0.7 | 0.26 | 0.01 | 0.01 | 22.94 | NA | 3.31 | 9.26 | 0.02 | 0 | 888.06 | NA | 2.41 | 0.06 | 0.01 | 11.22 | 0
18-19Hr | 0.13 | 205.65 | 0.02 | 91.6 | 0.26 | 0.34 | 0.01 | 0.01 | 22.69 | NA | 3.15 | 9.19 | 0.02 | 0 | 889.05 | NA | 2.36 | 0.06 | 0.01 | 10.93 | 0
19-20Hr | 0.09 | 189.47 | 0.02 | 95.44 | 0.37 | 0.15 | 0.01 | 0.01 | 22.01 | NA | 3.15 | 9.15 | 0.02 | 0 | 889.5 | NA | 2.56 | 0.06 | 0.01 | 15.72 | 0
20-21Hr | 0.07 | 191.05 | 0.02 | 93.15 | 0.94 | 0.31 | 0.01 | 0.01 | 21.57 | NA | 3.58 | 9.11 | 0.02 | 0 | 889.36 | NA | 2.76 | 0.06 | 0.01 | 11.96 | 0
21-22Hr | 0.11 | 208.95 | 0.02 | 93.39 | 0.86 | 0.18 | 0.01 | 0.01 | 21.46 | NA | 3.58 | 9.15 | 0.02 | 0 | 889.28 | NA | 2.73 | 0.06 | 0.01 | 11.48 | 0
22-23Hr | 0.22 | 176.91 | 0.02 | 95 | 0.86 | 0.13 | 0.01 | 0.01 | 21.13 | NA | 3.35 | 9.05 | 0.02 | 0 | 888.84 | NA | 2.63 | 0.06 | 0.01 | 8.75 | 0
23-00Hr | 0.14 | 180.73 | 0.02 | 97.75 | 1.1 | 0.1 | 0.01 | 0.01 | 20.78 | NA | 3.33 | 9.01 | 0.02 | 0 | 888.17 | NA | 2.6 | 0.06 | 0.01 | 12.34 | 0
00-01Hr | 0.08 | 192.86 | 0.02 | 99.04 | 0.86 | 0.21 | 0.01 | 0.01 | 20.51 | NA | 3.42 | 9.08 | 0.02 | 0 | 887.68 | NA | 2.64 | 0.06 | 0.01 | 14.89 | 0
01-02Hr | 0.07 | 198.35 | 0.02 | 95.61 | 0.94 | 0.36 | 0.01 | 0.01 | 20.53 | NA | 3.29 | 8.97 | 0.02 | 0 | 887.51 | NA | 2.35 | 0.06 | 0.01 | 13.76 | 0
02-03Hr | 0.15 | 193.8 | 0.02 | 98.68 | 0.45 | 0.15 | 0.01 | 0.01 | 20.3 | NA | 3.17 | 8.97 | 0.02 | 0 | 887.36 | NA | 2.41 | 0.06 | 0.01 | 16.17 | 0
03-04Hr | 0.11 | 181.02 | 0.02 | 99.2 | 1.26 | 0.1 | 0.01 | 0.01 | 20.29 | NA | 3.42 | 8.9 | 0.02 | 0 | 887.68 | NA | 2.73 | 0.06 | 0.01 | 19.74 | 0
04-05Hr | 0.1 | 176.34 | 0.02 | 97.73 | 0.78 | 0.26 | 0.01 | 0.01 | 20.45 | NA | 3.31 | 8.9 | 0.02 | 0 | 888.15 | NA | 2.53 | 0.06 | 0.01 | 10.46 | 0.24
05-06Hr | 0.14 | 211.06 | 0.02 | 89.48 | 0.54 | 0.21 | 0.01 | 0.01 | 23.23 | NA | 3.26 | 8.94 | 0.02 | 0 | 888.98 | NA | 2.5 | 0.06 | 0.01 | 7.79 | 46.27
06-07hr | 0.21 | 99.02 | 0.02 | 83.93 | 0.54 | 0.16 | 0.01 | 0.01 | 24.88 | NA | 3.29 | 8.87 | 0.02 | 0 | 889.55 | NA | 2.62 | 0.06 | 0.01 | 8.6 | 75.79
Avg | 0.12 | 181.01 | 0.02 | 86.39 | 0.64 | 0.2 | 0.01 | 0.01 | 23.74 | NA | 3.33 | 9.03 | 0.02 | 0 | 888.6 | NA | 2.58 | 0.06 | 0.01 | 11.78 | 35.71
Min | 0.07 | 99.02 | 0.02 | 61.82 | 0.24 | 0.03 | 0.01 | 0.01 | 20.29 | NA | 3.15 | 8.72 | 0.02 | 0 | 886.8 | NA | 2.35 | 0.06 | 0.01 | 7.79 | 0
Max | 0.25 | 211.06 | 0.02 | 99.2 | 1.26 | 0.39 | 0.01 | 0.01 | 29.79 | NA | 3.62 | 9.26 | 0.02 | 0 | 890.68 | NA | 2.9 | 0.06 | 0.01 | 19.74 | 125.28
Geom.Mean | 0.12 | 181.01 | 0.02 | 86.39 | 0.64 | 0.2 | 0.01 | 0.01 | 23.74 | NA | 3.33 | 9.03 | 0.02 | 0 | 888.6 | NA | 2.58 | 0.06 | 0.01 | 11.78 | 35.71
Median | 0.11 | 181.02 | 0.02 | 89.42 | 0.54 | 0.18 | 0.01 | 0.01 | 23.12 | NA | 3.31 | 9.01 | 0.02 | 0 | 888.63 | NA | 2.6 | 0.06 | 0.01 | 11.48 | 0.24
Mode | 0.11 | 141.07 | 0.02 | 61.82 | 0.54 | 0.13 | 0.01 | 0.01 | 20.78 | NA | 3.42 | 8.87 | 0.02 | 0 | 887.68 | NA | 2.73 | 0.06 | 0.01 | 8.75 | 0
Std.Deviation | 0.05 | 23.49 | 0 | 11.17 | 0.28 | 0.09 | 0 | 0 | 3.01 | NA | 0.13 | 0.14 | 0 | 0 | 1.19 | NA | 0.14 | 0 | 0 | 2.74 | 44.89
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0