## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 9 |  |  |  | Date : 09/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 09/09/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.03 | 8.08 | 98.05 | 23.2 | 190.76 | NA | 3.19 | 2.8 | 0 | 0.06 | 0 | 12.17 | 886.98 | 39.28 | 0.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.13 | 8.08 | 84.19 | 26.81 | 186.23 | NA | 3.42 | 2.71 | 0 | 0.06 | 0 | 11.19 | 887.33 | 108.76 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.15 | 8.12 | 86.43 | 25.73 | 197.83 | NA | 2.95 | 2.28 | 0 | 0.06 | 0 | 11.48 | 887.71 | 16.42 | 0.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.1 | 8.22 | 89.72 | 24.86 | 162.94 | NA | 3.02 | 2.44 | 0 | 0.06 | 0.01 | 13.29 | 887.44 | 10.55 | 0.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.1 | 8.22 | 91.41 | 24.51 | 180.72 | NA | 3.06 | 2.51 | 0 | 0.06 | 0 | 12.11 | 886.72 | 52.67 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.2 | 8.19 | 86.21 | 25.6 | 198.49 | NA | 3.17 | 2.55 | 0 | 0.06 | 0 | 9.24 | 885.9 | 62.07 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.23 | 8.33 | 81.94 | 26.63 | 155.21 | NA | 3.22 | 2.53 | 0 | 0.06 | 0 | 11.05 | 885.03 | 76.11 | 1.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.46 | 8.36 | 79.02 | 28 | 206.71 | NA | 3.49 | 2.53 | 0 | 0.06 | 0 | 9.07 | 884.55 | 69.07 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.08 | 8.33 | 84.81 | 26.04 | 156.74 | NA | 3.17 | 2.68 | 0 | 0.06 | 0 | 10.46 | 884.33 | 29.65 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.23 | 8.33 | 87.57 | 24.95 | 179.69 | NA | 3.26 | 2.51 | 0 | 0.06 | 0 | 10.12 | 884.12 | 4.42 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.1 | 8.47 | 93.82 | 23.89 | 201.22 | NA | 3.15 | 2.4 | 0 | 0.06 | 0 | 11.6 | 884.32 | 0 | 0.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.1 | 8.33 | 97.74 | 23.37 | 180.09 | NA | 3.22 | 2.6 | 0 | 0.06 | 0 | 12.89 | 884.97 | 0 | 0.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.13 | 8.29 | 98.63 | 23.11 | 197.93 | NA | 3.51 | 2.65 | 0 | 0.06 | 0 | 13.14 | 886.25 | 0 | 0.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.13 | 8.33 | 97.94 | 22.8 | 177.37 | NA | 3.08 | 2.5 | 0 | 0.06 | 0 | 12.86 | 886.74 | 0 | 0.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.26 | 8.29 | 98.69 | 22.58 | 183.93 | NA | 3.44 | 2.61 | 0 | 0.06 | 0 | 14.6 | 886.85 | 0 | 0.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.15 | 8.25 | 98.71 | 22.62 | 187.96 | NA | 3.19 | 2.55 | 0 | 0.06 | 0 | 16.04 | 886.73 | 0 | 0.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.15 | 8.33 | 98.74 | 22.61 | 171.37 | NA | 2.99 | 2.43 | 0 | 0.06 | 0 | 17.54 | 886.54 | 0 | 0.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.03 | 8.26 | 99.49 | 22.59 | 200.06 | NA | 3.26 | 2.75 | 0 | 0.06 | 0 | 20.23 | 886.22 | 0 | 0.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.1 | 8.36 | 99.5 | 22.57 | 192.45 | NA | 3.15 | 2.6 | 0 | 0.06 | 0 | 17.71 | 885.83 | 0 | 0.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.41 | 8.22 | 99.5 | 22.08 | 244.03 | NA | 3.31 | 2.38 | 0 | 0.06 | 0.14 | 12.09 | 885.5 | 0 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.21 | 8.22 | 99.5 | 21.96 | 212.04 | NA | 3.37 | 2.51 | 0 | 0.06 | 0 | 9.29 | 885.2 | 0 | 1.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.31 | 8.25 | 99.5 | 21.64 | 224.82 | NA | 3.46 | 2.48 | 0 | 0.06 | 0 | 10.72 | 885.38 | 0 | 1.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.08 | 8.36 | 99.5 | 21.84 | 267.44 | NA | 3.44 | 2.78 | 0 | 0.06 | 0 | 13.19 | 885.92 | 0.57 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.05 | 8.12 | 99.5 | 22.09 | 238.93 | NA | 3.24 | 2.66 | 0 | 0.06 | 0 | 12.35 | 886.65 | 7.64 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.1 | 8.08 | 99.5 | 22.7 | 183.94 | NA | 3.42 | 3.01 | 0 | 0.06 | 0 | 11.69 | 887.08 | 18.74 | 0.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.16 | 8.26 | 93.98 | 23.79 | 195.16 | NA | 3.25 | 2.58 | 0 | 0.06 | 0.01 | 12.64 | 886.01 | 19.84 | 0.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0.03 | 8.08 | 79.02 | 21.64 | 155.21 | NA | 2.95 | 2.28 | 0 | 0.06 | 0 | 9.07 | 884.12 | 0 | 0.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.46 | 8.47 | 99.5 | 28 | 267.44 | NA | 3.51 | 3.01 | 0 | 0.06 | 0.14 | 20.23 | 887.71 | 108.76 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.16 | 8.26 | 93.98 | 23.79 | 195.16 | NA | 3.25 | 2.58 | 0 | 0.06 | 0.01 | 12.64 | 886.01 | 19.84 | 0.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.13 | 8.26 | 98.05 | 23.11 | 190.76 | NA | 3.22 | 2.55 | 0 | 0.06 | 0 | 12.11 | 886.22 | 0.57 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.1 | 8.33 | 99.5 | 21.96 | 267.44 | NA | 3.42 | 2.51 | 0 | 0.06 | 0 | 9.24 | 884.33 | 0 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.11 | 0.1 | 6.8 | 1.8 | 26.61 | NA | 0.16 | 0.16 | 0 | 0 | 0.03 | 2.76 | 1.05 | 30.56 | 0.38 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0