## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 12 |  |  |  | Date : 12/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 12 | 0.17 | 1.72 | 91.37 | 19.01 | 243.12 | 0 | 3.12 | 2.5 | 0 | 0.06 | 0.02 | 10.35 | 886.13 | 43.12 | 8.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 14 | 0.17 | 1.72 | 87.11 | 20.45 | 208.44 | 0 | 3.26 | 2.57 | 0.06 | 0.06 | 0 | 7.22 | 885.82 | 97.72 | 13.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 16 | 0.13 | 1.72 | 85.79 | 20.7 | 211.75 | 0 | 3.21 | 2.61 | 0 | 0.06 | 0 | 7.99 | 886.31 | 14.24 | 10.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 31 | 0.17 | 1.72 | 97.08 | 19.17 | 220.58 | 0 | 3.19 | 2.53 | 1.82 | 0.06 | 0.8 | 19.02 | 887.4 | 0.04 | 3.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 15 | 0.25 | 1.72 | 98.3 | 19.03 | 231.53 | 0 | 3.15 | 2.56 | 0.01 | 0.06 | 0.53 | 20.37 | 886.84 | 17.54 | 0.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 3 | 0.21 | 1.72 | 97.73 | 20.85 | 235.96 | 0 | 3.2 | 2.56 | 0 | 0.06 | 0 | 17.22 | 885.93 | 137.21 | 0.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 8 | 0.19 | 1.72 | 96 | 21.88 | 152 | 0 | 3.24 | 2.6 | 0.78 | 0.06 | 0 | 3.17 | 885.18 | 46.04 | 0.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 21 | 0.32 | 1.72 | 90.61 | 22.84 | 224.46 | 0 | 3.19 | 2.51 | 0 | 0.06 | 0.01 | 7.34 | 884.39 | 48.25 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 29 | 0.12 | 1.72 | 87.53 | 22.67 | 227.71 | 0 | 2.96 | 2.35 | 0 | 0.06 | 0.01 | 10.29 | 883.31 | 36.75 | 0.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 38 | 0.25 | 1.72 | 90.91 | 21.01 | 228.93 | 0 | 3.24 | 2.4 | 0.04 | 0.06 | 0 | 7.74 | 882.55 | 32.2 | 3.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 36 | 0.1 | 1.72 | 79.35 | 21.56 | 234.7 | 2.75 | 2.96 | 2.36 | 0.01 | 0.06 | 0 | 10.59 | 882.55 | 2.99 | 6.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 42 | 0.15 | 1.72 | 76.4 | 22.03 | 234.61 | 3 | 2.99 | 2.47 | 0.02 | 0.06 | 0 | 7.5 | 882.81 | 0 | 7.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 32 | 0.19 | 1.72 | 79.33 | 21.79 | 245.48 | 2.04 | 3.28 | 2.54 | 1.31 | 0.06 | 0 | 6.81 | 883.17 | 0 | 9.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 27 | 0.15 | 1.72 | 76.33 | 22.13 | 231.61 | 3.92 | 3.22 | 2.55 | 0.02 | 0.06 | 0 | 7.7 | 884.02 | 0 | 8.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 24 | 0.09 | 1.72 | 68.71 | 22.99 | 237.65 | 3.04 | 3.19 | 2.64 | 0 | 0.06 | 0 | 6.19 | 884.62 | 0 | 7.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 33 | 0.27 | 1.72 | 69.58 | 22.74 | 169.68 | 3 | 3.41 | 2.49 | 0.04 | 0.06 | 0 | 6.92 | 884.73 | 0 | 4.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 38 | 0.19 | 1.72 | 74.35 | 22.33 | 164.81 | 3 | 3.3 | 2.51 | 1.36 | 0.06 | 0 | 6.33 | 884.82 | 0 | 5.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 39 | 0.13 | 1.72 | 80.22 | 22.08 | 211.64 | 0.12 | 3.23 | 2.53 | 0.4 | 0.06 | 0 | 9.09 | 884.59 | 0 | 6.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 42 | 0.21 | 1.72 | 86.83 | 21.84 | 221.47 | 0 | 3.22 | 2.5 | 0 | 0.06 | 0 | 8.92 | 884.29 | 0 | 6.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 46 | 0.19 | 1.71 | 92.31 | 21.33 | 195.03 | 8.62 | 3.3 | 2.58 | 0 | 0.06 | 0 | 10.45 | 884.06 | 0 | 4.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 40 | 0.19 | 1.72 | 94.62 | 21.43 | 210.78 | 7.1 | 3.33 | 2.61 | 0 | 0.06 | 0 | 11.33 | 884.07 | 0 | 4.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 53 | 0.12 | 1.72 | 95.9 | 21.41 | 209.23 | 5.09 | 3.16 | 2.52 | 2.05 | 0.06 | 0 | 13.3 | 884.64 | 0 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 61 | 0.25 | 1.72 | 96.09 | 21.4 | 215.59 | 7.83 | 3.23 | 2.48 | 0.07 | 0.06 | 0 | 10.99 | 884.98 | 1.74 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 60.04 | 0.17 | 1.72 | 95.51 | 21.58 | 221.11 | 8.96 | 3.25 | 2.49 | 0 | 0.06 | 0 | 9.12 | 885.89 | 15.31 | 1.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 31.67 | 0.18 | 1.72 | 87 | 21.43 | 216.16 | 2.44 | 3.2 | 2.52 | 0.33 | 0.06 | 0.06 | 9.83 | 884.71 | 20.55 | 5.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 3 | 0.09 | 1.71 | 68.71 | 19.01 | 152 | 0 | 2.96 | 2.35 | 0 | 0.06 | 0 | 3.17 | 882.55 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 61 | 0.32 | 1.72 | 98.3 | 22.99 | 245.48 | 8.96 | 3.41 | 2.64 | 2.05 | 0.06 | 0.8 | 20.37 | 887.4 | 137.21 | 13.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 31.67 | 0.18 | 1.72 | 87 | 21.43 | 216.16 | 2.44 | 3.2 | 2.52 | 0.33 | 0.06 | 0.06 | 9.83 | 884.71 | 20.55 | 5.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 15.23 | 0.06 | 0 | 9.09 | 1.1 | 23.78 | 2.98 | 0.11 | 0.07 | 0.62 | 0 | 0.19 | 4.02 | 1.29 | 33.97 | 3.55 | 0 | 0 | 0 | 0 | 0
Mode | 38 | 0.19 | 1.72 | 91.37 | 19.01 | 243.12 | 0 | 3.19 | 2.5 | 0 | 0.06 | 0 | 10.35 | 882.55 | 0 | 8.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 33 | 0.19 | 1.72 | 90.61 | 21.58 | 221.47 | 2.04 | 3.22 | 2.53 | 0.02 | 0.06 | 0 | 9.09 | 884.64 | 1.74 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0