## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 21 |  |  |  | Date : 21/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 21/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.1 | 215.12 | 0.02 | 76.55 | 1.61 | 0.21 | 0.01 | 0.01 | 21.98 | NA | 3.38 | 10.51 | 0.02 | 0 | 894.14 | NA | 2.63 | 0.06 | 0.01 | 18.41 | 9.91
07-08Hr | 0.08 | 228.57 | 0.02 | 67.19 | 1.02 | 0.41 | 0.01 | 0.01 | 24.15 | NA | 3.69 | 10.51 | 0.02 | 0 | 894.79 | NA | 2.7 | 0.06 | 0.01 | 12.52 | 39.98
08-09Hr | 0.02 | 217.42 | 0.02 | 62.35 | 5.31 | 0.28 | 0.01 | 0.01 | 23.88 | NA | 3.35 | 10.62 | 0.02 | 0 | 894.63 | NA | 2.5 | 0.06 | 0.01 | 12.15 | 117.85
09-10Hr | 0.1 | 185.77 | 0.02 | 50.35 | 5.09 | 0.08 | 0.01 | 0.01 | 24.73 | NA | 3.22 | 10.69 | 0.02 | 0 | 894.05 | NA | 2.73 | 0.06 | 0.01 | 11.62 | 182.41
10-11Hr | 0.13 | 238.4 | 0.02 | 50.03 | 2.49 | 0.31 | 0.01 | 0.01 | 24.61 | NA | 3.06 | 10.83 | 0.02 | 0 | 893.03 | NA | 2.28 | 0.06 | 0.01 | 10.11 | 192.39
11-12Hr | 0.11 | 187.39 | 0.02 | 48.93 | 1.93 | 0.13 | 0.01 | 0.01 | 26.2 | NA | 3.4 | 10.9 | 0.02 | 0 | 892.14 | NA | 2.75 | 0.06 | 0.01 | 12.37 | 192.71
12-13Hr | 0.22 | 202.78 | 0.02 | 50.22 | 1.98 | 0.21 | 0.01 | 0.01 | 25.69 | NA | 3.28 | 11.05 | 0.02 | 0 | 891.5 | NA | 2.49 | 0.06 | 0.01 | 13.54 | 143.95
13-14Hr | 0.1 | 219.4 | 0.02 | 52.4 | 1.82 | 0.23 | 0.01 | 0.01 | 24.24 | NA | 3.51 | 11.12 | 0.02 | 0 | 891.05 | NA | 2.78 | 0.06 | 0.01 | 11.45 | 88.62
14-15Hr | 0.13 | 207.4 | 0.02 | 58.75 | 1.42 | 0 | 0.01 | 0.01 | 21.82 | NA | 3.13 | 11.12 | 0.02 | 0 | 890.89 | NA | 2.6 | 0.06 | 0.01 | 10.73 | 16.23
15-16Hr | 0.14 | 185.87 | 0.02 | 67.03 | 1.05 | 0.39 | 0.01 | 0.01 | 20.03 | NA | 3.51 | 11.12 | 0.02 | 0 | 890.97 | NA | 2.5 | 0.06 | 0.01 | 11.09 | 0
16-17Hr | 0.24 | 198.78 | 0.02 | 71.04 | 1.98 | 0.1 | 0.01 | 0.01 | 19.06 | NA | 3.06 | 11.05 | 0.02 | 0 | 891.16 | NA | 2.51 | 0.06 | 0.01 | 11.39 | 0
17-18Hr | 0.1 | 194.55 | 0.02 | 74.72 | 2.33 | 0.1 | 0.01 | 0.01 | 18.66 | NA | 3.13 | 11.04 | 0.02 | 0 | 891.64 | NA | 2.48 | 0.06 | 0.01 | 12.1 | 0
18-19Hr | 0.12 | 182.89 | 0.02 | 78.67 | 2.41 | 0.18 | 0.01 | 0.01 | 18.13 | NA | 3.35 | 11.04 | 0.02 | 0 | 892 | NA | 2.65 | 0.06 | 0.01 | 11.23 | 0
19-20Hr | 0.09 | 231.6 | 0.02 | 82.59 | 2.01 | 0.28 | 0.01 | 0.01 | 17.55 | NA | 3.26 | 11.11 | 0.02 | 0 | 892.15 | NA | 2.55 | 0.06 | 0.01 | 10.24 | 0
20-21Hr | 0.1 | 158.33 | 0.02 | 84.32 | 2.01 | 0.15 | 0.01 | 0.01 | 17.25 | NA | 3.22 | 11.11 | 0.02 | 0 | 892.25 | NA | 2.55 | 0.06 | 0.01 | 10.71 | 0
21-22Hr | 0.16 | 227.81 | 0.02 | 84.4 | 2.09 | 0.05 | 0.01 | 0.01 | 16.95 | NA | 3.31 | 11.12 | 0.02 | 0 | 891.95 | NA | 2.68 | 0.06 | 0.01 | 14.28 | 0
22-23Hr | 0.13 | 211.72 | 0.02 | 83.99 | 1.93 | 0.31 | 0.01 | 0.01 | 16.76 | NA | 3.44 | 10.9 | 0.02 | 0 | 891.37 | NA | 2.44 | 0.06 | 0.01 | 11.45 | 0
23-00Hr | 0.17 | 211.9 | 0.02 | 86.2 | 1.93 | 0.44 | 0.01 | 0.01 | 16.16 | NA | 3.38 | 10.9 | 0.02 | 0 | 891.05 | NA | 2.46 | 0.06 | 0.01 | 18.54 | 0
00-01Hr | 0.12 | 189.98 | 0.02 | 88.64 | 1.61 | 0.15 | 0.01 | 0.01 | 15.76 | NA | 3.04 | 10.83 | 0.02 | 0 | 890.71 | NA | 2.43 | 0.06 | 0.01 | 18.99 | 0
01-02Hr | 0.09 | 236.37 | 0.02 | 89.3 | 1.79 | 0.13 | 0.01 | 0.01 | 15.66 | NA | 3.15 | 10.83 | 0.02 | 0 | 890.53 | NA | 2.5 | 0.06 | 0.01 | 10.59 | 0
02-03Hr | 0.1 | 212.25 | 0.02 | 88.38 | 2.09 | 0.18 | 0.01 | 0.01 | 15.65 | NA | 3.2 | 10.65 | 0.02 | 0 | 890.48 | NA | 2.39 | 0.06 | 0.01 | 11.31 | 0
03-04Hr | 0.08 | 232.03 | 0.02 | 92.15 | 1.93 | 0.05 | 0.01 | 0.01 | 15.2 | NA | 3.26 | 10.48 | 0.02 | 0 | 890.68 | NA | 2.65 | 0.06 | 0.01 | 14.25 | 0
04-05Hr | 0.19 | 200.21 | 0.02 | 94.57 | 1.93 | 0.23 | 0.01 | 0.01 | 14.91 | NA | 3.24 | 10.33 | 0.02 | 0 | 891.29 | NA | 2.41 | 0.06 | 0.01 | 15.71 | 1.7
05-06Hr | 0.06 | 206.91 | 0.02 | 83.5 | 2.01 | 0.1 | 0.01 | 0.01 | 17.88 | NA | 3.42 | 10.51 | 0.02 | 0 | 891.71 | NA | 2.7 | 0.06 | 0.01 | 10.23 | 36.79
06-07hr | 0.11 | 200.59 | 0.02 | 66.31 | 2.01 | 0.13 | 0.01 | 0.01 | 22.47 | NA | 3.56 | 10.41 | 0.02 | 0 | 892.14 | NA | 2.68 | 0.06 | 0.01 | 11.87 | 19.87
Avg | 0.12 | 207.36 | 0.02 | 73.3 | 2.15 | 0.19 | 0.01 | 0.01 | 19.82 | NA | 3.3 | 10.83 | 0.02 | 0 | 891.93 | NA | 2.56 | 0.06 | 0.01 | 12.68 | 41.7
Min | 0.02 | 158.33 | 0.02 | 48.93 | 1.02 | 0 | 0.01 | 0.01 | 14.91 | NA | 3.04 | 10.33 | 0.02 | 0 | 890.48 | NA | 2.28 | 0.06 | 0.01 | 10.11 | 0
Max | 0.24 | 238.4 | 0.02 | 94.57 | 5.31 | 0.44 | 0.01 | 0.01 | 26.2 | NA | 3.69 | 11.12 | 0.02 | 0 | 894.79 | NA | 2.78 | 0.06 | 0.01 | 18.99 | 192.71
Geom.Mean | 0.12 | 207.36 | 0.02 | 73.3 | 2.15 | 0.19 | 0.01 | 0.01 | 19.82 | NA | 3.3 | 10.83 | 0.02 | 0 | 891.93 | NA | 2.56 | 0.06 | 0.01 | 12.68 | 41.7
Median | 0.11 | 207.4 | 0.02 | 76.55 | 1.98 | 0.18 | 0.01 | 0.01 | 18.66 | NA | 3.28 | 10.9 | 0.02 | 0 | 891.64 | NA | 2.55 | 0.06 | 0.01 | 11.62 | 0
Mode | 0.1 | 158.33 | 0.02 | 48.93 | 1.93 | 0.13 | 0.01 | 0.01 | 14.91 | NA | 3.06 | 11.12 | 0.02 | 0 | 892.14 | NA | 2.5 | 0.06 | 0.01 | 11.45 | 0
Std.Deviation | 0.05 | 19.61 | 0 | 14.97 | 0.98 | 0.12 | 0 | 0 | 3.77 | NA | 0.17 | 0.26 | 0 | 0 | 1.27 | NA | 0.13 | 0 | 0 | 2.63 | 67.74
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0