## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 23 |  |  |  | Date : 23/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 8 | 0.17 | 1.72 | 86.25 | 24.02 | 205.87 | 0 | 3.17 | 2.53 | 0 | 0.06 | 0 | 6.3 | 884.59 | 101.52 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 14 | 0.29 | 1.72 | 81.71 | 25.26 | 213.68 | 0 | 3.25 | 2.41 | 0 | 0.06 | 0 | 7.53 | 884.96 | 52.51 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 25 | 0.17 | 1.72 | 83.65 | 24.76 | 187.71 | 0 | 3.18 | 2.54 | 0.52 | 0.06 | 0 | 8.38 | 884.76 | 117.68 | 6.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 18 | 0.09 | 1.72 | 75.17 | 27.1 | 206.17 | 1 | 3.17 | 2.53 | 2.27 | 0.06 | 0 | 6.61 | 884.36 | 123.13 | 11.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 30 | 0.27 | 1.72 | 72.3 | 28.1 | 191.86 | 3 | 3.24 | 2.53 | 0.2 | 0.06 | 0 | 10.13 | 883.77 | 179.02 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 28 | 0.12 | 1.72 | 71 | 28.23 | 214.64 | 1 | 3.13 | 2.55 | 0 | 0.06 | 0 | 11.88 | 882.91 | 194.95 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 23 | 0.2 | 1.72 | 69.99 | 28.35 | 192.2 | 0 | 3.08 | 2.42 | 0 | 0.06 | 0 | 6.38 | 882.26 | 164.32 | 0.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 23.96 | 0.09 | 1.72 | 79.1 | 26.19 | 219.09 | 0 | 3.13 | 2.51 | 0.03 | 0.06 | 0 | 7.79 | 881.57 | 87.71 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 15 | 0.24 | 1.72 | 76.44 | 26.36 | 221.85 | 0 | 3.16 | 2.49 | 0 | 0.06 | 0 | 7.42 | 881.37 | 58.53 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 27 | 0.21 | 1.72 | 81.1 | 24.95 | 230.18 | 0 | 3.3 | 2.66 | 0.19 | 0.06 | 0 | 6.29 | 881.38 | 33.51 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 23 | 0.25 | 1.72 | 85.28 | 24.43 | 189.52 | 0 | 3.25 | 2.45 | 0.28 | 0.06 | 0 | 7.37 | 881.81 | 9.33 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 31 | 0.17 | 1.72 | 89.86 | 22.84 | 195.04 | 0 | 3.12 | 2.46 | 0.14 | 0.06 | 0 | 8.25 | 882.63 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 21 | 0.26 | 1.72 | 90.52 | 22.49 | 210.37 | 0 | 3.26 | 2.5 | 0 | 0.06 | 0 | 19.06 | 883.11 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 17 | 0.23 | 1.72 | 92.61 | 22.43 | 189.79 | 0 | 3.23 | 2.56 | 0 | 0.06 | 0 | 32.58 | 883.38 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 23.73 | 0.19 | 1.72 | 93.37 | 22.44 | 166.64 | 0.96 | 3.2 | 2.51 | 0.01 | 0.06 | 0 | 18.73 | 883.71 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 20 | 0.13 | 1.72 | 94.93 | 22.32 | 196.33 | 0 | 3.14 | 2.51 | 0 | 0.06 | 0.01 | 7.32 | 883.55 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 14 | 0.24 | 1.72 | 95.62 | 22.27 | 209.85 | 0 | 3.33 | 2.56 | 0 | 0.06 | 0.01 | 10.74 | 883.2 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 11 | 0.2 | 1.72 | 95.31 | 22.28 | 204.5 | 0 | 3.14 | 2.47 | 0 | 0.06 | 0 | 11.38 | 882.81 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 9 | 0.29 | 1.72 | 96.45 | 22.14 | 208.29 | 0 | 3.32 | 2.51 | 0 | 0.06 | 0 | 10.21 | 882.61 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 16 | 0.14 | 1.72 | 98.43 | 21.76 | 218.69 | 1 | 3.27 | 2.59 | 0.05 | 0.06 | 0 | 13.08 | 882.71 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 10 | 0.13 | 1.72 | 98.84 | 21.8 | 207.59 | 0 | 3.08 | 2.44 | 0 | 0.06 | 0 | 11.79 | 882.91 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 11 | 0.08 | 1.72 | 98.85 | 21.82 | 203.62 | 0 | 3.13 | 2.52 | 0 | 0.06 | 0 | 11.07 | 882.99 | 0.03 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 15 | 0.32 | 1.72 | 98.32 | 22.73 | 197.42 | 0 | 3.23 | 2.45 | 0 | 0.06 | 0 | 10.92 | 883.38 | 18.49 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 28 | 0.23 | 1.72 | 92.89 | 23.89 | 213 | 0 | 3.26 | 2.52 | 0 | 0.06 | 0 | 9.07 | 884.18 | 28.69 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 19.24 | 0.2 | 1.72 | 87.42 | 24.12 | 203.91 | 0.29 | 3.2 | 2.51 | 0.15 | 0.06 | 0 | 10.85 | 883.12 | 48.73 | 0.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 8 | 0.08 | 1.72 | 69.99 | 21.76 | 166.64 | 0 | 3.08 | 2.41 | 0 | 0.06 | 0 | 6.29 | 881.37 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 31 | 0.32 | 1.72 | 98.85 | 28.35 | 230.18 | 3 | 3.33 | 2.66 | 2.27 | 0.06 | 0.01 | 32.58 | 884.96 | 194.95 | 11.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 19.24 | 0.2 | 1.72 | 87.42 | 24.12 | 203.91 | 0.29 | 3.2 | 2.51 | 0.15 | 0.06 | 0 | 10.85 | 883.12 | 48.73 | 0.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6.88 | 0.07 | 0 | 9.38 | 2.17 | 13.53 | 0.67 | 0.07 | 0.05 | 0.46 | 0 | 0 | 5.64 | 1 | 63.13 | 2.54 | 0 | 0 | 0 | 0 | 0
Mode | 14 | 0.17 | 1.72 | 86.25 | 24.02 | 205.87 | 0 | 3.13 | 2.51 | 0 | 0.06 | 0 | 6.3 | 882.91 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 20 | 0.2 | 1.72 | 90.52 | 23.89 | 206.17 | 0 | 3.2 | 2.51 | 0 | 0.06 | 0 | 10.13 | 883.11 | 18.49 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0