## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 4 |  |  |  | Date : 04/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 04/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 16.21 | 0.23 | 6.25 | 99.5 | 21.2 | 127.95 | 0 | 3.41 | 2.66 | 0 | 0.06 | 0.01 | 48.86 | 886.96 | 19.06 | 3.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 31.17 | 0.19 | 6.26 | 99.5 | 21.58 | 128.02 | 0 | 3.34 | 2.56 | 0 | 0.06 | 0 | 53.06 | 887.28 | 17.09 | 3.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 41.48 | 0.08 | 6.29 | 97.54 | 22.53 | 116.51 | 0 | 3.08 | 2.5 | 0 | 0.06 | 0 | 53.44 | 887.39 | 35.18 | 2.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 42.95 | 0.11 | 6.28 | 93.55 | 23.02 | 118.03 | 4.22 | 3.11 | 2.55 | 0 | 0.06 | 0 | 51.73 | 886.81 | 29.84 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 56.28 | 0.13 | 6.32 | 89.91 | 24.05 | 116.37 | 5 | 3.14 | 2.57 | 0 | 0.06 | 0 | 54.94 | 886.51 | 45.82 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 61.74 | 0.21 | 6.34 | 91.19 | 23.9 | 109.84 | 2.47 | 3.37 | 2.56 | 0 | 0.06 | 0 | 52.57 | 886.08 | 16.81 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 62.95 | 0.15 | 6.33 | 96.44 | 22.6 | 107.44 | 2.84 | 3.33 | 2.64 | 0 | 0.06 | 0.04 | 53.02 | 885.52 | 7.97 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 40.24 | 0.17 | 6.36 | 99.02 | 22.46 | 106.3 | 2.16 | 3.2 | 2.5 | 0 | 0.06 | 0 | 43.98 | 885.07 | 20.59 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 26.67 | 0.21 | 6.36 | 98.44 | 22.4 | 99.26 | 2 | 3.25 | 2.52 | 0 | 0.06 | 0 | 60.6 | 884.77 | 10.51 | 2.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 17.47 | 0.1 | 6.37 | 99.44 | 21.81 | 118.77 | 0.31 | 3.19 | 2.59 | 0 | 0.06 | 0 | 63.67 | 884.9 | 0 | 2.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 15.1 | 0.25 | 6.33 | 99.5 | 21.7 | 129.63 | 0 | 3.39 | 2.54 | 0 | 0.06 | 0 | 64.73 | 885.17 | 0 | 2.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 30.17 | 0.21 | 6.36 | 99.48 | 21.77 | 125.76 | 0 | 3.36 | 2.57 | 0 | 0.06 | 0 | 58.71 | 885.34 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 35.74 | 0.18 | 6.36 | 99.5 | 21.71 | 125.82 | 0 | 3.17 | 2.48 | 0 | 0.06 | 0 | 55.5 | 885.94 | 0 | 2.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 38.84 | 0.12 | 6.37 | 99.5 | 21.4 | 117.52 | 0.84 | 3.32 | 2.6 | 0 | 0.06 | 0 | 61.9 | 886.32 | 0 | 3.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 30.47 | 0.12 | 6.38 | 99.5 | 21.32 | 116.17 | 1.86 | 3.17 | 2.53 | 0 | 0.06 | 0 | 63.45 | 886.58 | 0 | 3.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 30 | 0.21 | 6.34 | 99.5 | 21.39 | 128.91 | 2 | 3.3 | 2.57 | 0 | 0.06 | 0.05 | 48.67 | 886.49 | 0 | 2.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 18.62 | 0.16 | 6.4 | 99.5 | 21.39 | 147.07 | 2 | 3.25 | 2.54 | 0 | 0.06 | 0.15 | 41.04 | 885.99 | 0 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 4.74 | 0.16 | 6.38 | 99.5 | 20.93 | 133.16 | 0.32 | 3.2 | 2.55 | 0 | 0.06 | 0 | 45.21 | 885.42 | 0 | 2.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 21.07 | 0.22 | 6.35 | 99.5 | 20.83 | 129.92 | 0 | 3.26 | 2.5 | 0 | 0.06 | 0 | 45.75 | 885.16 | 0 | 2.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 26.74 | 0.11 | 6.31 | 99.5 | 20.87 | 127.76 | 0 | 3.06 | 2.44 | 0 | 0.06 | 0.05 | 37.78 | 885.09 | 0 | 2.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 16.57 | 0.22 | 6.32 | 99.5 | 20.78 | 123.9 | 0.84 | 3.29 | 2.55 | 0 | 0.06 | 0.05 | 41.89 | 885.26 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 8.41 | 0.15 | 6.33 | 99.5 | 20.84 | 121.79 | 0.16 | 3.25 | 2.54 | 0 | 0.06 | 0.19 | 45.12 | 885.51 | 0 | 2.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 4.21 | 0.21 | 6.29 | 99.5 | 20.88 | 120.89 | 0 | 3.37 | 2.54 | 0 | 0.06 | 0.19 | 40.47 | 886.35 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 2.1 | 0.19 | 6.28 | 99.5 | 20.54 | 114.07 | 0 | 3.32 | 2.53 | 0 | 0.06 | 0.3 | 45.06 | 887.17 | 0.2 | 2.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 2 | 0.31 | 6.22 | 99.5 | 19.93 | 117.36 | 0 | 3.11 | 2.41 | 0 | 0.06 | 0.25 | 49.75 | 887.5 | 2.94 | 3.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 27.28 | 0.18 | 6.33 | 98.28 | 21.67 | 121.13 | 1.08 | 3.25 | 2.54 | 0 | 0.06 | 0.05 | 51.24 | 886.02 | 8.24 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 2 | 0.08 | 6.22 | 89.91 | 19.93 | 99.26 | 0 | 3.06 | 2.41 | 0 | 0.06 | 0 | 37.78 | 884.77 | 0 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 62.95 | 0.31 | 6.4 | 99.5 | 24.05 | 147.07 | 5 | 3.41 | 2.66 | 0 | 0.06 | 0.3 | 64.73 | 887.5 | 45.82 | 3.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 27.28 | 0.18 | 6.33 | 98.28 | 21.67 | 121.13 | 1.08 | 3.25 | 2.54 | 0 | 0.06 | 0.05 | 51.24 | 886.02 | 8.24 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 26.74 | 0.18 | 6.33 | 99.5 | 21.4 | 120.89 | 0.31 | 3.25 | 2.54 | 0 | 0.06 | 0 | 51.73 | 885.99 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2.1 | 0.21 | 6.36 | 99.5 | 21.39 | 128.02 | 0 | 3.25 | 2.54 | 0 | 0.06 | 0 | 37.78 | 884.9 | 0 | 3.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 17.59 | 0.05 | 0.05 | 2.69 | 1 | 9.98 | 1.44 | 0.1 | 0.05 | 0 | 0 | 0.09 | 7.87 | 0.85 | 13.03 | 0.47 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0