## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 14 |  |  |  | Date : 14/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 12 | 0.21 | 6.06 | 83.34 | 26.61 | 200.6 | 0 | 3.26 | 2.54 | 0.84 | 0.06 | 0 | 10.13 | 883.18 | 69.05 | 1.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 22 | 0.21 | 6.09 | 80.68 | 27.02 | 166.59 | 0 | 3.36 | 2.59 | 1.41 | 0.06 | 0.01 | 7.1 | 883.71 | 95.46 | 1.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 26 | 0.16 | 6.16 | 79.21 | 27.9 | 171.43 | 0 | 3.26 | 2.56 | 1.31 | 0.06 | 0 | 5.6 | 884.05 | 101.54 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 34 | 0.17 | 6.1 | 82.75 | 26.77 | 202.73 | 0 | 3.24 | 2.54 | 2.11 | 0.06 | 0.04 | 7.43 | 883.84 | 37.7 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 25 | 0.13 | 6.06 | 96.57 | 21.79 | 222.25 | 0.92 | 3.19 | 2.58 | 2.47 | 0.06 | 0.08 | 11.59 | 882.99 | 19.13 | 4.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 5 | 0.27 | 6.08 | 98.82 | 21.71 | 239.58 | 0.08 | 3.35 | 2.52 | 2.13 | 0.06 | 0 | 8.04 | 882.8 | 18.16 | 3.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 7 | 0.14 | 6.09 | 94.93 | 23.28 | 197.66 | 0 | 3.28 | 2.62 | 1.52 | 0.06 | 0 | 5.27 | 882.68 | 25.17 | 1.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 11 | 0.11 | 6.12 | 88.15 | 24.54 | 194.36 | 0 | 2.96 | 2.4 | 1.3 | 0.06 | 0 | 5.01 | 882.28 | 43.71 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 44 | 0.15 | 6.12 | 94.51 | 23.24 | 182.04 | 0 | 3.08 | 2.46 | 1.74 | 0.06 | 0 | 10.4 | 881.56 | 33.04 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 12 | 0.2 | 6.13 | 95.72 | 22.98 | 182.73 | 0 | 3.18 | 2.47 | 1.67 | 0.06 | 0 | 10.59 | 881.99 | 15.5 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 16 | 0.25 | 6.08 | 97.47 | 21.96 | 231.89 | 0 | 3.38 | 2.56 | 1.48 | 0.06 | 0.09 | 8.27 | 882.95 | 0 | 3.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 7 | 0.22 | 6.09 | 99.44 | 21.44 | 262.8 | 0 | 3.36 | 2.6 | 1.05 | 0.06 | 0.03 | 10.42 | 883.76 | 0 | 2.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 8 | 0.15 | 6.09 | 99.5 | 21.26 | 208.62 | 1.83 | 3.19 | 2.52 | 0.88 | 0.06 | 0 | 12.76 | 883.72 | 0 | 4.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 12 | 0.23 | 6.03 | 99.5 | 21.17 | 215.75 | 1.08 | 3.22 | 2.49 | 0.86 | 0.06 | 0 | 16.09 | 883.44 | 0 | 4.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 9 | 0.15 | 6.01 | 99.26 | 21.18 | 222.1 | 0.08 | 3.16 | 2.57 | 1.82 | 0.06 | 0 | 10.61 | 883.76 | 0 | 3.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 10 | 0.19 | 6.01 | 95.81 | 21.52 | 205.22 | 0 | 3.34 | 2.58 | 0.26 | 0.06 | 0 | 5.33 | 884.11 | 0 | 3.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 13 | 0.24 | 6 | 95.72 | 21.45 | 210.16 | 0 | 3.21 | 2.43 | 0.17 | 0.06 | 0 | 5.03 | 884.03 | 0 | 3.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 10 | 0.12 | 6 | 95.34 | 21.56 | 200.64 | 0 | 3.2 | 2.55 | 0.07 | 0.06 | 0 | 5.11 | 883.85 | 0 | 3.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 10 | 0.18 | 5.98 | 93.26 | 21.78 | 198.58 | 0 | 3.32 | 2.55 | 0.09 | 0.06 | 0 | 5.09 | 883.38 | 0 | 3.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 9 | 0.15 | 5.98 | 91.1 | 21.93 | 192.17 | 0 | 3.24 | 2.56 | 0.02 | 0.06 | 0 | 9.48 | 883.01 | 0 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 9 | 0.19 | 5.98 | 91.54 | 21.73 | 197.15 | 0 | 3.17 | 2.51 | 0.04 | 0.06 | 0 | 11.5 | 882.94 | 0 | 3.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 6 | 0.2 | 5.97 | 88.76 | 22.17 | 207.72 | 0 | 3.25 | 2.48 | 0.03 | 0.06 | 0 | 6.82 | 883.34 | 0 | 3.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 8 | 0.13 | 5.96 | 87.79 | 22.37 | 197.59 | 0 | 3.13 | 2.5 | 1.88 | 0.06 | 0 | 5.44 | 883.67 | 2.05 | 3.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 14 | 0.18 | 5.9 | 82.72 | 24.21 | 180.5 | 0 | 3.22 | 2.5 | 2.1 | 0.06 | 0 | 6.76 | 883.68 | 54.16 | 2.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 27 | 0.12 | 5.96 | 77.41 | 26.18 | 175.94 | 0 | 3.15 | 2.56 | 1.03 | 0.06 | 0 | 6.5 | 883.77 | 92.6 | 2.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 14.64 | 0.18 | 6.04 | 91.57 | 23.11 | 202.67 | 0.16 | 3.23 | 2.53 | 1.13 | 0.06 | 0.01 | 8.25 | 883.3 | 24.29 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 5 | 0.11 | 5.9 | 77.41 | 21.17 | 166.59 | 0 | 2.96 | 2.4 | 0.02 | 0.06 | 0 | 5.01 | 881.56 | 0 | 1.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 44 | 0.27 | 6.16 | 99.5 | 27.9 | 262.8 | 1.83 | 3.38 | 2.62 | 2.47 | 0.06 | 0.09 | 16.09 | 884.11 | 101.54 | 4.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 14.64 | 0.18 | 6.04 | 91.57 | 23.11 | 202.67 | 0.16 | 3.23 | 2.53 | 1.13 | 0.06 | 0.01 | 8.25 | 883.3 | 24.29 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 11 | 0.18 | 6.06 | 94.51 | 21.96 | 200.6 | 0 | 3.22 | 2.54 | 1.3 | 0.06 | 0 | 7.43 | 883.44 | 2.05 | 3.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 9 | 0.15 | 6.09 | 99.5 | 21.17 | 262.8 | 0 | 3.36 | 2.56 | 0.84 | 0.06 | 0 | 5.03 | 883.76 | 0 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 9.69 | 0.04 | 0.07 | 7.01 | 2.14 | 21.87 | 0.44 | 0.1 | 0.05 | 0.78 | 0 | 0.02 | 2.97 | 0.66 | 33.51 | 0.92 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0