## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 26 |  |  |  | Date : 26/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 26/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | No Data : Power issue
07-08Hr | 6 | 0.45 | 6.09 | 89.12 | 24.14 | 111.94 | 0 | 3.81 | 2.64 | 0 | 0.06 | 0 | 44.91 | 881.84 | 77.27 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 8 | 0.09 | 6.05 | 88.34 | 24.46 | 106.49 | 0 | 3.23 | 2.62 | 0 | 0.06 | 0 | 47.19 | 881.85 | 90.03 | 3.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 7.02 | 0.27 | 6.12 | 94.38 | 23.41 | 105.19 | 0 | 3.35 | 2.53 | 0 | 0.06 | 0.03 | 45.62 | 881.95 | 47.87 | 7.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 7 | 0.28 | 6.21 | 89.99 | 25.46 | 140.44 | 0 | 3.38 | 2.52 | 0 | 0.06 | 0 | 11.19 | 881.38 | 124.22 | 3.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 15 | 0.2 | 6.29 | 84.1 | 27.07 | 194.64 | 0 | 3.42 | 2.55 | 0 | 0.06 | 0 | 1.8 | 881.04 | 52.6 | 3 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
12-13Hr | No Data : Power issue
13-14Hr
14-15Hr
15-16Hr
16-17Hr
17-18Hr
18-19Hr
19-20Hr
20-21Hr
21-22Hr
22-23Hr
23-00Hr
00-01Hr | No Data : Power issue
01-02Hr
02-03Hr
03-04Hr
04-05Hr
05-06Hr
06-07hr
Avg | 8.6 | 0.26 | 6.15 | 89.19 | 24.91 | 131.74 | 0 | 3.44 | 2.57 | 0 | 0.06 | 0.01 | 30.14 | 881.61 | 78.4 | 3.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 6 | 0.09 | 6.05 | 84.1 | 23.41 | 105.19 | 0 | 3.23 | 2.52 | 0 | 0.06 | 0 | 1.8 | 881.04 | 47.87 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 15 | 0.45 | 6.29 | 94.38 | 27.07 | 194.64 | 0 | 3.81 | 2.64 | 0 | 0.06 | 0.03 | 47.19 | 881.95 | 124.22 | 7.12 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Geom.Mean | 8.6 | 0.26 | 6.15 | 89.19 | 24.91 | 131.74 | 0 | 3.44 | 2.57 | 0 | 0.06 | 0.01 | 30.14 | 881.61 | 78.4 | 3.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 7.02 | 0.27 | 6.12 | 89.12 | 24.46 | 111.94 | 0 | 3.38 | 2.55 | 0 | 0.06 | 0 | 44.91 | 881.84 | 77.27 | 3.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 6 | 0.45 | 6.21 | 89.99 | 23.41 | 194.64 | 0 | 3.23 | 2.52 | 0 | 0.06 | 0 | 1.8 | 881.84 | 77.27 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 3.64 | 0.13 | 0.1 | 3.68 | 1.42 | 37.97 | 0 | 0.22 | 0.05 | 0 | 0 | 0.01 | 21.86 | 0.39 | 30.96 | 1.84 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0