## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 18 |  |  |  | Date : 18/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 18/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 28 | 0.18 | 6.02 | 88.52 | 24.52 | 166.44 | 0 | 3.33 | 2.6 | 0 | 0.06 | 0 | 5.37 | 885.11 | 47.55 | 1.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 31 | 0.2 | 6.05 | 81.54 | 26.14 | 164.19 | 0 | 3.33 | 2.58 | 0 | 0.06 | 0 | 5.53 | 885.15 | 44.72 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 41 | 0.26 | 6.04 | 84.21 | 25.11 | 156.62 | 0 | 3.34 | 2.54 | 0 | 0.06 | 0 | 8.3 | 885.06 | 40.02 | 1.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 42 | 0.16 | 6.16 | 85.31 | 25.05 | 178.04 | 0 | 3.17 | 2.55 | 0 | 0.06 | 0 | 11.14 | 884.56 | 55.08 | 1.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 46 | 0.25 | 6.13 | 79.15 | 27.1 | 186.02 | 0 | 3.29 | 2.52 | 0 | 0.06 | 0 | 6.27 | 884.13 | 70.99 | 1.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 33 | 0.14 | 6.1 | 78.27 | 27.33 | 218.66 | 0 | 3.25 | 2.58 | 0 | 0.06 | 0 | 5.83 | 883.66 | 95.49 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 43 | 0.21 | 6.14 | 74.02 | 28.46 | 188.38 | 0 | 3.25 | 2.48 | 0 | 0.06 | 0 | 10.96 | 883.01 | 99.69 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 50 | 0.28 | 6.24 | 74 | 28.85 | 208.23 | 0 | 3.23 | 2.46 | 0 | 0.06 | 0 | 6.26 | 882.14 | 121.49 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 49 | 0.14 | 6.28 | 69.22 | 29.78 | 189.23 | 0 | 3.07 | 2.42 | 0 | 0.06 | 0 | 5.21 | 881.37 | 92.11 | 1.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 54 | 0.21 | 6.29 | 81 | 26.97 | 187.52 | 0 | 3.23 | 2.55 | 0 | 0.06 | 0 | 5.76 | 881.09 | 23.07 | 1.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 57 | 0.21 | 6.24 | 88.44 | 25.18 | 185.72 | 0 | 3.26 | 2.52 | 0 | 0.06 | 0 | 11.4 | 880.95 | 10.4 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 57 | 0.15 | 6.3 | 93.77 | 24.01 | 164.87 | 0 | 3.2 | 2.53 | 0 | 0.06 | 0 | 5.67 | 881.16 | 0 | 1.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 60 | 0.13 | 6.27 | 95.68 | 23.58 | 168.93 | 1.86 | 3.18 | 2.56 | 0 | 0.06 | 0 | 6.01 | 881.72 | 0 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 45 | 0.09 | 6.26 | 96.06 | 23.48 | 184.93 | 2.93 | 3.04 | 2.5 | 0 | 0.06 | 0 | 16.6 | 882.37 | 0 | 1.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 45 | 0.12 | 6.25 | 95.08 | 23.5 | 195.41 | 0.16 | 3.27 | 2.63 | 0 | 0.06 | 0 | 6.41 | 882.72 | 0 | 1.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 41 | 0.16 | 6.25 | 96.5 | 23.1 | 199.52 | 3.72 | 3.17 | 2.49 | 0 | 0.06 | 0 | 5.54 | 882.52 | 0 | 1.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 39 | 0.12 | 6.2 | 97.42 | 22.9 | 203.75 | 3.07 | 3.16 | 2.53 | 0 | 0.06 | 0 | 6.48 | 882.26 | 0 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 39 | 0.16 | 6.14 | 98.16 | 22.8 | 212.59 | 0.2 | 3.28 | 2.57 | 0 | 0.06 | 0 | 6.69 | 881.77 | 0 | 1.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 30 | 0.15 | 6.2 | 98.76 | 22.53 | 191.88 | 0 | 3.23 | 2.54 | 0 | 0.06 | 0 | 16.8 | 881.3 | 0 | 1.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 12 | 0.13 | 6.17 | 99.45 | 22.06 | 207.56 | 0 | 3.27 | 2.54 | 0 | 0.06 | 0 | 6.91 | 880.99 | 0 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 13 | 0.13 | 6.16 | 99.5 | 21.81 | 213.31 | 0 | 3.27 | 2.63 | 0 | 0.06 | 0 | 7.46 | 880.56 | 0 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 12.02 | 0.18 | 6.13 | 99.5 | 21.65 | 213.45 | 0 | 3.29 | 2.54 | 0 | 0.06 | 0 | 11.87 | 880.7 | 0 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 7 | 0.15 | 6.13 | 99.5 | 21.57 | 223.98 | 0 | 3.28 | 2.62 | 0 | 0.06 | 0 | 12.58 | 881.06 | 0 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 3 | 0.13 | 6.13 | 99.5 | 21.79 | 197.49 | 0 | 3.23 | 2.57 | 0 | 0.06 | 0 | 8.76 | 881.33 | 4.93 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 9 | 0.2 | 6.1 | 99.5 | 21.89 | 177.24 | 0 | 3.26 | 2.52 | 0 | 0.06 | 0 | 7.56 | 881.41 | 4.23 | 1.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 35.44 | 0.17 | 6.18 | 90.08 | 24.45 | 191.36 | 0.48 | 3.24 | 2.54 | 0 | 0.06 | 0 | 8.29 | 882.32 | 28.39 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 3 | 0.09 | 6.02 | 69.22 | 21.57 | 156.62 | 0 | 3.04 | 2.42 | 0 | 0.06 | 0 | 5.21 | 880.56 | 0 | 1.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 60 | 0.28 | 6.3 | 99.5 | 29.78 | 223.98 | 3.72 | 3.34 | 2.63 | 0 | 0.06 | 0 | 16.8 | 885.15 | 121.49 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 35.44 | 0.17 | 6.18 | 90.08 | 24.45 | 191.36 | 0.48 | 3.24 | 2.54 | 0 | 0.06 | 0 | 8.29 | 882.32 | 28.39 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 41 | 0.16 | 6.16 | 95.08 | 23.58 | 189.23 | 0 | 3.25 | 2.54 | 0 | 0.06 | 0 | 6.69 | 881.77 | 4.23 | 1.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 39 | 0.13 | 6.13 | 99.5 | 21.81 | 156.62 | 0 | 3.23 | 2.54 | 0 | 0.06 | 0 | 5.53 | 880.99 | 0 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 17.11 | 0.05 | 0.08 | 9.79 | 2.46 | 18.63 | 1.11 | 0.07 | 0.05 | 0 | 0 | 0 | 3.39 | 1.48 | 39.14 | 0.18 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0