## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 12 |  |  |  | Date : 12/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 10 | 0.15 | 5.95 | 91.72 | 25.5 | 129.08 | 0 | 3.16 | 2.47 | 0.96 | 0.06 | 0 | 41.51 | 882.78 | 72.6 | 1.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 17 | 0.14 | 5.98 | 75.14 | 29.77 | 135.49 | 0 | 3.26 | 2.62 | 1.03 | 0.06 | 0 | 47.67 | 882.93 | 148.14 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 37 | 0.17 | 6.06 | 75 | 29.49 | 128.28 | 1.83 | 3.32 | 2.58 | 1.47 | 0.06 | 0 | 44.12 | 882.78 | 114.83 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 38 | 0.15 | 6.1 | 75.68 | 29.55 | 127.75 | 1.08 | 3.1 | 2.51 | 2.04 | 0.06 | 0 | 46.51 | 882.54 | 125.09 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 44 | 0.17 | 6.12 | 74.05 | 30.44 | 113.63 | 1 | 3.32 | 2.62 | 2.36 | 0.06 | 0 | 45.8 | 882.29 | 114.51 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 48 | 0.16 | 6.17 | 78.97 | 29.48 | 128.75 | 1.92 | 3.19 | 2.51 | 2.52 | 0.06 | 0 | 46.11 | 881.61 | 99.11 | 1.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 41 | 0.17 | 6.21 | 79.17 | 29.49 | 126.7 | 2 | 3.19 | 2.57 | 2.95 | 0.06 | 0 | 46.97 | 880.67 | 92.8 | 1.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 51 | 0.13 | 6.21 | 77.96 | 29.64 | 110.43 | 1.08 | 3.13 | 2.54 | 3.55 | 0.06 | 0 | 40.94 | 880.19 | 58.99 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 49 | 0.23 | 6.17 | 86.76 | 27.52 | 120.26 | 3.75 | 3.1 | 2.32 | 3.98 | 0.06 | 0 | 41.12 | 880.17 | 22.73 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 46 | 0.2 | 6.17 | 92.75 | 25.97 | 104.84 | 4.92 | 3.27 | 2.52 | 5.5 | 0.06 | 0 | 45.32 | 879.93 | 5.1 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 45 | 0.18 | 6.16 | 95.8 | 25.34 | 118.5 | 2.25 | 3.22 | 2.51 | 5.41 | 0.06 | 0.01 | 43.51 | 880.48 | 0 | 1.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 53 | 0.18 | 6.2 | 96.96 | 25.17 | 118.19 | 4.75 | 3.21 | 2.52 | 5.18 | 0.06 | 0 | 45.36 | 881.47 | 0 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 43 | 0.2 | 6.1 | 98.1 | 24.53 | 108.51 | 7.75 | 3.23 | 2.46 | 4.7 | 0.06 | 0 | 44.86 | 881.97 | 0 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 41 | 0.22 | 6.13 | 99.25 | 24.41 | 110.4 | 6.17 | 3.26 | 2.54 | 4.34 | 0.06 | 0 | 44.48 | 882.58 | 0 | 1.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 30 | 0.2 | 6.11 | 99.5 | 24.03 | 128.48 | 4.17 | 3.25 | 2.51 | 2.43 | 0.06 | 0 | 45.1 | 883 | 0 | 1.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 37 | 0.25 | 6.18 | 96.32 | 23.53 | 122.12 | 2.17 | 3.17 | 2.41 | 2.28 | 0.06 | 0 | 36.54 | 883.19 | 0 | 1.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 20.67 | 0.13 | 6.15 | 88.38 | 24.04 | 130.86 | 2.92 | 3.13 | 2.54 | 2.12 | 0.06 | 0 | 37.54 | 882.81 | 0 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 54 | 0.2 | 6.11 | 85.8 | 24.28 | 127.85 | 2.08 | 3.25 | 2.55 | 1.59 | 0.06 | 0 | 35.76 | 882.36 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 8 | 0.09 | 6.12 | 87.56 | 24.06 | 133.46 | 1.08 | 3.22 | 2.62 | 1.17 | 0.06 | 0 | 32.09 | 882.06 | 0 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 16 | 0.2 | 6.1 | 91.49 | 23.42 | 154.56 | 0.08 | 3.24 | 2.52 | 0.98 | 0.06 | 0 | 29.48 | 881.8 | 0 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 13 | 0.14 | 6.09 | 93.75 | 22.91 | 136.63 | 0 | 3.12 | 2.49 | 0.95 | 0.06 | 0 | 27.13 | 881.34 | 0 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 8 | 0.17 | 6.03 | 96.09 | 22.18 | 116.15 | 0 | 3.22 | 2.52 | 1.37 | 0.06 | 0.03 | 37.11 | 881.23 | 0 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 8 | 0.15 | 6.01 | 87.72 | 23.14 | 133.18 | 0 | 3.07 | 2.43 | 1.11 | 0.06 | 0 | 25.23 | 881.27 | 2.34 | 3.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 6 | 0.15 | 6.02 | 89.12 | 23.81 | 144.65 | 0 | 3.32 | 2.6 | 0.77 | 0.06 | 0 | 31.12 | 881.66 | 34.63 | 2.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 5 | 0.16 | 6.01 | 83.78 | 24.67 | 120.11 | 0 | 3.23 | 2.55 | 1.23 | 0.06 | 0 | 41.65 | 881.8 | 59.83 | 3.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 30.75 | 0.17 | 6.11 | 87.87 | 25.85 | 125.15 | 2.04 | 3.21 | 2.52 | 2.48 | 0.06 | 0 | 40.12 | 881.8 | 38.03 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 5 | 0.09 | 5.95 | 74.05 | 22.18 | 104.84 | 0 | 3.07 | 2.32 | 0.77 | 0.06 | 0 | 25.23 | 879.93 | 0 | 1.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 54 | 0.25 | 6.21 | 99.5 | 30.44 | 154.56 | 7.75 | 3.32 | 2.62 | 5.5 | 0.06 | 0.03 | 47.67 | 883.19 | 148.14 | 3.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 30.75 | 0.17 | 6.11 | 87.87 | 25.85 | 125.15 | 2.04 | 3.21 | 2.52 | 2.48 | 0.06 | 0 | 40.12 | 881.8 | 38.03 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 37 | 0.17 | 6.11 | 88.38 | 24.67 | 127.75 | 1.83 | 3.22 | 2.52 | 2.12 | 0.06 | 0 | 41.65 | 881.8 | 2.34 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 8 | 0.2 | 6.1 | 74.05 | 29.49 | 128.28 | 0 | 3.32 | 2.51 | 0.96 | 0.06 | 0 | 25.23 | 881.8 | 0 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 17.39 | 0.04 | 0.07 | 8.38 | 2.66 | 11.55 | 2.15 | 0.07 | 0.07 | 1.55 | 0 | 0.01 | 6.66 | 0.96 | 50.1 | 0.57 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0