## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 6 |  |  |  | Date : 06/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 06/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.23 | 87.39 | 0.02 | 81.77 | 0.37 | 0.08 | 0.01 | 0.01 | 25.26 | NA | 3.02 | 8.8 | 0.02 | 0 | 889.71 | NA | 2.45 | 0.06 | 0.01 | 8.03 | 59.15
07-08Hr | 0.11 | 158.4 | 0.02 | 82.68 | 0.43 | 0.36 | 0.01 | 0.01 | 24.92 | NA | 3.67 | 8.83 | 0.02 | 0 | 890.13 | NA | 2.76 | 0.06 | 0.01 | 4.11 | 43.51
08-09Hr | 0.12 | 105.61 | 0.02 | 76.57 | 0.35 | 0.2 | 0.01 | 0.01 | 26.87 | NA | 3.15 | 8.97 | 0.02 | 0 | 890.26 | NA | 2.56 | 0.06 | 0.01 | 7.62 | 63.2
09-10Hr | 0.06 | 179.4 | 0.02 | 76.01 | 0.62 | 0.05 | 0.01 | 0.01 | 27.08 | NA | 3.24 | 8.9 | 0.02 | 0 | 889.53 | NA | 2.7 | 0.06 | 0.01 | 6.4 | 137.14
10-11Hr | 0.05 | 159.22 | 0.02 | 75.27 | 0.7 | 0.18 | 0.01 | 0.01 | 27.26 | NA | 3.44 | 8.97 | 0.02 | 0 | 888.67 | NA | 2.61 | 0.06 | 0.01 | 8.44 | 53.07
11-12Hr | 0.15 | 145.19 | 0.02 | 77.86 | 0.86 | 0.23 | 0.01 | 0.01 | 26.81 | NA | 3.33 | 8.97 | 0.02 | 0 | 887.88 | NA | 2.5 | 0.06 | 0.01 | 7.65 | 100.84
12-13Hr | 0.14 | 160.52 | 0.02 | 70.32 | 0.86 | 0.1 | 0.01 | 0.01 | 29.01 | NA | 3.22 | 9.11 | 0.02 | 0 | 887.1 | NA | 2.6 | 0.06 | 0.01 | 8.75 | 152.78
13-14Hr | 0.05 | 175.72 | 0.02 | 76.8 | 0.62 | 0.03 | 0.01 | 0.01 | 27.17 | NA | 3.15 | 9.22 | 0.02 | 0 | 886.81 | NA | 2.51 | 0.06 | 0.01 | 8.2 | 93.36
14-15Hr | 0.11 | 166.33 | 0.02 | 86.14 | 1.5 | 0.36 | 0.01 | 0.01 | 23.68 | NA | 3.4 | 9.19 | 0.02 | 0 | 887.09 | NA | 2.45 | 0.06 | 0.01 | 10.37 | 23.62
15-16Hr | 0.1 | 215.92 | 0.02 | 90.08 | 0.62 | 0.18 | 0.01 | 0.01 | 22.98 | NA | 3.24 | 9.11 | 0.02 | 0 | 887.25 | NA | 2.53 | 0.06 | 0.01 | 7.57 | 9.88
16-17Hr | 0.09 | 194.12 | 0.02 | 95.69 | 0.7 | 0.16 | 0.01 | 0.01 | 21.54 | NA | 3.29 | 9.11 | 0.02 | 0 | 887.28 | NA | 2.53 | 0.06 | 0.01 | 9.6 | 0
17-18Hr | 0.1 | 161.91 | 0.02 | 98.23 | 1.42 | 0.05 | 0.01 | 0.01 | 20.7 | NA | 3.06 | 9.08 | 0.02 | 0 | 887.53 | NA | 2.53 | 0.06 | 0.01 | 13.69 | 0
18-19Hr | 0.15 | 204.89 | 0.02 | 97.1 | 1.02 | 0.39 | 0.01 | 0.01 | 20.59 | NA | 3.35 | 8.97 | 0.02 | 0 | 888.11 | NA | 2.46 | 0.06 | 0.01 | 16.43 | 0
19-20Hr | 0.27 | 167.7 | 0.02 | 92.74 | 1.02 | 0 | 0.01 | 0.01 | 20.93 | NA | 3.15 | 9.01 | 0.02 | 0 | 888.59 | NA | 2.68 | 0.06 | 0.01 | 9.74 | 0
20-21Hr | 0.04 | 186.69 | 0.02 | 91.72 | 0.94 | 0.05 | 0.01 | 0.01 | 20.93 | NA | 2.99 | 9.11 | 0.02 | 0 | 888.69 | NA | 2.43 | 0.06 | 0.01 | 10.76 | 0
21-22Hr | 0.11 | 187.85 | 0.02 | 92.37 | 0.94 | 0 | 0.01 | 0.01 | 20.85 | NA | 2.92 | 8.97 | 0.02 | 0 | 888.4 | NA | 2.51 | 0.06 | 0.01 | 12.73 | 0
22-23Hr | 0.06 | 187.98 | 0.02 | 92.86 | 1.18 | 0.03 | 0.01 | 0.01 | 20.64 | NA | 3.04 | 8.9 | 0.02 | 0 | 888.17 | NA | 2.58 | 0.06 | 0.01 | 12.55 | 0
23-00Hr | 0.11 | 181.17 | 0.02 | 92.02 | 1.34 | 0.13 | 0.01 | 0.01 | 20.59 | NA | 3.38 | 8.87 | 0.02 | 0 | 887.69 | NA | 2.81 | 0.06 | 0.01 | 16.28 | 0
00-01Hr | 0.08 | 176.66 | 0.02 | 92.99 | 1.18 | 0.03 | 0.01 | 0.01 | 20.42 | NA | 2.9 | 8.94 | 0.02 | 0 | 887.47 | NA | 2.6 | 0.06 | 0.01 | 13.25 | 0
01-02Hr | 0.16 | 188.8 | 0.02 | 95.26 | 1.18 | 0.18 | 0.01 | 0.01 | 20.24 | NA | 3.17 | 8.8 | 0.02 | 0 | 887.12 | NA | 2.56 | 0.06 | 0.01 | 17.1 | 0
02-03Hr | 0.06 | 184.06 | 0.02 | 95 | 1.02 | 0.38 | 0.01 | 0.01 | 20.36 | NA | 3.62 | 8.9 | 0.02 | 0 | 887.04 | NA | 2.61 | 0.06 | 0.01 | 14.08 | 0
03-04Hr | 0.13 | 183.76 | 0.02 | 96.06 | 0.94 | 0.03 | 0.01 | 0.01 | 20.33 | NA | 2.97 | 8.8 | 0.02 | 0 | 887.41 | NA | 2.59 | 0.06 | 0.01 | 17.45 | 0
04-05Hr | 0.08 | 188.75 | 0.02 | 97.75 | 0.94 | 0.15 | 0.01 | 0.01 | 20.18 | NA | 3.33 | 8.72 | 0.02 | 0 | 887.92 | NA | 2.51 | 0.06 | 0.01 | 17.79 | 3.24
05-06Hr | 0.16 | 160.37 | 0.02 | 88.3 | 1.26 | 0.13 | 0.01 | 0.01 | 23.14 | NA | 3.28 | 8.69 | 0.02 | 0 | 888.62 | NA | 2.63 | 0.06 | 0.01 | 11.93 | 69.4
06-07hr | 0.15 | 230.57 | 0.02 | 78.21 | 0.86 | 0.07 | 0.01 | 0.01 | 25.13 | NA | 3.18 | 8.58 | 0.02 | 0 | 889.29 | NA | 2.5 | 0.06 | 0.01 | 7.05 | 71.61
Avg | 0.11 | 173.56 | 0.02 | 87.59 | 0.91 | 0.14 | 0.01 | 0.01 | 23.1 | NA | 3.22 | 8.94 | 0.02 | 0 | 888.15 | NA | 2.57 | 0.06 | 0.01 | 11.1 | 35.23
Min | 0.04 | 87.39 | 0.02 | 70.32 | 0.35 | 0 | 0.01 | 0.01 | 20.18 | NA | 2.9 | 8.58 | 0.02 | 0 | 886.81 | NA | 2.43 | 0.06 | 0.01 | 4.11 | 0
Max | 0.27 | 230.57 | 0.02 | 98.23 | 1.5 | 0.39 | 0.01 | 0.01 | 29.01 | NA | 3.67 | 9.22 | 0.02 | 0 | 890.26 | NA | 2.81 | 0.06 | 0.01 | 17.79 | 152.78
Geom.Mean | 0.11 | 173.56 | 0.02 | 87.59 | 0.91 | 0.14 | 0.01 | 0.01 | 23.1 | NA | 3.22 | 8.94 | 0.02 | 0 | 888.15 | NA | 2.57 | 0.06 | 0.01 | 11.1 | 35.23
Median | 0.11 | 179.4 | 0.02 | 91.72 | 0.94 | 0.13 | 0.01 | 0.01 | 21.54 | NA | 3.22 | 8.97 | 0.02 | 0 | 887.92 | NA | 2.56 | 0.06 | 0.01 | 10.37 | 3.24
Mode | 0.11 | 145.19 | 0.02 | 70.32 | 0.94 | 0.03 | 0.01 | 0.01 | 20.93 | NA | 3.15 | 8.97 | 0.02 | 0 | 887.88 | NA | 2.51 | 0.06 | 0.01 | 4.11 | 0
Std.Deviation | 0.06 | 30.05 | 0 | 8.59 | 0.31 | 0.12 | 0 | 0 | 2.93 | NA | 0.2 | 0.16 | 0 | 0 | 1.01 | NA | 0.1 | 0 | 0 | 3.88 | 46.91
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0