## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 12 |  |  |  | Date : 12/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | Pump Issue | 0.2 | NA | 96.19 | 22.91 | 119.12 | Pump Issue | 3.11 | 2.55 | 0 | NA | 0 | 70.1 | 883.83 | 10.38 | NA | NA | NA | NA | NA | NA
07-08Hr |  | 0.16 | NA | 97.62 | 22.96 | 104.18 |  | 3.02 | 2.41 | 0 | NA | 0 | 65.52 | 883.89 | 21.43 | NA | NA | NA | NA | NA | NA
08-09Hr |  | 0.45 | NA | 87.23 | 25.68 | 114.48 |  | 3.31 | 2.28 | 0 | NA | 0 | 69.94 | 883.83 | 35.04 | NA | NA | NA | NA | NA | NA
09-10Hr |  | 0.17 | 8.58 | 87.28 | 25.85 | 113.94 |  | 3.1 | 2.44 | 0 | 0.06 | 0 | 57.73 | 883.79 | 28.54 | 104.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr |  | 0.24 | 6.7 | 87.92 | 25.67 | 115.36 |  | 3.39 | 2.51 | 0 | 0.06 | 0 | 60.03 | 883.52 | 31.78 | 7.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr |  | 0.28 | 6.86 | 91.82 | 24.63 | 96.17 |  | 3.5 | 2.69 | 0 | 0.06 | 0.03 | 57.76 | 883.08 | 10.04 | 5.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr |  | 0.06 | 7.24 | 98.01 | 23.67 | 157.55 |  | 3.08 | 2.72 | 0 | 0.06 | 0.01 | 21.55 | 882.8 | 9.8 | 4.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr |  | 0.12 | 7.34 | 98.22 | 23.74 | 219.14 |  | 3.23 | 2.52 | 0 | 0.06 | 0 | 24.22 | 882.17 | 5.18 | 10.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr |  | NA | NA | NA | NA | NA |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15-16Hr |  | 0.54 | 6.86 | 99.48 | 23.01 | 169.14 |  | 3.24 | 2.33 | 0 | 0.06 | 0.01 | 39.76 | 881.64 | 0.93 | 5.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr |  | 0.1 | 7.27 | 99.5 | 22.87 | 167.4 |  | 3.08 | 2.52 | 0 | 0.06 | 0.01 | 50.42 | 881.92 | 0 | 1.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr |  | 0.14 | 7.52 | 99.5 | 22.42 | 134.06 |  | 2.95 | 2.26 | 0 | 0.06 | 0.01 | 66.21 | 882.55 | 0 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr |  | 0.24 | 7.69 | 99.5 | 22.26 | 134.21 |  | 3.35 | 2.63 | 0 | 0.06 | 0 | 72.42 | 883.3 | 0 | 1.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr |  | 0.12 | 7.69 | 99.5 | 22.3 | 139.46 |  | 3.31 | 2.59 | 0 | 0.06 | 0 | 64.94 | 884.06 | 0 | 1.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr |  | 0.21 | 7.69 | 99.5 | 22.34 | 141.18 |  | 3.6 | 2.77 | 0 | 0.06 | 0 | 68.94 | 884.47 | 0 | 1.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr |  | 0.12 | 7.69 | 99.5 | 22.35 | 146.15 |  | 3.37 | 2.79 | 0 | 0.06 | 0 | 55.74 | 884.33 | 0 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr |  | 0.23 | 7.64 | 99.5 | 22.29 | 129.94 |  | 3.04 | 2.39 | 0 | 0.06 | 0 | 58.15 | 884.03 | 0 | 1.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr |  | 0.36 | 7.68 | 99.5 | 22.18 | 135.55 |  | 3.29 | 2.41 | 0 | 0.06 | 0 | 42.53 | 883.61 | 0 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr |  | 0.21 | 7.72 | 99.5 | 22.18 | 120.47 |  | 3.13 | 2.33 | 0 | 0.06 | 0 | 56.71 | 883.34 | 0 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr |  | 0.18 | 7.68 | 99.5 | 22.14 | 116.67 |  | 2.97 | 2.31 | 0 | 0.06 | 0.03 | 59.87 | 883.27 | 0 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr |  | 0.13 | 7.76 | 99.5 | 21.4 | 132.04 |  | 3.22 | 2.6 | 0 | 0.06 | 0.59 | 61.65 | 883.52 | 0 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr |  | 0.18 | 7.61 | 99.5 | 21.22 | 96.82 |  | 3.38 | 2.63 | 0 | 0.06 | 0.25 | 45.89 | 883.94 | 0 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr |  | 0.1 | 7.48 | 99.5 | 21.41 | 119.28 |  | 2.99 | 2.56 | 0 | 0.06 | 0.03 | 47.13 | 884.35 | 2 | 2.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr |  | 0.28 | 7.4 | 99.5 | 21.48 | 125.25 |  | 3.31 | 2.53 | 0 | 0.06 | 0 | 45.77 | 884.84 | 7.92 | 2.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr |  | 0.38 | 7.39 | 99.5 | 21.99 | 109.4 |  | 3.72 | 2.59 | 0 | 0.06 | 0 | 57.93 | 885.39 | 31.21 | 1.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 39 | 0.22 | 7.5 | 97.34 | 22.87 | 131.54 | 0 | 3.24 | 2.52 | 0 | 0.06 | 0.04 | 55.04 | 883.56 | 8.09 | 7.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 39 | 0.06 | 6.7 | 87.23 | 21.22 | 96.17 | 0 | 2.95 | 2.26 | 0 | 0.06 | 0 | 21.55 | 881.64 | 0 | 1.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 39 | 0.54 | 8.58 | 99.5 | 25.85 | 219.14 | 0 | 3.72 | 2.79 | 0 | 0.06 | 0.59 | 72.42 | 885.39 | 35.04 | 104.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 39 | 0.22 | 7.5 | 97.34 | 22.87 | 131.54 | 0 | 3.24 | 2.52 | 0 | 0.06 | 0.04 | 55.04 | 883.56 | 8.09 | 7.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 39 | 0.19 | 7.61 | 99.5 | 22.34 | 127.59 | 0 | 3.24 | 2.52 | 0 | 0.06 | 0 | 57.84 | 883.7 | 0.47 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 39 | 0.12 | 7.69 | 99.5 | 22.18 | 129.94 | 0 | 3.31 | 2.41 | 0 | 0.06 | 0 | 21.55 | 883.52 | 0 | 1.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 0 | 0.12 | 0.4 | 4.17 | 1.35 | 26.94 | 0 | 0.2 | 0.15 | 0 | 0 | 0.13 | 13.38 | 0.89 | 12 | 22.27 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 1 | 24 | 21 | 24 | 24 | 24 | 4 | 24 | 24 | 24 | 21 | 24 | 24 | 24 | 24 | 21 | 21 | 21 | 21 | 21 | 21
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 4 | 96 | 84 | 96 | 96 | 96 | 16 | 96 | 96 | 96 | 84 | 96 | 96 | 96 | 96 | 84 | 84 | 84 | 84 | 84 | 84
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0