## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 28 |  |  |  | Date : 28/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 28/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | No Data : Power Issue
07-08Hr
08-09Hr
09-10Hr | 3 | 0.16 | 6.27 | 99.27 | 22.78 | 137.4 | 0 | 3.25 | 2.53 | 0 | 0.06 | 0 | 63.5 | 881.48 | 50.75 | 10.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 3.93 | 0.11 | 6.29 | 97.3 | 23.32 | 121.49 | 1.67 | 3.12 | 2.56 | 0 | 0.06 | 0.01 | 49.09 | 881.1 | 72.71 | 2.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 3.07 | 0.18 | 6.33 | 87.55 | 26.03 | 116.44 | 0.33 | 3.23 | 2.55 | 0 | 0.06 | 0 | 49.49 | 880.51 | 91.62 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 18.87 | 0.18 | 6.36 | 90.18 | 25.42 | 117.92 | 0 | 3.2 | 2.52 | 0 | 0.06 | 0 | 48.38 | 880 | 42.92 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 20.93 | 0.24 | 6.41 | 92.88 | 24.28 | 111.41 | 0 | 3.22 | 2.53 | 0 | 0.06 | 0 | 53.82 | 879.55 | 30.82 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 21 | 0.21 | 6.47 | 89.01 | 24.42 | 107.39 | 0 | 3.24 | 2.53 | 0 | 0.06 | 0 | 63.24 | 879.23 | 27.48 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 16.33 | 0.12 | 6.4 | 92.54 | 23.45 | 108.71 | 0 | 3.18 | 2.52 | 0 | 0.06 | 0 | 58.06 | 879.08 | 12.23 | 3.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 10.4 | 0.17 | 6.38 | 93.36 | 22.83 | 107.66 | 0 | 3.28 | 2.58 | 0 | 0.06 | 0 | 62.76 | 879.23 | 2.17 | 3.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 14.67 | 0.09 | 6.43 | 94.96 | 22.38 | 112.57 | 0 | 3.01 | 2.48 | 0 | 0.06 | 0 | 63.74 | 880.06 | 0 | 2.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 17.8 | 0.09 | 6.36 | 95.95 | 22.16 | 106.52 | 0 | 3.17 | 2.63 | 0 | 0.06 | 0 | 61.4 | 880.91 | 0 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 17.07 | 0.15 | 6.31 | 97.27 | 22.13 | 110.59 | 0 | 3.2 | 2.57 | 0 | 0.06 | 0 | 60.65 | 881.74 | 0 | 2.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 11.4 | 0.19 | 6.36 | 97.29 | 21.97 | 112.75 | 0 | 3.16 | 2.46 | 0 | 0.06 | 0 | 59.37 | 881.98 | 0 | 2.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 9.13 | 0.13 | 6.32 | 96.94 | 21.92 | 106.92 | 0 | 3.23 | 2.57 | 0 | 0.06 | 0 | 56.01 | 882.23 | 0 | 2.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 7.13 | 0.2 | 6.31 | 97.69 | 21.83 | 107.89 | 0 | 3.44 | 2.67 | 0 | 0.06 | 0 | 55.5 | 882.01 | 0 | 2.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 10.79 | 0.15 | 6.37 | 98.26 | 21.61 | 102.39 | 0 | 3.13 | 2.51 | 0 | 0.06 | 0 | 54.56 | 881.28 | 0 | 2.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 7.21 | 0.27 | 6.32 | 99.23 | 21.4 | 105.91 | 0 | 3.35 | 2.57 | 0 | 0.06 | 0 | 55.58 | 880.58 | 0 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 2.26 | 0.2 | 6.32 | 99.34 | 21.31 | 112.83 | 0.03 | 3.33 | 2.57 | 0 | 0.06 | 0 | 53.62 | 880.25 | 0 | 2.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 2.95 | 0.22 | 6.33 | 98.83 | 21.27 | 114.83 | 0 | 3.36 | 2.59 | 0 | 0.06 | 0 | 49.76 | 880.08 | 0 | 2.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 1.1 | 0.22 | 6.32 | 98.71 | 21.14 | 107.61 | 0 | 3.27 | 2.55 | 0 | 0.06 | 0 | 50.02 | 880.23 | 0 | 2.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 2.9 | 0.19 | 6.3 | 95.16 | 22.23 | 111.46 | 0 | 3.26 | 2.57 | 0 | 0.06 | 0 | 56.73 | 880.51 | 29.81 | 2.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 3 | 0.19 | 6.29 | 93.21 | 22.81 | 111.71 | 0 | 3.34 | 2.66 | 0 | 0.06 | 0 | 60.26 | 881.09 | 44.1 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 4.84 | 0.19 | 6.3 | 86.78 | 24.74 | 117 | 0 | 3.27 | 2.55 | 0 | 0.06 | 0 | 68.66 | 881.6 | 99.18 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 9.54 | 0.18 | 6.34 | 95.08 | 22.79 | 112.25 | 0.09 | 3.24 | 2.56 | 0 | 0.06 | 0 | 57.01 | 880.67 | 22.9 | 2.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1.1 | 0.09 | 6.27 | 86.78 | 21.14 | 102.39 | 0 | 3.01 | 2.46 | 0 | 0.06 | 0 | 48.38 | 879.08 | 0 | 2.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 21 | 0.27 | 6.47 | 99.34 | 26.03 | 137.4 | 1.67 | 3.44 | 2.67 | 0 | 0.06 | 0.01 | 68.66 | 882.23 | 99.18 | 10.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 9.54 | 0.17 | 6.34 | 95.08 | 22.79 | 112.25 | 0.09 | 3.24 | 2.56 | 0 | 0.06 | 0 | 57.01 | 880.67 | 22.9 | 2.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 8.17 | 0.18 | 6.33 | 96.44 | 22.3 | 111.44 | 0 | 3.24 | 2.55 | 0 | 0.06 | 0 | 56.37 | 880.55 | 1.08 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 3 | 0.19 | 6.32 | 95.16 | 21.92 | 137.4 | 0 | 3.2 | 2.57 | 0 | 0.06 | 0 | 56.73 | 880.51 | 0 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 6.74 | 0.05 | 0.05 | 3.9 | 1.4 | 7.23 | 0.36 | 0.09 | 0.05 | 0 | 0 | 0 | 5.66 | 0.95 | 31.69 | 1.79 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0