## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 6 |  |  |  | Date : 06/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 06/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 34.02 | 0.18 | 4.41 | 82.1 | 25.21 | 176.98 | 3 | 3.28 | 2.56 | 2.38 | 0.06 | 0 | 6.62 | 887.15 | 68.55 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 41.86 | 0.17 | 4.47 | 84.06 | 24.65 | 211.71 | 3.98 | 3.26 | 2.58 | 2.28 | 0.06 | 0 | 8.12 | 887.54 | 55.12 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 51 | 0.28 | 4.44 | 79.02 | 26.25 | 165.43 | 5 | 3.4 | 2.51 | 2.57 | 0.06 | 0 | 7.49 | 887.63 | 110.16 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 63.78 | 0.21 | 4.46 | 68.83 | 29.2 | 190.08 | 5.98 | 3.36 | 2.62 | 2.79 | 0.06 | 0 | 7.19 | 887.23 | 193.21 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 54 | 0.18 | 4.48 | 66.93 | 29.59 | 165.22 | 8 | 3.18 | 2.49 | 3.34 | 0.06 | 0 | 9.48 | 886.67 | 149.64 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 54 | 0.12 | 4.55 | 71.46 | 28.6 | 162.79 | 10 | 3.19 | 2.59 | 3.37 | 0.06 | 0 | 8.34 | 885.93 | 95.86 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 58 | 0.19 | 4.55 | 77.81 | 27.35 | 170.71 | 6 | 3.1 | 2.43 | 5.86 | 0.06 | 0.05 | 6.11 | 885.32 | 86.22 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 41.3 | 0.14 | 4.58 | 97.24 | 22.33 | 222.22 | 6 | 3.18 | 2.52 | 4.68 | 0.06 | 0.7 | 9.57 | 884.77 | 28.94 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 11 | 0.14 | 4.55 | 98.12 | 22.8 | 213.49 | 4 | 3.22 | 2.58 | 5.09 | 0.06 | 0 | 7.08 | 884.53 | 34.98 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 22 | 0.19 | 4.55 | 93.79 | 23.88 | 165.42 | 2 | 3.26 | 2.53 | 4.83 | 0.06 | 0 | 9.02 | 884.67 | 41.18 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 39.03 | 0.21 | 4.55 | 93.94 | 23.37 | 198.97 | 8.88 | 3.27 | 2.6 | 4.56 | 0.06 | 0 | 8.36 | 884.86 | 13.96 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 34.1 | 0.22 | 4.55 | 98.65 | 21.86 | 164.73 | 6.05 | 3.26 | 2.53 | 3.5 | 0.06 | 0 | 5.59 | 885.19 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 37 | 0.21 | 4.55 | 98.03 | 21.59 | 178.99 | 5 | 3.18 | 2.48 | 3.52 | 0.06 | 0 | 7.31 | 885.65 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 31.1 | 0.19 | 4.52 | 94.27 | 21.93 | 192.43 | 5 | 3.12 | 2.45 | 2.04 | 0.06 | 0 | 6.22 | 886.56 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 34.93 | 0.22 | 4.54 | 92.81 | 22.1 | 188.98 | 4.02 | 3.29 | 2.55 | 1.98 | 0.06 | 0 | 7.98 | 886.82 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 30 | 0.12 | 4.54 | 95.89 | 21.88 | 193.41 | 4 | 3.17 | 2.57 | 1.83 | 0.06 | 0 | 8.12 | 886.96 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 32.95 | 0.27 | 4.41 | 97.29 | 21.77 | 183.31 | 3.02 | 3.47 | 2.58 | 1.73 | 0.06 | 0 | 7.37 | 886.41 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 28.08 | 0.09 | 4.4 | 98.53 | 21.53 | 182.09 | 3 | 3.13 | 2.49 | 1.54 | 0.06 | 0 | 6.93 | 885.97 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 24.07 | 0.19 | 4.4 | 99.2 | 21.27 | 206.46 | 3.98 | 3.24 | 2.55 | 1.46 | 0.06 | 0 | 12.49 | 885.58 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 23 | 0.23 | 4.39 | 99.5 | 21.27 | 185.81 | 2 | 3.18 | 2.4 | 1.38 | 0.06 | 0 | 5.18 | 885.39 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 22.02 | 0.16 | 4.38 | 99.5 | 21.15 | 210.69 | 0.03 | 2.99 | 2.36 | 3.01 | 0.06 | 0 | 6.49 | 885.36 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 29.86 | 0.2 | 4.39 | 99.11 | 21.27 | 207.85 | 0.98 | 3.26 | 2.49 | 2.25 | 0.06 | 0 | 8.67 | 885.67 | 0.18 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 32 | 0.14 | 4.31 | 95.65 | 21.83 | 194.07 | 3 | 3.11 | 2.42 | 1.75 | 0.06 | 0 | 11.41 | 886.2 | 10.78 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 33.97 | 0.21 | 4.3 | 91.98 | 22.95 | 220.85 | 0.05 | 3.23 | 2.48 | 1.87 | 0.06 | 0 | 15.83 | 886.55 | 36.23 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 37 | 0.18 | 4.3 | 86.09 | 24.97 | 175.36 | 3 | 3.15 | 2.46 | 2.19 | 0.06 | 0 | 6.7 | 887.08 | 81.76 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 36 | 0.19 | 4.46 | 90.39 | 23.62 | 189.12 | 4.24 | 3.22 | 2.51 | 2.87 | 0.06 | 0.03 | 8.15 | 886.07 | 40.27 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 11 | 0.09 | 4.3 | 66.93 | 21.15 | 162.79 | 0.03 | 2.99 | 2.36 | 1.38 | 0.06 | 0 | 5.18 | 884.53 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 63.78 | 0.28 | 4.58 | 99.5 | 29.59 | 222.22 | 10 | 3.47 | 2.62 | 5.86 | 0.06 | 0.7 | 15.83 | 887.63 | 193.21 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 36 | 0.19 | 4.46 | 90.39 | 23.62 | 189.12 | 4.24 | 3.22 | 2.51 | 2.87 | 0.06 | 0.03 | 8.15 | 886.07 | 40.27 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 34.02 | 0.19 | 4.47 | 94.27 | 22.33 | 188.98 | 4 | 3.22 | 2.52 | 2.38 | 0.06 | 0 | 7.49 | 885.97 | 13.96 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 37 | 0.21 | 4.55 | 99.5 | 21.27 | 162.79 | 3 | 3.26 | 2.49 | 1.98 | 0.06 | 0 | 8.12 | 884.86 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 12.46 | 0.04 | 0.09 | 10.33 | 2.66 | 18.63 | 2.47 | 0.1 | 0.07 | 1.27 | 0 | 0.14 | 2.32 | 0.93 | 53.13 | 0 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0