## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 4 |  |  |  | Date : 04/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 04/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | No Data : Power Issue
07-08Hr
08-09Hr
09-10Hr
10-11Hr | 23 | 0.17 | 3.38 | 92.43 | 21.18 | 153.65 | 13 | 3.48 | 2.68 | 17.08 | 0.06 | 0.38 | 21.76 | 886.13 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 0.38 | 0.13 | 3.47 | 97.84 | 20.04 | 228.65 | 4.15 | 3.11 | 2.48 | 14.09 | 0.06 | 0.34 | 19.8 | 885.73 | 16.53 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 3.93 | 0.17 | 3.56 | 98.9 | 20.43 | 157.91 | 0.07 | 3.1 | 2.51 | 10.41 | 0.06 | 0 | 19.95 | 884.93 | 37.14 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 6.95 | 0.21 | 3.67 | 98.59 | 20.76 | 172.71 | 2.95 | 3.42 | 2.64 | 6.23 | 0.06 | 0 | 6.08 | 884.3 | 30.7 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 6.02 | 0.22 | 3.75 | 95.12 | 21.24 | 185.93 | 1.03 | 3.25 | 2.53 | 4.6 | 0.06 | 0.01 | 6.6 | 884.38 | 38.46 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 14.85 | 0.22 | 3.92 | 87.34 | 22.31 | 168.34 | 0.02 | 3.31 | 2.57 | 3.95 | 0.06 | 0 | 11.22 | 884.27 | 58.49 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 16.97 | 0.2 | 4 | 93.48 | 21.11 | 168.97 | 0 | 3.17 | 2.51 | 3.37 | 0.06 | 0 | 7.08 | 884.47 | 4.41 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 12.08 | 0.14 | 4 | 93.91 | 20.65 | 195.69 | 0 | 3.28 | 2.59 | 3.17 | 0.06 | 0 | 5.94 | 884.75 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 11.02 | 0.16 | 4 | 94.27 | 20.67 | 189.47 | 0 | 3.26 | 2.55 | 4.97 | 0.06 | 0 | 7.71 | 885.26 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 9.03 | 0.13 | 4 | 92.18 | 20.84 | 228.89 | 0 | 3.33 | 2.66 | 2.45 | 0.06 | 0 | 5.85 | 885.55 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 7.03 | 0.12 | 4 | 91.92 | 20.89 | 220.96 | 0 | 3.13 | 2.46 | 2.13 | 0.06 | 0 | 5.4 | 885.81 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 5.03 | 0.19 | 4.02 | 91.1 | 21.04 | 181.07 | 1.97 | 3.19 | 2.52 | 1.68 | 0.06 | 0 | 5.22 | 885.93 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 9.92 | 0.1 | 4 | 89.92 | 21.05 | 185.23 | 2 | 3.18 | 2.61 | 1.39 | 0.06 | 0 | 5.56 | 885.96 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 9.02 | 0.19 | 4.03 | 91.47 | 20.92 | 171.84 | 1.02 | 3.47 | 2.63 | 1.32 | 0.06 | 0 | 7.55 | 886.02 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 4 | 0.14 | 4.05 | 93.16 | 20.67 | 173.11 | 0 | 3.39 | 2.71 | 1.21 | 0.06 | 0 | 4.6 | 885.77 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 1.05 | 0.15 | 4.05 | 94.9 | 20.5 | 203.22 | 0 | 3.27 | 2.55 | 1.06 | 0.06 | 0 | 5.94 | 885.68 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 2.97 | 0.19 | 4.03 | 96.33 | 20.1 | 185.05 | 0 | 3.36 | 2.61 | 5.46 | 0.06 | 0 | 5.3 | 885.49 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 5.95 | 0.13 | 4.03 | 95.17 | 20.01 | 200.89 | 0 | 3.14 | 2.59 | 6.65 | 0.06 | 0 | 8.14 | 885.4 | 0.87 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 5.02 | 0.15 | 4.03 | 92.11 | 20.62 | 189.35 | 0 | 3.25 | 2.58 | 2.77 | 0.06 | 0 | 5.34 | 885.84 | 27.73 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 3.03 | 0.16 | 4.02 | 83.56 | 23.06 | 205.97 | 0 | 3.39 | 2.64 | 2.25 | 0.06 | 0 | 5.64 | 886.61 | 87.89 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 8 | 0.17 | 4.02 | 78.65 | 24.59 | 185.88 | 0 | 3.17 | 2.48 | 2.44 | 0.06 | 0 | 5.7 | 887.01 | 121.81 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 7.87 | 0.16 | 3.91 | 92.49 | 21.08 | 188.23 | 1.25 | 3.27 | 2.58 | 4.7 | 0.06 | 0.03 | 8.4 | 885.49 | 20.19 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0.38 | 0.1 | 3.38 | 78.65 | 20.01 | 153.65 | 0 | 3.1 | 2.46 | 1.06 | 0.06 | 0 | 4.6 | 884.27 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 23 | 0.22 | 4.05 | 98.9 | 24.59 | 228.89 | 13 | 3.48 | 2.71 | 17.08 | 0.06 | 0.38 | 21.76 | 887.01 | 121.81 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 7.87 | 0.16 | 3.91 | 92.49 | 21.08 | 188.23 | 1.25 | 3.27 | 2.58 | 4.7 | 0.06 | 0.03 | 8.4 | 885.49 | 20.19 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6.95 | 0.16 | 4 | 93.16 | 20.84 | 185.88 | 0 | 3.26 | 2.58 | 3.17 | 0.06 | 0 | 5.94 | 885.68 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 0.38 | 0.17 | 4 | 91.92 | 20.67 | 153.65 | 0 | 3.25 | 2.48 | 1.68 | 0.06 | 0 | 5.94 | 884.27 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.48 | 0.03 | 0.21 | 4.78 | 1.07 | 21 | 2.93 | 0.12 | 0.07 | 4.3 | 0 | 0.11 | 5.27 | 0.75 | 33.38 | 0.14 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0