## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 16 |  |  |  | Date : 16/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 16/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 8 | 0.23 | 4.59 | 88.11 | 25.34 | 207.9 | 0 | 3.24 | 2.5 | 1.74 | 0.06 | 0 | 4.9 | 882.47 | 62.69 | 1.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 15 | 0.18 | 4.64 | 85.98 | 25.87 | 203.44 | 0 | 3.22 | 2.52 | 2.19 | 0.06 | 0 | 7.56 | 882.65 | 108.7 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 13 | 0.21 | 4.73 | 84.51 | 25.81 | 178.12 | 0 | 3.24 | 2.57 | 2.42 | 0.06 | 0.03 | 9.2 | 882.62 | 81.55 | 1.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 14 | 0.19 | 4.76 | 89.68 | 24.9 | 165.86 | 0 | 3.13 | 2.46 | 1.86 | 0.06 | 0.01 | 9.4 | 882.31 | 114.16 | 1.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 8 | 0.25 | 4.86 | 79.63 | 27.96 | 190.51 | 0 | 3.4 | 2.57 | 2.2 | 0.06 | 0 | 5.42 | 881.79 | 130.35 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 21 | 0.2 | 4.87 | 76.3 | 29.3 | 185.07 | 0 | 3.13 | 2.48 | 2.38 | 0.06 | 0 | 5.34 | 881.12 | 130.68 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 24 | 0.18 | 4.87 | 79.56 | 28.26 | 193.52 | 0 | 3.24 | 2.55 | 2 | 0.06 | 0.04 | 5.24 | 880.39 | 72.48 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 10 | 0.23 | 4.88 | 96.82 | 24.56 | 206.6 | 0 | 3.3 | 2.46 | 2.93 | 0.06 | 0.02 | 11.23 | 880.13 | 23.54 | 1.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 6 | 0.13 | 4.87 | 99.19 | 23.22 | 211.33 | 0.97 | 3.14 | 2.54 | 2.66 | 0.06 | 0 | 6.37 | 880.18 | 2.51 | 1.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 2 | 0.16 | 4.87 | 99.5 | 22.65 | 184.77 | 0.03 | 3.12 | 2.5 | 3.06 | 0.06 | 0 | 6.3 | 880.37 | 0.04 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 6 | 0.14 | 4.86 | 99.5 | 22.03 | 224.39 | 0 | 3.2 | 2.53 | 2.93 | 0.06 | 0 | 6.23 | 880.47 | 0 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 4 | 0.11 | 4.86 | 99.5 | 21.65 | 200.14 | 0 | 3.23 | 2.6 | 2.55 | 0.06 | 0 | 6.12 | 880.99 | 0 | 3.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 1 | 0.17 | 4.85 | 99.5 | 21.5 | 199.03 | 0.97 | 3.22 | 2.6 | 1.79 | 0.06 | 0 | 6.12 | 881.7 | 0 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 2 | 0.18 | 4.84 | 99.5 | 21.49 | 179.8 | 0.03 | 3.22 | 2.51 | 1.4 | 0.06 | 0 | 7.26 | 882.04 | 0 | 3.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 2 | 0.2 | 4.74 | 98.19 | 21.77 | 199.76 | 0 | 3.17 | 2.49 | 1.4 | 0.06 | 0 | 18.29 | 882.53 | 0 | 4.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 5 | 0.26 | 4.75 | 95.33 | 21.9 | 205.07 | 0 | 3.2 | 2.45 | 0.98 | 0.06 | 0 | 6.61 | 882.55 | 0 | 3.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 6 | 0.17 | 4.7 | 92.62 | 22.1 | 226.81 | 0 | 3.28 | 2.55 | 0.75 | 0.06 | 0 | 6 | 882.5 | 0 | 2.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 5 | 0.2 | 4.72 | 92.83 | 22.12 | 229.12 | 0 | 3.28 | 2.57 | 0.58 | 0.06 | 0 | 6.9 | 882.15 | 0 | 3.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 4 | 0.16 | 4.63 | 92.93 | 22.06 | 237.91 | 0 | 3.08 | 2.42 | 1.78 | 0.06 | 0 | 6.21 | 881.62 | 0 | 3.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 6 | 0.19 | 4.67 | 94.25 | 21.77 | 231.1 | 0 | 3.32 | 2.56 | 2.01 | 0.06 | 0 | 6.16 | 881.38 | 0 | 2.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 4 | 0.19 | 4.69 | 95.87 | 21.51 | 231.98 | 0 | 3.38 | 2.64 | 0.66 | 0.06 | 0 | 5.92 | 881.54 | 0 | 3.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 5 | 0.16 | 4.71 | 96.7 | 21.39 | 232.15 | 0.03 | 3.3 | 2.56 | 0.34 | 0.06 | 0 | 5.8 | 881.45 | 0 | 3.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 6 | 0.12 | 4.72 | 95.86 | 21.69 | 222.89 | 0.03 | 3.25 | 2.63 | 0.6 | 0.06 | 0 | 10.37 | 881.71 | 22.78 | 3.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 4 | 0.26 | 4.65 | 92.1 | 22.7 | 221.2 | 0 | 3.12 | 2.39 | 3.66 | 0.06 | 0 | 8.08 | 882.23 | 51.47 | 3.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 12 | 0.21 | 4.64 | 87.17 | 24.18 | 209.65 | 0 | 3.38 | 2.66 | 0.89 | 0.06 | 0 | 6.27 | 882.64 | 84.74 | 2.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 7.72 | 0.19 | 4.76 | 92.45 | 23.51 | 207.12 | 0.08 | 3.23 | 2.53 | 1.83 | 0.06 | 0 | 7.33 | 881.66 | 35.43 | 2.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.11 | 4.59 | 76.3 | 21.39 | 165.86 | 0 | 3.08 | 2.39 | 0.34 | 0.06 | 0 | 4.9 | 880.13 | 0 | 1.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 24 | 0.26 | 4.88 | 99.5 | 29.3 | 237.91 | 0.97 | 3.4 | 2.66 | 3.66 | 0.06 | 0.04 | 18.29 | 882.65 | 130.68 | 4.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 7.72 | 0.19 | 4.76 | 92.45 | 23.51 | 207.12 | 0.08 | 3.23 | 2.53 | 1.83 | 0.06 | 0 | 7.33 | 881.66 | 35.43 | 2.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6 | 0.19 | 4.74 | 94.25 | 22.12 | 206.6 | 0 | 3.23 | 2.54 | 1.86 | 0.06 | 0 | 6.27 | 881.71 | 0.04 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 6 | 0.18 | 4.87 | 99.5 | 21.77 | 165.86 | 0 | 3.22 | 2.57 | 2.93 | 0.06 | 0 | 6.12 | 880.13 | 0 | 2.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.85 | 0.04 | 0.1 | 6.92 | 2.37 | 19.72 | 0.27 | 0.09 | 0.07 | 0.9 | 0 | 0.01 | 2.8 | 0.84 | 47.56 | 0.84 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0