## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 12 |  |  |  | Date : 12/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.16 | 203.63 | 0.02 | 86.81 | 1.74 | 0.05 | 0.01 | 0.01 | 23.42 | NA | 3.26 | 8.58 | 0.02 | 0 | 889.49 | NA | 2.66 | 0.06 | 0.01 | 10.38 | 21.44
07-08Hr | 0.15 | 193.85 | 0.02 | 86.22 | 1.18 | 0.13 | 0.01 | 0.01 | 23.86 | NA | 3.35 | 8.72 | 0.02 | 0 | 889.88 | NA | 2.56 | 0.06 | 0.01 | 15.09 | 20.41
08-09Hr | 0.1 | 165.58 | 0.02 | 80.57 | 1.02 | 0.18 | 0.01 | 0.01 | 25.49 | NA | 3.33 | 8.65 | 0.02 | 0 | 889.66 | NA | 2.58 | 0.06 | 0.01 | 13.5 | 104.48
09-10Hr | 0.09 | 170.35 | 0.02 | 78.07 | 0.94 | 0.08 | 0.01 | 0.01 | 26.58 | NA | 3.26 | 8.65 | 0.02 | 0 | 889.18 | NA | 2.53 | 0.06 | 0.01 | 11.49 | 91
10-11Hr | 0.1 | 183.11 | 0.02 | 74.69 | 1.02 | 0.28 | 0.01 | 0.01 | 27.94 | NA | 3.46 | 8.69 | 0.02 | 0 | 888.39 | NA | 2.65 | 0.06 | 0.01 | 10.8 | 151.56
11-12Hr | 0.13 | 182.39 | 0.02 | 74.38 | 1.42 | 0.31 | 0.01 | 0.01 | 27.51 | NA | 3.24 | 8.72 | 0.02 | 0 | 887.61 | NA | 2.48 | 0.06 | 0.01 | 12.99 | 92.02
12-13Hr | 0.09 | 189.97 | 0.02 | 77.33 | 1.1 | 0.23 | 0.01 | 0.01 | 26.9 | NA | 2.97 | 8.8 | 0.02 | 0 | 886.91 | NA | 2.35 | 0.06 | 0.01 | 11.92 | 58.13
13-14Hr | 0.11 | 197.93 | 0.02 | 84.78 | 0.7 | 0.1 | 0.01 | 0.01 | 25.61 | NA | 3.38 | 8.9 | 0.02 | 0 | 886.5 | NA | 2.7 | 0.06 | 0.01 | 10.86 | 68.76
14-15Hr | 0.12 | 144.66 | 0.02 | 80.73 | 0.54 | 0.34 | 0.01 | 0.01 | 26.81 | NA | 3.37 | 9.01 | 0.02 | 0 | 886.51 | NA | 2.53 | 0.06 | 0.01 | 11.45 | 45.86
15-16Hr | 0.18 | 183.76 | 0.02 | 93.5 | 0.54 | 0.15 | 0.01 | 0.01 | 23.29 | NA | 3.42 | 9.04 | 0.02 | 0 | 886.63 | NA | 2.7 | 0.06 | 0.01 | 11.12 | 0
16-17Hr | 0.15 | 172.15 | 0.02 | 96.54 | 0.29 | 0.1 | 0.01 | 0.01 | 22.35 | NA | 3.31 | 9.04 | 0.02 | 0 | 886.94 | NA | 2.71 | 0.06 | 0.01 | 11.52 | 0
17-18Hr | 0.12 | 182.01 | 0.02 | 98.14 | 0.48 | 0.13 | 0.01 | 0.01 | 21.82 | NA | 3.29 | 9.01 | 0.02 | 0 | 887.5 | NA | 2.71 | 0.06 | 0.01 | 14.08 | 0
18-19Hr | 0.12 | 187.69 | 0.02 | 98.91 | 0.32 | 0.18 | 0.01 | 0.01 | 21.52 | NA | 3.4 | 8.8 | 0.02 | 0 | 888.15 | NA | 2.56 | 0.06 | 0.01 | 15.24 | 0
19-20Hr | 0.05 | 188.06 | 0.02 | 99.46 | 0.25 | 0.18 | 0.01 | 0.01 | 21.39 | NA | 3.16 | 8.83 | 0.02 | 0 | 888.4 | NA | 2.53 | 0.06 | 0.01 | 19.07 | 0
20-21Hr | 0.15 | 191.55 | 0.02 | 99.5 | 0.54 | 0.13 | 0.01 | 0.01 | 21.38 | NA | 3.49 | 8.9 | 0.02 | 0 | 888.58 | NA | 2.76 | 0.06 | 0.01 | 18.88 | 0
21-22Hr | 0.12 | 200.36 | 0.02 | 99.5 | 0.73 | 0.13 | 0.01 | 0.01 | 21.43 | NA | 3.22 | 8.94 | 0.02 | 0 | 888.57 | NA | 2.61 | 0.06 | 0.01 | 21.17 | 0
22-23Hr | 0.1 | 190.61 | 0.02 | 99.5 | 0.45 | 0.23 | 0.01 | 0.01 | 21.49 | NA | 3.33 | 8.87 | 0.02 | 0 | 888.47 | NA | 2.51 | 0.06 | 0.01 | 19.47 | 0
23-00Hr | 0.07 | 196.49 | 0.02 | 99.5 | 0.56 | 0.13 | 0.01 | 0.01 | 21.48 | NA | 3.24 | 8.83 | 0.02 | 0 | 888.22 | NA | 2.56 | 0.06 | 0.01 | 22.82 | 0
00-01Hr | 0.1 | 189.01 | 0.02 | 99.5 | 0.92 | 0.24 | 0.01 | 0.01 | 21.21 | NA | 3.45 | 8.75 | 0.02 | 0 | 887.95 | NA | 2.7 | 0.06 | 0.01 | 22.22 | 0
01-02Hr | 0.14 | 186.33 | 0.02 | 99.5 | 1.22 | 0.14 | 0.01 | 0.01 | 20.97 | NA | 3.08 | 8.8 | 0.02 | 0 | 887.74 | NA | 2.44 | 0.06 | 0.01 | 21.76 | 0
02-03Hr | 0.22 | 180.42 | 0.02 | 99.5 | 1.26 | 0.08 | 0.01 | 0.01 | 20.82 | NA | 3.13 | 8.87 | 0.02 | 0 | 887.8 | NA | 2.61 | 0.06 | 0.01 | 19.27 | 0
03-04Hr | 0.15 | 194.94 | 0.02 | 99.5 | 0.91 | 0.21 | 0.01 | 0.01 | 20.68 | NA | 3.15 | 8.65 | 0.02 | 0 | 888.04 | NA | 2.45 | 0.06 | 0.01 | 22.55 | 0
04-05Hr | 0.19 | 186.72 | 0.02 | 99.5 | 0.91 | 0.13 | 0.01 | 0.01 | 21.23 | NA | 3.26 | 8.76 | 0.02 | 0 | 888.36 | NA | 2.73 | 0.06 | 0.01 | 21.73 | 16.85
05-06Hr | 0.17 | 192.6 | 0.02 | 85.79 | 0.62 | 0.05 | 0.01 | 0.01 | 26.36 | NA | 3.33 | 8.76 | 0.02 | 0 | 889.01 | NA | 2.73 | 0.06 | 0.01 | 17.04 | 70.23
06-07hr | 0 | 145.27 | 0.02 | 76.93 | 0.86 | 0 | 0.01 | 0.01 | 27.66 | NA | 4.32 | 8.87 | 0.02 | 0 | 889.42 | NA | 3.62 | 0.06 | 0.01 | 9.12 | 92.06
Avg | 0.12 | 183.98 | 0.02 | 90.73 | 0.82 | 0.16 | 0.01 | 0.01 | 23.57 | NA | 3.33 | 8.82 | 0.02 | 0 | 888.16 | NA | 2.64 | 0.06 | 0.01 | 15.82 | 33.31
Min | 0 | 144.66 | 0.02 | 74.38 | 0.25 | 0 | 0.01 | 0.01 | 20.68 | NA | 2.97 | 8.58 | 0.02 | 0 | 886.5 | NA | 2.35 | 0.06 | 0.01 | 9.12 | 0
Max | 0.22 | 203.63 | 0.02 | 99.5 | 1.74 | 0.34 | 0.01 | 0.01 | 27.94 | NA | 4.32 | 9.04 | 0.02 | 0 | 889.88 | NA | 3.62 | 0.06 | 0.01 | 22.82 | 151.56
Geom.Mean | 0.12 | 183.98 | 0.02 | 90.73 | 0.82 | 0.16 | 0.01 | 0.01 | 23.57 | NA | 3.33 | 8.82 | 0.02 | 0 | 888.16 | NA | 2.64 | 0.06 | 0.01 | 15.82 | 33.31
Median | 0.12 | 187.69 | 0.02 | 96.54 | 0.86 | 0.13 | 0.01 | 0.01 | 22.35 | NA | 3.31 | 8.8 | 0.02 | 0 | 888.22 | NA | 2.61 | 0.06 | 0.01 | 15.09 | 0
Mode | 0.1 | 144.66 | 0.02 | 99.5 | 0.54 | 0.13 | 0.01 | 0.01 | 26.36 | NA | 3.26 | 8.65 | 0.02 | 0 | 888.04 | NA | 2.56 | 0.06 | 0.01 | 9.12 | 0
Std.Deviation | 0.05 | 14.76 | 0 | 9.76 | 0.37 | 0.08 | 0 | 0 | 2.61 | NA | 0.24 | 0.13 | 0 | 0 | 0.98 | NA | 0.23 | 0 | 0 | 4.64 | 44.57
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0