## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 27 |  |  |  | Date : 27/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 27/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 33.25 | 22.67 | 0.02 | 75.87 | 1.7 | 0.19 | 0.01 | 0.01 | 18.1 | 83.67 | 3.34 | 10.4 | 0.02 | 0 | 889.91 | 0 | 2.59 | 0.06 | 0.01 | 17.05 | 14.36
07-08Hr | 33.19 | 22.26 | 0.02 | 70.84 | 1.98 | 0.13 | 0.01 | 0.01 | 19.73 | 93.51 | 3.26 | 10.37 | 0.02 | 0 | 890.52 | 0 | 2.55 | 0.06 | 0.01 | 33.69 | 64.67
08-09Hr | 33.67 | 23.13 | 0.02 | 59.54 | 1.91 | 0.24 | 0.01 | 0.01 | 21.99 | 88.85 | 3.49 | 10.52 | 0.02 | 0 | 890.68 | 0 | 2.66 | 0.06 | 0.01 | 45.19 | 140.65
09-10Hr | 34.15 | 23.06 | 0.02 | 54.26 | 2.28 | 0.23 | 0.01 | 0.01 | 22.78 | 92.48 | 3.51 | 10.67 | 0.02 | 0 | 890.13 | 0 | 2.65 | 0.06 | 0.01 | 62.55 | 165.92
10-11Hr | 34.64 | 22.27 | 0.02 | 49.26 | 2.84 | 0.18 | 0.01 | 0.01 | 22.93 | 82.23 | 3.39 | 10.82 | 0.02 | 0 | 889.41 | 0 | 2.65 | 0.06 | 0.01 | 64.07 | 177.63
11-12Hr | 34.88 | 22.5 | 0.02 | 43.14 | 3.44 | 0.27 | 0.01 | 0.01 | 22.63 | 73.24 | 3.37 | 10.92 | 0.02 | 0 | 888.86 | 0 | 2.55 | 0.06 | 0.01 | 62.24 | 176.74
12-13Hr | 35.31 | 21.88 | 0.02 | 40.39 | 2.33 | 0.14 | 0.01 | 0.01 | 24.5 | 62.53 | 3.23 | 11.03 | 0.02 | 0 | 888.37 | 0.01 | 2.53 | 0.06 | 0.01 | 54.78 | 159.87
13-14Hr | 35.87 | 22.43 | 0.02 | 41.73 | 2.01 | 0.1 | 0.01 | 0.01 | 23.41 | 77.45 | 3.36 | 11.23 | 0.02 | 0 | 887.91 | 0 | 2.66 | 0.06 | 0.01 | 58.04 | 126.24
14-15Hr | 35.97 | 23.71 | 0.02 | 54.29 | 1.74 | 0.21 | 0.01 | 0.01 | 20.07 | 90.86 | 3.49 | 11.25 | 0.02 | 0 | 887.74 | 0.02 | 2.65 | 0.06 | 0.01 | 45.67 | 20.36
15-16Hr | 35.99 | 21.92 | 0.02 | 61.71 | 1.81 | 0.15 | 0.01 | 0.01 | 18.2 | 94.11 | 3.28 | 11.26 | 0.02 | 0 | 888.05 | 0 | 2.59 | 0.06 | 0.01 | 33.45 | 1.44
16-17Hr | 35.97 | 22.6 | 0.02 | 81.47 | 1.77 | 0.19 | 0.01 | 0.01 | 16.21 | 82.08 | 3.39 | 11.25 | 0.02 | 0 | 888.46 | 0.01 | 2.63 | 0.06 | 0.01 | 36.34 | 0
17-18Hr | 35.71 | 21.9 | 0.02 | 89.42 | 2.13 | 0.11 | 0.01 | 0.01 | 15.3 | 88.51 | 3.32 | 11.16 | 0.02 | 0 | 888.94 | 0 | 2.69 | 0.06 | 0.01 | 26.15 | 0
18-19Hr | 35.83 | 22.25 | 0.02 | 92.18 | 2.7 | 0.16 | 0.01 | 0.01 | 14.81 | 92.23 | 3.3 | 11.22 | 0.02 | 0 | 889.37 | 0 | 2.62 | 0.06 | 0.01 | 23.96 | 0
19-20Hr | 35.66 | 22.02 | 0.02 | 93.57 | 1.92 | 0.23 | 0.01 | 0.01 | 14.36 | 107.36 | 3.36 | 11.15 | 0.02 | 0 | 889.61 | 0 | 2.57 | 0.06 | 0.01 | 21.16 | 0
20-21Hr | 35.53 | 21.92 | 0.02 | 95.31 | 1.65 | 0.16 | 0.01 | 0.01 | 13.82 | 110.3 | 3.29 | 11.12 | 0.02 | 0 | 889.58 | 0 | 2.67 | 0.06 | 0.01 | 15.3 | 0
21-22Hr | 35.11 | 22.76 | 0.02 | 96.84 | 1.64 | 0.12 | 0.01 | 0.01 | 13.45 | 113.87 | 3.4 | 11.01 | 0.02 | 0 | 889.36 | 0 | 2.7 | 0.06 | 0.01 | 11.06 | 0
22-23Hr | 34.78 | 22.43 | 0.02 | 95.62 | 1.74 | 0.23 | 0.01 | 0.01 | 13.61 | 114.87 | 3.35 | 10.9 | 0.02 | 0 | 889.01 | 0 | 2.56 | 0.06 | 0.01 | 12.1 | 0
23-00Hr | 34.69 | 23.82 | 0.02 | 92.87 | 1.73 | 0.19 | 0.01 | 0.01 | 13.96 | 101.17 | 3.55 | 10.87 | 0.02 | 0 | 888.85 | 0.01 | 2.74 | 0.06 | 0.01 | 12.09 | 0
00-01Hr | 34.44 | 22.67 | 0.02 | 92.91 | 2.05 | 0.09 | 0.01 | 0.01 | 13.8 | 106.86 | 3.4 | 10.76 | 0.02 | 0 | 888.65 | 0 | 2.74 | 0.06 | 0.01 | 11.04 | 0
01-02Hr | 34.44 | 23.78 | 0.02 | 93.35 | 1.9 | 0.27 | 0.01 | 0.01 | 13.7 | 142.15 | 3.59 | 10.79 | 0.02 | 0 | 888.42 | 0 | 2.63 | 0.06 | 0.01 | 17 | 0
02-03Hr | 33.95 | 22.87 | 0.02 | 94.01 | 1.74 | 0.19 | 0.01 | 0.01 | 13.52 | 98.72 | 3.41 | 10.61 | 0.02 | 0 | 888.32 | 0 | 2.62 | 0.06 | 0.01 | 10.47 | 0
03-04Hr | 33.56 | 22.6 | 0.02 | 92.97 | 2.26 | 0.15 | 0.01 | 0.01 | 13.63 | 116.76 | 3.38 | 10.51 | 0.02 | 0 | 888.42 | 0.01 | 2.66 | 0.06 | 0.01 | 10.74 | 0
04-05Hr | 33.63 | 23.08 | 0.02 | 91.64 | 2.01 | 0.2 | 0.01 | 0.01 | 13.65 | 92.65 | 3.41 | 10.53 | 0.02 | 0 | 888.85 | 0 | 2.69 | 0.06 | 0.01 | 12.23 | 0
05-06Hr | 33.4 | 23.81 | 0.02 | 84.97 | 1.72 | 0.16 | 0.01 | 0.01 | 15.35 | 98.65 | 3.56 | 10.44 | 0.02 | 0 | 889.55 | 0 | 2.76 | 0.06 | 0.01 | 16.92 | 25.68
06-07hr | 33.26 | 23.85 | 0.02 | 71.01 | 1.51 | 0.22 | 0.01 | 0.01 | 19.7 | 91.84 | 3.44 | 10.41 | 0.02 | 0 | 890.33 | 0.01 | 2.64 | 0.06 | 0.01 | 28.01 | 7.91
Avg | 34.68 | 22.73 | 0.02 | 76.37 | 2.02 | 0.18 | 0.01 | 0.01 | 17.33 | 95.88 | 3.39 | 10.85 | 0.02 | 0 | 889.09 | 0 | 2.64 | 0.06 | 0.01 | 29.65 | 43.26
Min | 33.19 | 21.88 | 0.02 | 40.39 | 1.51 | 0.09 | 0.01 | 0.01 | 13.45 | 62.53 | 3.23 | 10.37 | 0.02 | 0 | 887.74 | 0 | 2.53 | 0.06 | 0.01 | 10.47 | 0
Max | 35.99 | 23.85 | 0.02 | 96.84 | 3.44 | 0.27 | 0.01 | 0.01 | 24.5 | 142.15 | 3.59 | 11.26 | 0.02 | 0 | 890.68 | 0.02 | 2.76 | 0.06 | 0.01 | 64.07 | 177.63
Geom.Mean | 34.68 | 22.73 | 0.02 | 76.37 | 2.02 | 0.18 | 0.01 | 0.01 | 17.33 | 95.88 | 3.39 | 10.85 | 0.02 | 0 | 889.09 | 0 | 2.64 | 0.06 | 0.01 | 29.65 | 43.26
Median | 34.69 | 22.6 | 0.02 | 84.97 | 1.91 | 0.19 | 0.01 | 0.01 | 15.35 | 92.65 | 3.39 | 10.87 | 0.02 | 0 | 888.94 | 0 | 2.65 | 0.06 | 0.01 | 23.96 | 0
Mode | 35.97 | 21.92 | 0.02 | 40.39 | 1.74 | 0.19 | 0.01 | 0.01 | 13.45 | 142.15 | 3.39 | 11.25 | 0.02 | 0 | 888.42 | 0 | 2.66 | 0.06 | 0.01 | 10.47 | 0
Std.Deviation | 0.99 | 0.65 | 0 | 19.88 | 0.44 | 0.05 | 0 | 0 | 3.89 | 16.39 | 0.09 | 0.31 | 0 | 0 | 0.81 | 0.01 | 0.06 | 0 | 0 | 18.8 | 67.8
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0