## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 17 |  |  |  | Date : 17/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 35.88 | 0.26 | 6.04 | 89.33 | 24.33 | 188.39 | 0 | 3.28 | 2.54 | 0 | 0.06 | 0 | 6.65 | 886.08 | 53.02 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 41 | 0.15 | 6.01 | 84.18 | 25.65 | 174.98 | 0.93 | 3.26 | 2.55 | 0 | 0.06 | 0 | 5.49 | 886.15 | 68.53 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 50 | 0.26 | 6.05 | 81.96 | 26.84 | 193 | 0.05 | 3.28 | 2.47 | 0 | 0.06 | 0 | 5.92 | 886.15 | 82.77 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 57 | 0.18 | 6.13 | 81.19 | 26.81 | 166.02 | 2.84 | 3.27 | 2.58 | 0 | 0.06 | 0 | 10.28 | 885.98 | 50.04 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 57 | 0.26 | 6.18 | 77.8 | 27.27 | 171.15 | 3 | 3.27 | 2.5 | 0 | 0.06 | 0.02 | 8.01 | 885.44 | 95.83 | 1.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 59 | 0.18 | 6.24 | 76.52 | 27.02 | 172.18 | 1.1 | 3.29 | 2.54 | 0 | 0.06 | 0.01 | 4.56 | 884.88 | 95.74 | 2.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 36 | 0.22 | 6.19 | 83.47 | 26.43 | 189.61 | 1 | 3.17 | 2.45 | 0 | 0.06 | 0 | 7.02 | 884.26 | 129.31 | 2.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 46 | 0.23 | 6.17 | 85.02 | 25.84 | 226.38 | 0.05 | 3.27 | 2.51 | 0 | 0.06 | 0.05 | 11.06 | 883.8 | 38.17 | 2.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 47 | 0.17 | 6.19 | 96.75 | 22.73 | 261.07 | 0 | 3.19 | 2.53 | 0 | 0.06 | 0.01 | 12.24 | 883.41 | 11.74 | 2.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 16 | 0.28 | 6.21 | 99.18 | 21.9 | 245.55 | 1.9 | 3.38 | 2.55 | 0 | 0.06 | 0 | 12.42 | 883.18 | 1.03 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 25 | 0.27 | 6.18 | 99.45 | 22.06 | 261.47 | 2 | 3.24 | 2.47 | 0 | 0.06 | 0 | 12.77 | 883.85 | 1.57 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 53 | 0.22 | 6.17 | 99.15 | 21.5 | 248.19 | 1.05 | 3.25 | 2.52 | 0 | 0.06 | 0 | 14.46 | 884.06 | 0 | 1.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 45 | 0.16 | 6.15 | 99.5 | 21.41 | 252.3 | 1 | 3.25 | 2.52 | 0 | 0.06 | 0 | 13.47 | 884.7 | 0 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 43 | 0.09 | 6.14 | 97.87 | 21.33 | 201.04 | 0.07 | 3.13 | 2.59 | 0 | 0.06 | 0 | 7.58 | 885.21 | 0 | 1.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 25 | 0.13 | 6.2 | 96.72 | 21.37 | 203.71 | 0 | 3.07 | 2.49 | 0 | 0.06 | 0 | 8 | 885.33 | 0 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 21 | 0.1 | 6.11 | 96.34 | 21.54 | 179.28 | 0 | 3.24 | 2.62 | 0 | 0.06 | 0 | 5.92 | 885.2 | 0 | 1.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 20 | 0.24 | 6.1 | 94.19 | 21.51 | 206.68 | 0 | 3.42 | 2.57 | 0 | 0.06 | 0.01 | 6.74 | 884.82 | 0 | 1.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 18 | 0.26 | 6.14 | 94.61 | 21.44 | 211.78 | 0 | 3.17 | 2.41 | 0 | 0.06 | 0 | 6.71 | 884.71 | 0 | 1.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 18 | 0.23 | 6.08 | 96.41 | 21.37 | 197.58 | 0 | 3.24 | 2.5 | 0 | 0.06 | 0 | 6.21 | 884.52 | 0 | 1.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 11 | 0.21 | 6.04 | 97.08 | 21.34 | 209.09 | 0 | 3.33 | 2.55 | 0 | 0.06 | 0 | 7.98 | 884.57 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 14 | 0.09 | 6.05 | 97.95 | 21.3 | 198.72 | 0 | 3.19 | 2.58 | 0 | 0.06 | 0 | 6.73 | 884.32 | 0 | 1.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 12 | 0.23 | 6.02 | 95.33 | 21.31 | 203.91 | 0 | 3.34 | 2.59 | 0 | 0.06 | 0 | 5.87 | 884.15 | 0 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 18 | 0.15 | 6.05 | 94.15 | 21.58 | 199.07 | 0 | 3.29 | 2.56 | 0 | 0.06 | 0 | 6.5 | 884.23 | 3.2 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 15 | 0.14 | 6.03 | 89.48 | 23.24 | 212.09 | 0 | 3.21 | 2.58 | 0 | 0.06 | 0 | 7.13 | 884.75 | 19.26 | 1.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 28 | 0.1 | 6.01 | 88.62 | 24.04 | 168.77 | 0 | 3.69 | 2.75 | 0 | 0.06 | 0 | 6.09 | 885.03 | 38.65 | 1.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 32.44 | 0.19 | 6.12 | 91.69 | 23.25 | 205.68 | 0.6 | 3.27 | 2.54 | 0 | 0.06 | 0 | 8.23 | 884.75 | 27.55 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 11 | 0.09 | 6.01 | 76.52 | 21.3 | 166.02 | 0 | 3.07 | 2.41 | 0 | 0.06 | 0 | 4.56 | 883.18 | 0 | 1.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 59 | 0.28 | 6.24 | 99.5 | 27.27 | 261.47 | 3 | 3.69 | 2.75 | 0 | 0.06 | 0.05 | 14.46 | 886.15 | 129.31 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 32.44 | 0.19 | 6.12 | 91.69 | 23.25 | 205.68 | 0.6 | 3.27 | 2.54 | 0 | 0.06 | 0 | 8.23 | 884.75 | 27.55 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 28 | 0.21 | 6.13 | 94.61 | 21.9 | 201.04 | 0 | 3.26 | 2.54 | 0 | 0.06 | 0 | 7.02 | 884.71 | 1.57 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 18 | 0.26 | 6.05 | 76.52 | 21.37 | 261.07 | 0 | 3.27 | 2.55 | 0 | 0.06 | 0 | 5.92 | 886.15 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 16.12 | 0.06 | 0.07 | 7.32 | 2.28 | 28.91 | 0.93 | 0.12 | 0.07 | 0 | 0 | 0.01 | 2.84 | 0.82 | 38.96 | 0.27 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0