## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 23 |  |  |  | Date : 23/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.03 | 184.99 | 0.02 | 87.1 | 1.07 | 0.08 | 0.01 | 0.01 | 22.1 | NA | 3.44 | 8.83 | 0.02 | 0 | 890.88 | NA | 2.59 | 0.06 | 0.01 | 10.42 | 40.86
07-08Hr | 0.07 | 183.74 | 0.02 | 76.09 | 1.56 | 0.1 | 0.01 | 0.01 | 23.95 | NA | 3.35 | 8.8 | 0.02 | 0 | 891.15 | NA | 2.61 | 0.06 | 0.01 | 12.67 | 46.28
08-09Hr | 0.24 | 170.41 | 0.02 | 70.84 | 1.4 | 0.13 | 0.01 | 0.01 | 27.14 | NA | 3.65 | 8.8 | 0.02 | 0 | 891.08 | NA | 2.78 | 0.06 | 0.01 | 12.49 | 155.11
09-10Hr | 0.09 | 220.43 | 0.02 | 66.61 | 0.88 | 0.18 | 0.01 | 0.01 | 28.8 | NA | 3.31 | 9.04 | 0.02 | 0 | 890.51 | NA | 2.5 | 0.06 | 0.01 | 12.37 | 182.68
10-11Hr | 0.12 | 182.83 | 0.02 | 59.2 | 0.48 | 0.08 | 0.01 | 0.01 | 31.05 | NA | 3.38 | 9.04 | 0.02 | 0 | 889.75 | NA | 2.65 | 0.06 | 0.01 | 11.76 | 173.69
11-12Hr | 0.09 | 199.72 | 0.02 | 56.84 | 0.64 | 0.31 | 0.01 | 0.01 | 31.72 | NA | 3.31 | 9.08 | 0.02 | 0 | 888.99 | NA | 2.39 | 0.06 | 0.01 | 9.82 | 190.65
12-13Hr | 0.11 | 202.49 | 0.02 | 57.4 | 0.96 | 0.08 | 0.01 | 0.01 | 31.35 | NA | 3.13 | 9.22 | 0.02 | 0 | 888.16 | NA | 2.46 | 0.06 | 0.01 | 9.77 | 168.88
13-14Hr | 0.06 | 168.99 | 0.02 | 59.99 | 1.18 | 0.05 | 0.01 | 0.01 | 31.39 | NA | 3.28 | 9.19 | 0.02 | 0 | 887.63 | NA | 2.61 | 0.06 | 0.01 | 10.89 | 137.67
14-15Hr | 0.23 | 185.34 | 0.02 | 65.77 | 0.67 | 0.1 | 0.01 | 0.01 | 30.28 | NA | 3.15 | 9.19 | 0.02 | 0 | 887.54 | NA | 2.55 | 0.06 | 0.01 | 12.06 | 92.89
15-16Hr | 0.11 | 179.28 | 0.02 | 79.28 | 0.35 | 0.03 | 0.01 | 0.01 | 26.14 | NA | 3.13 | 9.26 | 0.02 | 0 | 887.78 | NA | 2.61 | 0.06 | 0.01 | 8.78 | 21.12
16-17Hr | 0.09 | 176.91 | 0.02 | 88.78 | 0.08 | 0.13 | 0.01 | 0.01 | 23.41 | NA | 3.4 | 9.15 | 0.02 | 0 | 888.03 | NA | 2.73 | 0.06 | 0.01 | 9.76 | 0
17-18Hr | 0.13 | 179.65 | 0.02 | 90.3 | 0.16 | 0.31 | 0.01 | 0.01 | 22.96 | NA | 3.22 | 9.22 | 0.02 | 0 | 888.85 | NA | 2.4 | 0.06 | 0.01 | 13.03 | 0
18-19Hr | 0.16 | 208.67 | 0.02 | 91.81 | 0 | 0.28 | 0.01 | 0.01 | 22.72 | NA | 3.8 | 9.22 | 0.02 | 0 | 889.67 | NA | 2.81 | 0.06 | 0.01 | 12.21 | 0
19-20Hr | 0.12 | 191.45 | 0.02 | 92.44 | 0.16 | 0.28 | 0.01 | 0.01 | 22.35 | NA | 3.35 | 9.15 | 0.02 | 0 | 889.9 | NA | 2.51 | 0.06 | 0.01 | 11.3 | 0
20-21Hr | 0.14 | 192.34 | 0.02 | 93.76 | 0.08 | 0.23 | 0.01 | 0.01 | 22.08 | NA | 3.35 | 9.19 | 0.02 | 0 | 889.97 | NA | 2.48 | 0.06 | 0.01 | 13.03 | 0
21-22Hr | 0.12 | 193.58 | 0.02 | 96.6 | 0.16 | 0.23 | 0.01 | 0.01 | 21.89 | NA | 3.28 | 9.19 | 0.02 | 0 | 889.84 | NA | 2.51 | 0.06 | 0.01 | 16.14 | 0
22-23Hr | 0.08 | 188.5 | 0.02 | 97.46 | 0.16 | 0.26 | 0.01 | 0.01 | 21.64 | NA | 3.17 | 9.22 | 0.02 | 0 | 889.6 | NA | 2.36 | 0.06 | 0.01 | 15.19 | 0
23-00Hr | 0.03 | 193.71 | 0.02 | 97.58 | 0.56 | 0.23 | 0.01 | 0.01 | 21.74 | NA | 3.11 | 9.26 | 0.02 | 0 | 889.33 | NA | 2.3 | 0.06 | 0.01 | 17.9 | 0
00-01Hr | 0.14 | 202.28 | 0.02 | 97.13 | 0.4 | 0.15 | 0.01 | 0.01 | 21.88 | NA | 3.15 | 9.08 | 0.02 | 0.01 | 889.42 | NA | 2.38 | 0.06 | 0.01 | 22.23 | 0
01-02Hr | 0.13 | 220.46 | 0.02 | 98.61 | 0.59 | 0.28 | 0.01 | 0.01 | 20.34 | NA | 3.6 | 9.15 | 0.02 | 1.38 | 889.5 | NA | 2.65 | 0.06 | 0.01 | 18.81 | 0
02-03Hr | 0.11 | 209.63 | 0.02 | 92.07 | 2.71 | 0.31 | 0.01 | 0.01 | 19.18 | NA | 3.28 | 9.08 | 0.02 | 0 | 889.27 | NA | 2.41 | 0.06 | 0.01 | 17.59 | 0
03-04Hr | 0.11 | 165.71 | 0.02 | 76.41 | 2.44 | 0 | 0.01 | 0.01 | 20.79 | NA | 3.2 | 9.08 | 0.02 | 0 | 889.21 | NA | 2.61 | 0.06 | 0.01 | 10.4 | 0
04-05Hr | 0.11 | 209.53 | 0.02 | 73.8 | 1.96 | 0.15 | 0.01 | 0.01 | 21.59 | NA | 3.19 | 8.94 | 0.02 | 0 | 889.69 | NA | 2.59 | 0.06 | 0.01 | 6.5 | 9.9
05-06Hr | 0.14 | 195.78 | 0.02 | 72.53 | 1.29 | 0.15 | 0.01 | 0.01 | 24.32 | NA | 3.42 | 9.01 | 0.02 | 0 | 890.51 | NA | 2.77 | 0.06 | 0.01 | 10.78 | 56.31
06-07hr | 0.11 | 193.22 | 0.02 | 77.11 | 0.9 | 0.21 | 0.01 | 0.01 | 22.81 | NA | 3.82 | 8.87 | 0.02 | 0 | 891 | NA | 2.82 | 0.06 | 0.01 | 9.48 | 12.33
Avg | 0.11 | 191.99 | 0.02 | 80.62 | 0.83 | 0.17 | 0.01 | 0.01 | 24.54 | NA | 3.34 | 9.09 | 0.02 | 0.06 | 889.49 | NA | 2.56 | 0.06 | 0.01 | 12.62 | 51.53
Min | 0.03 | 165.71 | 0.02 | 56.84 | 0 | 0 | 0.01 | 0.01 | 19.18 | NA | 3.11 | 8.8 | 0.02 | 0 | 887.54 | NA | 2.3 | 0.06 | 0.01 | 6.5 | 0
Max | 0.24 | 220.46 | 0.02 | 98.61 | 2.71 | 0.31 | 0.01 | 0.01 | 31.72 | NA | 3.82 | 9.26 | 0.02 | 1.38 | 891.15 | NA | 2.82 | 0.06 | 0.01 | 22.23 | 190.65
Geom.Mean | 0.11 | 191.99 | 0.02 | 80.62 | 0.83 | 0.17 | 0.01 | 0.01 | 24.54 | NA | 3.34 | 9.09 | 0.02 | 0.06 | 889.49 | NA | 2.56 | 0.06 | 0.01 | 12.62 | 51.53
Median | 0.11 | 192.34 | 0.02 | 79.28 | 0.64 | 0.15 | 0.01 | 0.01 | 22.81 | NA | 3.31 | 9.15 | 0.02 | 0 | 889.6 | NA | 2.59 | 0.06 | 0.01 | 12.06 | 9.9
Mode | 0.11 | 165.71 | 0.02 | 56.84 | 0.16 | 0.08 | 0.01 | 0.01 | 19.18 | NA | 3.35 | 9.08 | 0.02 | 0 | 890.51 | NA | 2.61 | 0.06 | 0.01 | 13.03 | 0
Std.Deviation | 0.05 | 14.86 | 0 | 14.23 | 0.74 | 0.1 | 0 | 0 | 3.95 | NA | 0.2 | 0.14 | 0 | 0.28 | 1.06 | NA | 0.15 | 0 | 0 | 3.58 | 71.1
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0