## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 16 |  |  |  | Date : 16/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 16/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.1 | 222.59 | 0.02 | 72.89 | 1.02 | 0.18 | 0.01 | 0.01 | 21.9 | NA | 3.49 | 10.08 | 0.02 | 0 | 893.8 | NA | 2.71 | 0.06 | 0.01 | 11.39 | 9.22
07-08Hr | 0.19 | 179.07 | 0.02 | 67.85 | 0.7 | 0.41 | 0.01 | 0.01 | 23.7 | NA | 3.47 | 10.19 | 0.02 | 0 | 894.5 | NA | 2.51 | 0.06 | 0.01 | 9.84 | 59.83
08-09Hr | 0.15 | 230.62 | 0.02 | 66.94 | 1.45 | 0.08 | 0.01 | 0.01 | 24.03 | NA | 3.26 | 10.19 | 0.02 | 0 | 894.35 | NA | 2.63 | 0.06 | 0.01 | 14.17 | 157.62
09-10Hr | 0.1 | 191.16 | 0.02 | 64.74 | 0.64 | 0.23 | 0.01 | 0.01 | 25.2 | NA | 3.44 | 10.41 | 0.02 | 0 | 893.81 | NA | 2.6 | 0.06 | 0.01 | 9.75 | 195.9
10-11Hr | 0.11 | 231.05 | 0.02 | 62.62 | 0.27 | 0.13 | 0.01 | 0.01 | 26.46 | NA | 3.33 | 10.51 | 0.02 | 0 | 892.94 | NA | 2.6 | 0.06 | 0.01 | 11.22 | 171.8
11-12Hr | 0.07 | 208.98 | 0.02 | 56.44 | 0.46 | 0.03 | 0.01 | 0.01 | 27.92 | NA | 3.08 | 10.69 | 0.02 | 0 | 892.17 | NA | 2.56 | 0.06 | 0.01 | 9.16 | 144.75
12-13Hr | 0.12 | 207.89 | 0.02 | 49.24 | 0.81 | 0.03 | 0.01 | 0.01 | 27.75 | NA | 3.15 | 10.94 | 0.02 | 0 | 891.5 | NA | 2.6 | 0.06 | 0.01 | 14.53 | 171.91
13-14Hr | 0.09 | 214.59 | 0.02 | 46.79 | 0.97 | 0.21 | 0.01 | 0.01 | 27.16 | NA | 3.28 | 10.94 | 0.02 | 0 | 891.19 | NA | 2.48 | 0.06 | 0.01 | 8.61 | 106.67
14-15Hr | 0.08 | 220.94 | 0.02 | 58.61 | 1.18 | 0.23 | 0.01 | 0.01 | 22.89 | NA | 3.33 | 11.05 | 0.02 | 0 | 890.95 | NA | 2.51 | 0.06 | 0.01 | 7.15 | 6.69
15-16Hr | 0.07 | 260.61 | 0.02 | 69.64 | 1.29 | 0.18 | 0.01 | 0.01 | 21.44 | NA | 3.28 | 11.04 | 0.02 | 0 | 891.04 | NA | 2.58 | 0.06 | 0.01 | 10.44 | 3.77
16-17Hr | 0.16 | 211.57 | 0.02 | 83.93 | 0.46 | 0.13 | 0.01 | 0.01 | 20.02 | NA | 3.53 | 11.01 | 0.02 | 0 | 891.33 | NA | 2.71 | 0.06 | 0.01 | 7.26 | 0
17-18Hr | 0.12 | 212.13 | 0.02 | 81.19 | 0.67 | 0.41 | 0.01 | 0.01 | 19.68 | NA | 3.35 | 11.04 | 0.02 | 0 | 891.83 | NA | 2.47 | 0.06 | 0.01 | 10.06 | 0
18-19Hr | 0.09 | 204.06 | 0.02 | 80.85 | 0.27 | 0.13 | 0.01 | 0.01 | 19.18 | NA | 3.11 | 10.83 | 0.02 | 0 | 892.2 | NA | 2.36 | 0.06 | 0.01 | 13.66 | 0
19-20Hr | 0.1 | 233.03 | 0.02 | 85.38 | 0.22 | 0.15 | 0.01 | 0.01 | 18.62 | NA | 3.31 | 10.79 | 0.02 | 0 | 892.41 | NA | 2.58 | 0.06 | 0.01 | 11.06 | 0
20-21Hr | 0.12 | 219.66 | 0.02 | 87.82 | 0.46 | 0.26 | 0.01 | 0.01 | 18.81 | NA | 3.44 | 10.76 | 0.02 | 0 | 892.54 | NA | 2.68 | 0.06 | 0.01 | 12.32 | 0
21-22Hr | 0.18 | 224.71 | 0.02 | 86.66 | 0.91 | 0.38 | 0.01 | 0.01 | 18.89 | NA | 3.67 | 10.76 | 0.02 | 0 | 892.41 | NA | 2.68 | 0.06 | 0.01 | 14.84 | 0
22-23Hr | 0.12 | 201.79 | 0.02 | 83.76 | 1.18 | 0 | 0.01 | 0.01 | 18.82 | NA | 2.95 | 10.69 | 0.02 | 0 | 892.03 | NA | 2.53 | 0.06 | 0.01 | 12.92 | 0
23-00Hr | 0.08 | 196.92 | 0.02 | 77.86 | 1.5 | 0.08 | 0.01 | 0.01 | 19.2 | NA | 3.22 | 10.48 | 0.02 | 0 | 891.82 | NA | 2.56 | 0.06 | 0.01 | 14.13 | 0
00-01Hr | 0.12 | 199.69 | 0.02 | 80.84 | 1.34 | 0.05 | 0.01 | 0.01 | 18.7 | NA | 3.15 | 10.51 | 0.02 | 0 | 891.47 | NA | 2.65 | 0.06 | 0.01 | 14.98 | 0
01-02Hr | 0.15 | 233.32 | 0.02 | 86.77 | 0.64 | 0.36 | 0.01 | 0.01 | 17.84 | NA | 3.4 | 10.3 | 0.02 | 0 | 891.35 | NA | 2.58 | 0.06 | 0.01 | 13.62 | 0
02-03Hr | 0.17 | 201.73 | 0.02 | 86.54 | 0.91 | 0.13 | 0.01 | 0.01 | 17.47 | NA | 3.19 | 10.41 | 0.02 | 0 | 891.5 | NA | 2.75 | 0.06 | 0.01 | 12.8 | 0
03-04Hr | 0.21 | 216.59 | 0.02 | 84.87 | 0.99 | 0.21 | 0.01 | 0.01 | 17.33 | NA | 3.17 | 10.41 | 0.02 | 0 | 891.77 | NA | 2.56 | 0.06 | 0.01 | 13.06 | 0
04-05Hr | 0.12 | 211.17 | 0.02 | 83.04 | 0.91 | 0.18 | 0.01 | 0.01 | 17.49 | NA | 3.49 | 10.19 | 0.02 | 0 | 892.5 | NA | 2.61 | 0.06 | 0.01 | 15.55 | 8.77
05-06Hr | 0.16 | 211.7 | 0.02 | 74.05 | 0.83 | 0.18 | 0.01 | 0.01 | 20.04 | NA | 2.95 | 10.3 | 0.02 | 0 | 893.18 | NA | 2.3 | 0.06 | 0.01 | 8.7 | 52.9
06-07hr | 0.3 | 197.64 | 0.02 | 68.78 | 1.07 | 0 | 0.01 | 0.01 | 21.62 | NA | 3.6 | 10.3 | 0.02 | 0 | 893.54 | NA | 2.95 | 0.07 | 0.01 | 13.01 | 11.67
Avg | 0.13 | 213.73 | 0.02 | 73.92 | 0.85 | 0.17 | 0.01 | 0.01 | 21.29 | NA | 3.31 | 10.59 | 0.02 | 0 | 892.33 | NA | 2.59 | 0.06 | 0.01 | 11.77 | 44.06
Min | 0.07 | 179.07 | 0.02 | 46.79 | 0.22 | 0 | 0.01 | 0.01 | 17.33 | NA | 2.95 | 10.08 | 0.02 | 0 | 890.95 | NA | 2.3 | 0.06 | 0.01 | 7.15 | 0
Max | 0.3 | 260.61 | 0.02 | 87.82 | 1.5 | 0.41 | 0.01 | 0.01 | 27.92 | NA | 3.67 | 11.05 | 0.02 | 0 | 894.5 | NA | 2.95 | 0.07 | 0.01 | 15.55 | 195.9
Geom.Mean | 0.13 | 213.73 | 0.02 | 73.92 | 0.85 | 0.17 | 0.01 | 0.01 | 21.29 | NA | 3.31 | 10.59 | 0.02 | 0 | 892.33 | NA | 2.59 | 0.06 | 0.01 | 11.77 | 44.06
Median | 0.12 | 211.7 | 0.02 | 77.86 | 0.91 | 0.18 | 0.01 | 0.01 | 20.02 | NA | 3.31 | 10.51 | 0.02 | 0 | 892.17 | NA | 2.58 | 0.06 | 0.01 | 12.32 | 3.77
Mode | 0.12 | 260.61 | 0.02 | 46.79 | 0.46 | 0.18 | 0.01 | 0.01 | 17.84 | NA | 2.95 | 10.41 | 0.02 | 0 | 892.41 | NA | 2.6 | 0.06 | 0.01 | 7.26 | 0
Std.Deviation | 0.05 | 16.76 | 0 | 12.25 | 0.37 | 0.12 | 0 | 0 | 3.43 | NA | 0.19 | 0.31 | 0 | 0 | 1.03 | NA | 0.13 | 0 | 0 | 2.48 | 68.56
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0