## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 5 |  |  |  | Date : 05/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 05/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.13 | 248.57 | 0.02 | 99.5 | 1.37 | 0.13 | 0.01 | 0.01 | 19.69 | NA | 3.31 | 9.79 | 0.02 | 0 | 885.66 | NA | 2.7 | 0.06 | 0.01 | 18.76 | 0.09
07-08Hr | 0.1 | 244.56 | 0.02 | 98.18 | 2.06 | 0.08 | 0.01 | 0.01 | 20.29 | NA | 3.1 | 9.83 | 0.02 | 0 | 886.09 | NA | 2.6 | 0.06 | 0.01 | 15.75 | 36.95
08-09Hr | 0.2 | 182.11 | 0.02 | 93.19 | 0.72 | 0.18 | 0.01 | 0.01 | 22.1 | NA | 3.22 | 9.58 | 0.02 | 0 | 886.16 | NA | 2.71 | 0.06 | 0.02 | 14.34 | 43.71
09-10Hr | 0.12 | 189.04 | 0.02 | 83.22 | 0.64 | 0.33 | 0.01 | 0.01 | 24.56 | NA | 3.4 | 9.76 | 0.02 | 0 | 885.51 | NA | 2.56 | 0.06 | 0.01 | 10.57 | 60.32
10-11Hr | 0.1 | 212.69 | 0.02 | 79.82 | 0.88 | 0.05 | 0.01 | 0.01 | 25.38 | NA | 3.38 | 9.76 | 0.02 | 0 | 884.71 | NA | 2.66 | 0.06 | 0.01 | 14.51 | 78.58
11-12Hr | 0.04 | 198.16 | 0.02 | 82 | 1.13 | 0.13 | 0.01 | 0.01 | 24.2 | NA | 3.17 | 9.76 | 0.02 | 0 | 883.87 | NA | 2.61 | 0.06 | 0.01 | 10.41 | 32.58
12-13Hr | 0.16 | 212.76 | 0.02 | 83.55 | 1.61 | 0.13 | 0.01 | 0.01 | 23.85 | NA | 3.2 | 9.76 | 0.02 | 0 | 883.33 | NA | 2.63 | 0.06 | 0.01 | 9.91 | 53.76
13-14Hr | 0.11 | 190.85 | 0.02 | 89.98 | 3.16 | 0.21 | 0.01 | 0.01 | 21.83 | NA | 3.33 | 9.94 | 0.02 | 0 | 883.22 | NA | 2.6 | 0.06 | 0.01 | 6.73 | 7.84
14-15Hr | 0.1 | 178.47 | 0.02 | 93.62 | 3.43 | 0.31 | 0.01 | 0.01 | 21.08 | NA | 3.47 | 10.01 | 0.02 | 0 | 883.37 | NA | 2.46 | 0.06 | 0.01 | 6.41 | 9.55
15-16Hr | 0.04 | 214.79 | 0.02 | 94.31 | 1.85 | 0.26 | 0.01 | 0.01 | 20.63 | NA | 3.26 | 9.97 | 0.02 | 0 | 883.75 | NA | 2.44 | 0.06 | 0.01 | 8.53 | 0
16-17Hr | 0.07 | 209.05 | 0.02 | 98.13 | 2.62 | 0.18 | 0.01 | 0.01 | 19.83 | NA | 3.08 | 9.83 | 0.02 | 0 | 884.25 | NA | 2.58 | 0.06 | 0.01 | 9.7 | 0
17-18Hr | 0.19 | 198.13 | 0.02 | 98.66 | 2.25 | 0.05 | 0.01 | 0.01 | 19.75 | NA | 3.35 | 10.01 | 0.02 | 0 | 884.87 | NA | 2.76 | 0.06 | 0.01 | 11.48 | 0
18-19Hr | 0.11 | 202.75 | 0.02 | 98.59 | 2.68 | 0.15 | 0.01 | 0.01 | 19.83 | NA | 3.19 | 9.94 | 0.02 | 0 | 885.59 | NA | 2.5 | 0.06 | 0.01 | 10.93 | 0
19-20Hr | 0.23 | 205.92 | 0.02 | 99.22 | 2.78 | 0.08 | 0.01 | 0.01 | 19.72 | NA | 3.15 | 10.01 | 0.02 | 0.01 | 886.04 | NA | 2.56 | 0.06 | 0.01 | 16.53 | 0
20-21Hr | 0.12 | 218.3 | 0.02 | 99.5 | 2.6 | 0.26 | 0.01 | 0.01 | 19.61 | NA | 3.53 | 9.87 | 0.02 | 0 | 886.18 | NA | 2.65 | 0.06 | 0.01 | 24.37 | 0
21-22Hr | 0.15 | 251.8 | 0.02 | 99.5 | 2.36 | 0.1 | 0.01 | 0.01 | 19.59 | NA | 3.67 | 9.87 | 0.02 | 0 | 886.08 | NA | 2.85 | 0.06 | 0.01 | 18.9 | 0
22-23Hr | 0.24 | 253.89 | 0.02 | 99.5 | 2.44 | 0.23 | 0.01 | 0.01 | 19.42 | NA | 3.35 | 9.87 | 0.02 | 0.18 | 885.83 | NA | 2.5 | 0.06 | 0.01 | 18.89 | 0
23-00Hr | 0.05 | 242.05 | 0.02 | 99.5 | 2.6 | 0.1 | 0.01 | 0.01 | 19.31 | NA | 3.31 | 9.72 | 0.02 | 0.04 | 885.6 | NA | 2.58 | 0.06 | 0.01 | 22.4 | 0
00-01Hr | 0.1 | 237.36 | 0.02 | 99.5 | 4.34 | 0.03 | 0.01 | 0.01 | 19.19 | NA | 3.28 | 9.69 | 0.02 | 0.14 | 885.46 | NA | 2.68 | 0.06 | 0.01 | 24.56 | 0
01-02Hr | 0.06 | 230.4 | 0.02 | 99.5 | 3.11 | 0.15 | 0.01 | 0.01 | 19.12 | NA | 3.15 | 9.58 | 0.02 | 0 | 885.42 | NA | 2.48 | 0.06 | 0.01 | 23.28 | 0
02-03Hr | 0.1 | 232.11 | 0.02 | 99.5 | 3.19 | 0.1 | 0.01 | 0.01 | 19 | NA | 3.58 | 9.58 | 0.02 | 0 | 885.43 | NA | 2.86 | 0.06 | 0.01 | 20.87 | 0
03-04Hr | 0.05 | 230.52 | 0.02 | 99.5 | 3.08 | 0.28 | 0.01 | 0.01 | 18.96 | NA | 3.51 | 9.47 | 0.02 | 0.04 | 885.72 | NA | 2.55 | 0.06 | 0.01 | 22.19 | 0
04-05Hr | 0.12 | 234.89 | 0.02 | 99.5 | 3.51 | 0.08 | 0.01 | 0.01 | 18.9 | NA | 3.31 | 9.54 | 0.02 | 0.1 | 886.33 | NA | 2.81 | 0.06 | 0.01 | 22.62 | 0
05-06Hr | 0.1 | 232.19 | 0.02 | 99.5 | 3.24 | 0.08 | 0.01 | 0.01 | 18.9 | NA | 3.17 | 9.51 | 0.02 | 0.78 | 887 | NA | 2.66 | 0.06 | 0.01 | 21.15 | 0
06-07hr | 0.13 | 238.73 | 0.02 | 99.5 | 3.36 | 0.21 | 0.01 | 0.01 | 19.03 | NA | 4.02 | 9.25 | 0.02 | 0.12 | 887.39 | NA | 2.99 | 0.06 | 0.02 | 19.76 | 0
Avg | 0.12 | 219.6 | 0.02 | 95.46 | 2.44 | 0.16 | 0.01 | 0.01 | 20.55 | NA | 3.34 | 9.76 | 0.02 | 0.06 | 885.31 | NA | 2.64 | 0.06 | 0.01 | 16.14 | 12.94
Min | 0.04 | 178.47 | 0.02 | 79.82 | 0.64 | 0.03 | 0.01 | 0.01 | 18.9 | NA | 3.08 | 9.25 | 0.02 | 0 | 883.22 | NA | 2.44 | 0.06 | 0.01 | 6.41 | 0
Max | 0.24 | 253.89 | 0.02 | 99.5 | 4.34 | 0.33 | 0.01 | 0.01 | 25.38 | NA | 4.02 | 10.01 | 0.02 | 0.78 | 887.39 | NA | 2.99 | 0.06 | 0.02 | 24.56 | 78.58
Geom.Mean | 0.12 | 219.6 | 0.02 | 95.46 | 2.44 | 0.16 | 0.01 | 0.01 | 20.55 | NA | 3.34 | 9.76 | 0.02 | 0.06 | 885.31 | NA | 2.64 | 0.06 | 0.01 | 16.14 | 12.94
Median | 0.11 | 218.3 | 0.02 | 99.22 | 2.6 | 0.13 | 0.01 | 0.01 | 19.72 | NA | 3.31 | 9.76 | 0.02 | 0 | 885.59 | NA | 2.61 | 0.06 | 0.01 | 16.53 | 0
Mode | 0.1 | 178.47 | 0.02 | 99.5 | 2.6 | 0.08 | 0.01 | 0.01 | 19.83 | NA | 3.31 | 9.76 | 0.02 | 0 | 883.33 | NA | 2.66 | 0.06 | 0.01 | 6.73 | 0
Std.Deviation | 0.05 | 22.48 | 0 | 6.46 | 0.96 | 0.09 | 0 | 0 | 1.96 | NA | 0.21 | 0.19 | 0 | 0.16 | 1.13 | NA | 0.14 | 0 | 0 | 5.88 | 23.28
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0