## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 15 |  |  |  | Date : 15/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 0 | 0.21 | 4.79 | 99.5 | 22.26 | 200.73 | 0 | 3.3 | 2.57 | 1.77 | 0.06 | 0 | 6.31 | 883.14 | 35.8 | 1.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 0 | 0.13 | 4.66 | 99.49 | 23.21 | 207.99 | 0 | 3.18 | 2.5 | 2.48 | 0.06 | 0 | 12.35 | 883.43 | 67 | 1.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 4 | 0.24 | 4.76 | 94.28 | 26.33 | 206.79 | 0 | 3.23 | 2.48 | 2.78 | 0.06 | 0 | 10.77 | 883.13 | 120.74 | 1.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 4 | 0.17 | 4.81 | 83.35 | 27.65 | 196.46 | 0 | 3.27 | 2.5 | 2.44 | 0.06 | 0 | 6.01 | 882.55 | 111.93 | 1.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 10 | 0.15 | 4.85 | 79.5 | 28.22 | 187.63 | 0.03 | 3.23 | 2.56 | 3.05 | 0.06 | 0 | 7.61 | 882.07 | 140.49 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 9 | 0.18 | 4.85 | 73.35 | 29.77 | 205.52 | 0 | 3.28 | 2.57 | 3.07 | 0.06 | 0 | 8.19 | 881.09 | 131.43 | 1.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 10 | 0.24 | 4.86 | 82.66 | 27.63 | 171.67 | 0 | 3.14 | 2.41 | 4.25 | 0.06 | 0 | 9.78 | 880.4 | 58.39 | 1.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 15 | 0.12 | 4.87 | 81.91 | 28.27 | 128.49 | 0 | 3.09 | 2.46 | 5.74 | 0.06 | 0 | 9.93 | 879.89 | 95.23 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 18 | 0.19 | 4.93 | 93.97 | 24.67 | 195.93 | 0 | 3.18 | 2.46 | 5.94 | 0.06 | 0.89 | 6.12 | 879.58 | 10.43 | 1.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 9 | 0.12 | 4.87 | 98.8 | 23.89 | 227.31 | 0 | 3.18 | 2.6 | 5.01 | 0.06 | 0 | 6.37 | 880.08 | 18.86 | 1.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 45 | 0.13 | 4.85 | 99.35 | 23.47 | 201.9 | 0 | 3.02 | 2.46 | 4.74 | 0.06 | 0 | 6.18 | 880.48 | 0.11 | 1.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 4 | 0.13 | 4.85 | 99.5 | 22.55 | 224.02 | 0.98 | 3.25 | 2.61 | 3.09 | 0.06 | 0.06 | 5.48 | 881.35 | 0 | 2.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 4 | 0.16 | 4.84 | 99.5 | 22.52 | 238.69 | 1 | 3.18 | 2.47 | 2.92 | 0.06 | 0.37 | 9.07 | 881.8 | 0 | 1.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 5 | 0.2 | 4.85 | 99.5 | 22.67 | 216.87 | 0.03 | 3.26 | 2.54 | 2.48 | 0.06 | 0.11 | 6.61 | 882.58 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 4 | 0.17 | 4.84 | 99.5 | 21.99 | 203.67 | 0 | 3.32 | 2.54 | 2.01 | 0.06 | 0.29 | 6.78 | 883.14 | 0 | 2.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 2 | 0.23 | 4.79 | 99.5 | 21.71 | 200.74 | 0 | 3.24 | 2.5 | 1.62 | 0.06 | 0.27 | 9.63 | 883.08 | 0 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 2 | 0.19 | 4.76 | 99.5 | 21.69 | 216.9 | 0 | 3.19 | 2.49 | 1.31 | 0.06 | 0 | 6.27 | 882.5 | 0 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 1 | 0.19 | 4.72 | 99.5 | 21.7 | 215.39 | 0 | 3.22 | 2.47 | 1.03 | 0.06 | 0 | 6.27 | 881.9 | 0 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 1 | 0.15 | 4.72 | 99.5 | 21.68 | 230.62 | 0 | 3 | 2.43 | 2.13 | 0.06 | 0 | 9.51 | 881.45 | 0 | 2.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 4 | 0.19 | 4.62 | 99.5 | 21.6 | 230.62 | 0 | 3.21 | 2.5 | 1.54 | 0.06 | 0 | 6.38 | 881.11 | 0 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 2 | 0.27 | 4.63 | 99.5 | 21.7 | 248.48 | 0 | 3.28 | 2.53 | 1.24 | 0.06 | 0 | 6.33 | 880.88 | 0 | 2.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 1 | 0.22 | 4.61 | 99.5 | 21.66 | 240.74 | 0 | 3.23 | 2.46 | 1.2 | 0.06 | 0 | 5.61 | 881.17 | 0 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 3 | 0.33 | 4.6 | 99.5 | 21.96 | 211.97 | 0.03 | 3.31 | 2.48 | 1.33 | 0.06 | 0 | 5.5 | 881.62 | 7.56 | 2.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 4 | 0.15 | 4.61 | 94.18 | 23.61 | 233.81 | 0 | 3.25 | 2.5 | 1.46 | 0.06 | 0 | 5.97 | 882.16 | 39.98 | 1.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 8 | 0 | 4.58 | 87.55 | 25.33 | 297.92 | 0 | 3.42 | 2.95 | 1.6 | 0.07 | 0 | 5.63 | 882.19 | 32.77 | 1.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 6.76 | 0.18 | 4.76 | 94.48 | 23.91 | 213.63 | 0.08 | 3.22 | 2.52 | 2.65 | 0.06 | 0.08 | 7.39 | 881.71 | 34.83 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0 | 4.58 | 73.35 | 21.6 | 128.49 | 0 | 3 | 2.41 | 1.03 | 0.06 | 0 | 5.48 | 879.58 | 0 | 1.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 45 | 0.33 | 4.93 | 99.5 | 29.77 | 297.92 | 1 | 3.42 | 2.95 | 5.94 | 0.07 | 0.89 | 12.35 | 883.43 | 140.49 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 6.76 | 0.18 | 4.76 | 94.48 | 23.91 | 213.63 | 0.08 | 3.22 | 2.52 | 2.65 | 0.06 | 0.08 | 7.39 | 881.71 | 34.83 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 4 | 0.18 | 4.79 | 99.5 | 22.67 | 211.97 | 0 | 3.23 | 2.5 | 2.44 | 0.06 | 0 | 6.37 | 881.8 | 7.56 | 1.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 4 | 0.19 | 4.85 | 99.5 | 21.7 | 230.62 | 0 | 3.18 | 2.5 | 2.48 | 0.06 | 0 | 6.27 | 883.14 | 0 | 1.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 9.17 | 0.06 | 0.11 | 8 | 2.58 | 30.27 | 0.27 | 0.09 | 0.1 | 1.44 | 0 | 0.2 | 1.93 | 1.1 | 47.97 | 0.4 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0