## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 25 |  |  |  | Date : 25/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 25/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 10 | 0.26 | 6.19 | 86.55 | 24.99 | 130.29 | 0.07 | 3.33 | 2.49 | 0 | 0.06 | 0 | 53.7 | 876.99 | 79.08 | 2.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 11 | 0.16 | 6.23 | 79.55 | 26.93 | 128.81 | 0 | 3.1 | 2.48 | 0 | 0.06 | 0 | 50.49 | 877.16 | 108.41 | 3.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 22 | 0.2 | 6.26 | 75.91 | 28.56 | 125.04 | 0 | 3.13 | 2.47 | 0 | 0.06 | 0 | 38.99 | 877.74 | 144.56 | 2.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 18 | 0.2 | 6.31 | 72.92 | 29.2 | 126.07 | 0 | 3.34 | 2.59 | 0 | 0.06 | 0 | 34.14 | 877.93 | 181.52 | 2.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 15 | 0.17 | 6.32 | 69.78 | 30.51 | 115.71 | 0 | 3.28 | 2.51 | 0 | 0.06 | 0 | 35.08 | 877.52 | 196.79 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 6 | 0.2 | 6.34 | 80.31 | 28.22 | 101.51 | 0 | 3.17 | 2.49 | 0 | 0.06 | 0.03 | 43.49 | 876.82 | 62.07 | 2.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 18.69 | 0.18 | 6.31 | 93.49 | 23.33 | 107.61 | 0 | 3.26 | 2.51 | 0 | 0.06 | 0 | 42.94 | 876.58 | 19.01 | 3.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 20 | 0.09 | 6.46 | 92.03 | 23.84 | 198.38 | 0 | 3.06 | 2.52 | 0 | 0.06 | 0 | 5.51 | 876.65 | 16.78 | 4.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | No data : power Issue
15-16Hr
16-17Hr
17-18Hr
18-19Hr
19-20Hr
20-21Hr
21-22Hr
22-23Hr
23-00Hr
00-01Hr
01-02Hr
02-03Hr
03-04Hr
04-05Hr
05-06Hr
06-07hr
Avg | 15.09 | 0.18 | 6.3 | 81.32 | 26.95 | 129.18 | 0.01 | 3.21 | 2.51 | 0 | 0.06 | 0 | 38.04 | 877.17 | 101.03 | 3.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 6 | 0.09 | 6.19 | 69.78 | 23.33 | 101.51 | 0 | 3.06 | 2.47 | 0 | 0.06 | 0 | 5.51 | 876.58 | 16.78 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 22 | 0.26 | 6.46 | 93.49 | 30.51 | 198.38 | 0.07 | 3.34 | 2.59 | 0 | 0.06 | 0.03 | 53.7 | 877.93 | 196.79 | 4.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 15.09 | 0.18 | 6.3 | 81.32 | 26.95 | 129.18 | 0.01 | 3.21 | 2.51 | 0 | 0.06 | 0 | 38.04 | 877.17 | 101.03 | 3.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 16.5 | 0.19 | 6.31 | 79.93 | 27.57 | 125.56 | 0 | 3.21 | 2.5 | 0 | 0.06 | 0 | 40.97 | 877.08 | 93.75 | 2.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 6 | 0.2 | 6.31 | 69.78 | 28.22 | 128.81 | 0 | 3.1 | 2.49 | 0 | 0.06 | 0 | 34.14 | 876.99 | 196.79 | 2.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 5.59 | 0.05 | 0.08 | 8.68 | 2.63 | 29.83 | 0.02 | 0.11 | 0.04 | 0 | 0 | 0.01 | 14.82 | 0.51 | 69.1 | 0.83 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0