## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 24 |  |  |  | Date : 24/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 24/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 211.17 | 0.02 | 78.03 | 0.62 | 0.1 | 0.01 | 0.01 | 28.45 | NA | 3.33 | 8.47 | 0.02 | 0 | 883.52 | NA | 2.7 | 0.06 | 0.01 | 14.15 | 113.35
07-08Hr | 0 | 169.86 | 0.02 | 74.44 | 0.54 | 0.21 | 0.01 | 0.01 | 29.68 | NA | 3.49 | 8.54 | 0.02 | 0 | 883.64 | NA | 2.62 | 0.06 | 0.01 | 14.65 | 96.43
08-09Hr | 0 | 213.05 | 0.02 | 77.52 | 0.37 | 0.23 | 0.01 | 0.01 | 28.66 | NA | 3.33 | 8.58 | 0.02 | 0 | 883.6 | NA | 2.63 | 0.06 | 0.01 | 7.94 | 168.36
09-10Hr | 0 | 185.91 | 0.02 | 75.11 | 0.86 | 0.39 | 0.01 | 0.01 | 28.84 | NA | 3.49 | 8.72 | 0.02 | 0 | 883.05 | NA | 2.5 | 0.06 | 0.01 | 10.54 | 183.15
10-11Hr | 0 | 185.36 | 0.02 | 69.26 | 0.86 | 0.18 | 0.01 | 0.01 | 30.78 | NA | 3.33 | 8.83 | 0.02 | 0 | 882.58 | NA | 2.6 | 0.06 | 0.01 | 6.91 | 195.17
11-12Hr | 0 | 175.48 | 0.02 | 63.47 | 0.37 | 0.26 | 0.01 | 0.01 | 32.02 | NA | 3.28 | 8.87 | 0.02 | 0 | 881.84 | NA | 2.6 | 0.06 | 0.01 | 7.98 | 171.08
12-13Hr | 0 | 211.75 | 0.02 | 76.77 | 0.64 | 0.18 | 0.01 | 0.01 | 29.94 | NA | 3.24 | 9.01 | 0.02 | 0 | 880.93 | NA | 2.79 | 0.06 | 0.01 | 8.38 | 53.33
13-14Hr | 0 | 209.33 | 0.02 | 87.3 | 0.64 | 0.23 | 0.01 | 0.01 | 27.27 | NA | 3.22 | 9.11 | 0.02 | 0 | 880.21 | NA | 2.45 | 0.06 | 0.01 | 9.39 | 12.59
14-15Hr | 0 | 166.02 | 0.02 | 92.92 | 0.86 | 0.49 | 0.01 | 0.01 | 25.61 | NA | 3.67 | 9.04 | 0.02 | 0 | 879.75 | NA | 2.58 | 0.06 | 0.01 | 10.77 | 4.29
15-16Hr | 0 | 188.94 | 0.02 | 94.62 | 0.45 | 0.05 | 0.01 | 0.01 | 24.14 | NA | 3.04 | 9.05 | 0.02 | 0 | 880.01 | NA | 2.6 | 0.06 | 0.01 | 7.58 | 0
16-17Hr | 0 | 211.29 | 0.02 | 96.32 | 0.53 | 0.23 | 0.01 | 0.01 | 23.39 | NA | 3.24 | 8.87 | 0.02 | 0.01 | 880.22 | NA | 2.46 | 0.06 | 0.01 | 14.34 | 0
17-18Hr | 0 | 182.96 | 0.02 | 98.82 | 0.21 | 0.44 | 0.01 | 0.01 | 23.56 | NA | 3.33 | 9.01 | 0.02 | 0 | 881.08 | NA | 2.36 | 0.06 | 0.01 | 14.74 | 0
18-19Hr | 0 | 191.6 | 0.02 | 99.26 | 0.16 | 0.26 | 0.01 | 0.01 | 23.21 | NA | 3.29 | 9.04 | 0.02 | 0 | 881.92 | NA | 2.53 | 0.06 | 0.01 | 18.53 | 0
19-20Hr | 0 | 187.74 | 0.02 | 96.22 | 0.21 | 0.03 | 0.01 | 0.01 | 22.89 | NA | 3.22 | 9.04 | 0.02 | 0 | 882.61 | NA | 2.51 | 0.06 | 0.01 | 13.2 | 0
20-21Hr | 0 | 237.3 | 0.02 | 95.82 | 0.37 | 0.28 | 0.01 | 0.01 | 22.86 | NA | 3.22 | 9.11 | 0.02 | 0 | 883.13 | NA | 2.49 | 0.06 | 0.01 | 7.87 | 0
21-22Hr | 0 | 188.56 | 0.02 | 97.03 | 0.26 | 0.1 | 0.01 | 0.01 | 22.74 | NA | 3.22 | 9.01 | 0.02 | 0 | 882.82 | NA | 2.56 | 0.06 | 0.01 | 13.9 | 0
22-23Hr | 0 | 192.9 | 0.02 | 99.45 | 0.13 | 0.18 | 0.01 | 0.01 | 22.6 | NA | 3.24 | 8.94 | 0.02 | 0 | 882.72 | NA | 2.46 | 0.06 | 0.01 | 13.16 | 0
23-00Hr | 0 | 195.91 | 0.02 | 98.8 | 0.37 | 0.03 | 0.01 | 0.01 | 22.34 | NA | 3.17 | 9.04 | 0.02 | 0 | 882.15 | NA | 2.6 | 0.06 | 0.01 | 13.25 | 0
00-01Hr | 0 | 206.92 | 0.02 | 98.91 | 0.35 | 0.13 | 0.01 | 0.01 | 22.46 | NA | 3.02 | 9.04 | 0.02 | 0 | 881.81 | NA | 2.36 | 0.06 | 0.01 | 13.95 | 0
01-02Hr | 0 | 193.08 | 0.02 | 99.5 | 0.21 | 0.18 | 0.01 | 0.01 | 22.32 | NA | 3.37 | 8.87 | 0.02 | 0 | 881.45 | NA | 2.65 | 0.06 | 0.01 | 16.18 | 0
02-03Hr | 0 | 185.2 | 0.02 | 99.5 | 0.37 | 0 | 0.01 | 0.01 | 22.02 | NA | 2.9 | 8.83 | 0.02 | 0 | 881.35 | NA | 2.51 | 0.06 | 0.01 | 18.06 | 0
03-04Hr | 0 | 190.82 | 0.02 | 95.63 | 0.86 | 0.31 | 0.01 | 0.01 | 22.03 | NA | 3.24 | 8.83 | 0.02 | 0 | 881.16 | NA | 2.51 | 0.06 | 0.01 | 10.72 | 0
04-05Hr | 0 | 180.69 | 0.02 | 90.95 | 0.78 | 0.03 | 0.01 | 0.01 | 22.86 | NA | 3.13 | 8.83 | 0.02 | 0 | 881.42 | NA | 2.73 | 0.06 | 0.01 | 10.94 | 13.85
05-06Hr | 0 | 152.93 | 0.02 | 86.26 | 0.78 | 0.1 | 0.01 | 0.01 | 24.46 | NA | 3.31 | 8.83 | 0.02 | 0 | 882.13 | NA | 2.65 | 0.06 | 0.01 | 11.2 | 26.3
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 0 | 192.28 | 0.02 | 89.25 | 0.49 | 0.19 | 0.01 | 0.01 | 25.21 | NA | 3.26 | 8.9 | 0.02 | 0 | 881.88 | NA | 2.56 | 0.06 | 0.01 | 12.01 | 43.25
Min | 0 | 152.93 | 0.02 | 63.47 | 0.13 | 0 | 0.01 | 0.01 | 22.02 | NA | 2.9 | 8.47 | 0.02 | 0 | 879.75 | NA | 2.36 | 0.06 | 0.01 | 6.91 | 0
Max | 0 | 237.3 | 0.02 | 99.5 | 0.86 | 0.49 | 0.01 | 0.01 | 32.02 | NA | 3.67 | 9.11 | 0.02 | 0.01 | 883.64 | NA | 2.79 | 0.06 | 0.01 | 18.53 | 195.17
Geom.Mean | 0 | 192.28 | 0.02 | 89.25 | 0.49 | 0.19 | 0.01 | 0.01 | 25.21 | NA | 3.26 | 8.9 | 0.02 | 0 | 881.88 | NA | 2.56 | 0.06 | 0.01 | 12.01 | 43.25
Median | 0 | 189.88 | 0.02 | 95.12 | 0.41 | 0.18 | 0.01 | 0.01 | 23.48 | NA | 3.24 | 8.9 | 0.02 | 0 | 881.88 | NA | 2.57 | 0.06 | 0.01 | 12.18 | 0
Mode | 0 | 152.93 | 0.02 | 99.5 | 0.37 | 0.18 | 0.01 | 0.01 | 22.86 | NA | 3.33 | 8.83 | 0.02 | 0 | 880.01 | NA | 2.6 | 0.06 | 0.01 | 6.91 | 0
Std.Deviation | 0 | 18.06 | 0 | 11.22 | 0.25 | 0.13 | 0 | 0 | 3.27 | NA | 0.16 | 0.18 | 0 | 0 | 1.16 | NA | 0.11 | 0 | 0 | 3.33 | 69.29
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | 24 | 24
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | 96 | 96
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0