## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 19 |  |  |  | Date : 19/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 19/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 35.43 | 22.62 | 0.02 | 66.13 | 1.27 | 0.21 | 0.01 | 0.01 | 20.92 | 98.77 | 3.37 | 11.08 | 0.02 | 0 | 890.58 | 0.01 | 2.6 | 0.06 | 0.01 | 31.52 | 8.23
07-08Hr | 35.4 | 23.44 | 0.02 | 59 | 1.38 | 0.18 | 0.01 | 0.01 | 22.87 | 87.5 | 3.57 | 11.09 | 0.02 | 0 | 891.21 | 0 | 2.77 | 0.06 | 0.01 | 44.4 | 71.82
08-09Hr | 35.62 | 22.7 | 0.02 | 56.28 | 1.33 | 0.22 | 0.01 | 0.01 | 24.21 | 89.18 | 3.45 | 11.15 | 0.02 | 0 | 891.28 | 0 | 2.65 | 0.06 | 0.01 | 55.4 | 137.62
09-10Hr | 36.11 | 22.22 | 0.02 | 57.11 | 1.92 | 0.11 | 0.01 | 0.01 | 22.32 | 93.78 | 3.21 | 11.3 | 0.02 | 0 | 890.6 | 0 | 2.58 | 0.06 | 0.01 | 60.22 | 144.61
10-11Hr | 36.84 | 22.62 | 0.02 | 51.61 | 2.16 | 0.11 | 0.01 | 0.01 | 22.68 | 92.55 | 3.35 | 11.52 | 0.02 | 0 | 889.57 | 0 | 2.65 | 0.06 | 0.01 | 61.84 | 179.58
11-12Hr | 37.23 | 23.33 | 0.02 | 47.6 | 1.73 | 0.17 | 0.01 | 0.01 | 24.32 | 82.18 | 3.51 | 11.64 | 0.02 | 0 | 888.48 | 0.01 | 2.74 | 0.06 | 0.01 | 63.22 | 178.41
12-13Hr | 37.15 | 23.59 | 0.02 | 50.79 | 1.63 | 0.22 | 0.01 | 0.01 | 24.44 | 70.28 | 3.5 | 11.63 | 0.02 | 0 | 887.99 | 0 | 2.67 | 0.06 | 0.01 | 52.71 | 142.37
13-14Hr | 37.81 | 21.82 | 0.02 | 50.55 | 1.96 | 0.18 | 0.01 | 0.01 | 24.53 | 73.18 | 3.29 | 11.83 | 0.02 | 0 | 887.75 | 0 | 2.56 | 0.06 | 0.01 | 42.24 | 117.65
14-15Hr | 37.91 | 23.02 | 0.02 | 62 | 1.19 | 0.22 | 0.01 | 0.01 | 20.5 | 88.17 | 3.47 | 11.84 | 0.02 | 0 | 887.69 | 0 | 2.7 | 0.06 | 0.01 | 50.31 | 8.21
15-16Hr | 37.89 | 22.6 | 0.02 | 70.88 | 0.74 | 0.11 | 0.01 | 0.01 | 18.24 | 84.94 | 3.37 | 11.88 | 0.02 | 0 | 887.75 | 0 | 2.74 | 0.06 | 0.01 | 48.98 | 1.75
16-17Hr | 37.83 | 22.55 | 0.02 | 76.11 | 0.71 | 0.12 | 0.01 | 0.01 | 16.73 | 89.59 | 3.35 | 11.82 | 0.02 | 0 | 888.37 | 0.01 | 2.69 | 0.06 | 0.01 | 44.49 | 0
17-18Hr | 37.53 | 23.58 | 0.02 | 77.12 | 0.75 | 0.18 | 0.01 | 0.01 | 16.29 | 101.42 | 3.56 | 11.75 | 0.02 | 0 | 888.87 | 0 | 2.7 | 0.06 | 0.01 | 33.53 | 0
18-19Hr | 36.88 | 21.59 | 0.02 | 80.15 | 0.81 | 0.18 | 0.01 | 0.01 | 15.68 | 89.87 | 3.31 | 11.55 | 0.02 | 0 | 889.41 | 0 | 2.6 | 0.06 | 0.01 | 22.08 | 0
19-20Hr | 37.3 | 22.19 | 0.02 | 80.55 | 1.36 | 0.24 | 0.01 | 0.01 | 15.75 | 83.18 | 3.45 | 11.71 | 0.02 | 0 | 889.78 | 0 | 2.61 | 0.06 | 0.01 | 22.76 | 0
20-21Hr | 37.62 | 22.6 | 0.02 | 85.73 | 1.52 | 0.17 | 0.01 | 0.01 | 15.38 | 90.18 | 3.45 | 11.76 | 0.02 | 0 | 889.96 | 0 | 2.73 | 0.06 | 0.01 | 19.1 | 0
21-22Hr | 36.91 | 22.22 | 0.02 | 85.95 | 1.6 | 0.14 | 0.01 | 0.01 | 15.39 | 90.25 | 3.34 | 11.57 | 0.02 | 0 | 889.73 | 0.01 | 2.64 | 0.06 | 0.01 | 14.02 | 0
22-23Hr | 37.75 | 23.45 | 0.02 | 88.18 | 1.66 | 0.16 | 0.01 | 0.01 | 15.06 | 91.7 | 3.51 | 11.81 | 0.02 | 0 | 889.13 | 0 | 2.74 | 0.06 | 0.01 | 12.25 | 0
23-00Hr | 37.25 | 22.82 | 0.02 | 90.7 | 1.65 | 0.23 | 0.01 | 0.01 | 14.5 | 122.95 | 3.35 | 11.64 | 0.02 | 0 | 888.61 | 0.01 | 2.56 | 0.06 | 0.01 | 10.22 | 0
00-01Hr | 37.24 | 22.9 | 0.02 | 93.72 | 1.77 | 0.11 | 0.01 | 0.01 | 13.88 | 112.47 | 3.38 | 11.62 | 0.02 | 0 | 888.11 | 0 | 2.69 | 0.06 | 0.01 | 9.51 | 0
01-02Hr | 37.2 | 21.84 | 0.02 | 95.67 | 1.7 | 0.22 | 0.01 | 0.01 | 13.62 | 106.92 | 3.28 | 11.65 | 0.02 | 0 | 887.61 | 0 | 2.52 | 0.06 | 0.01 | 9.88 | 0
02-03Hr | 36.61 | 22.52 | 0.02 | 95.79 | 2.09 | 0.07 | 0.01 | 0.01 | 13.64 | 133.25 | 3.29 | 11.46 | 0.02 | 0 | 887.21 | 0 | 2.74 | 0.06 | 0.01 | 13.71 | 0
03-04Hr | 36.48 | 22.5 | 0.02 | 96.4 | 1.88 | 0.16 | 0.01 | 0.01 | 13.05 | 127.82 | 3.37 | 11.41 | 0.02 | 0 | 887.29 | 0.01 | 2.64 | 0.06 | 0.01 | 12.72 | 0
04-05Hr | 36.17 | 22.35 | 0.02 | 96.89 | 1.72 | 0.17 | 0.01 | 0.01 | 12.77 | 117.83 | 3.27 | 11.31 | 0.02 | 0 | 887.73 | 0 | 2.57 | 0.06 | 0.01 | 8.8 | 0
05-06Hr | 35.97 | 22.09 | 0.02 | 88.98 | 1.34 | 0.12 | 0.01 | 0.01 | 15.58 | 102.49 | 3.23 | 11.27 | 0.02 | 0 | 888.45 | 0.01 | 2.58 | 0.06 | 0.01 | 14.14 | 27.35
06-07hr | 35.83 | 22.02 | 0.02 | 69.06 | 1.45 | 0.12 | 0.01 | 0.01 | 20.84 | 96.41 | 3.31 | 11.23 | 0.02 | 0 | 889.16 | 0 | 2.64 | 0.06 | 0.01 | 20.62 | 10.27
Avg | 36.88 | 22.61 | 0.02 | 74.92 | 1.49 | 0.16 | 0.01 | 0.01 | 18.13 | 96.67 | 3.38 | 11.54 | 0.02 | 0 | 888.89 | 0 | 2.65 | 0.06 | 0.01 | 31.15 | 41.11
Min | 35.4 | 21.59 | 0.02 | 47.6 | 0.71 | 0.07 | 0.01 | 0.01 | 12.77 | 70.28 | 3.21 | 11.08 | 0.02 | 0 | 887.21 | 0 | 2.52 | 0.06 | 0.01 | 8.8 | 0
Max | 37.91 | 23.59 | 0.02 | 96.89 | 2.16 | 0.24 | 0.01 | 0.01 | 24.53 | 133.25 | 3.57 | 11.88 | 0.02 | 0 | 891.28 | 0.01 | 2.77 | 0.06 | 0.01 | 63.22 | 179.58
Geom.Mean | 36.88 | 22.61 | 0.02 | 74.92 | 1.49 | 0.16 | 0.01 | 0.01 | 18.13 | 96.67 | 3.38 | 11.54 | 0.02 | 0 | 888.89 | 0 | 2.65 | 0.06 | 0.01 | 31.15 | 41.11
Median | 37.15 | 22.6 | 0.02 | 77.12 | 1.6 | 0.17 | 0.01 | 0.01 | 16.29 | 91.7 | 3.37 | 11.62 | 0.02 | 0 | 888.61 | 0 | 2.65 | 0.06 | 0.01 | 22.76 | 0
Mode | 35.4 | 22.22 | 0.02 | 47.6 | 0.74 | 0.11 | 0.01 | 0.01 | 12.77 | 133.25 | 3.37 | 11.64 | 0.02 | 0 | 887.75 | 0 | 2.74 | 0.06 | 0.01 | 8.8 | 0
Std.Deviation | 0.8 | 0.56 | 0 | 16.79 | 0.41 | 0.05 | 0 | 0 | 4.14 | 15.92 | 0.1 | 0.25 | 0 | 0 | 1.21 | 0 | 0.07 | 0 | 0 | 19.24 | 65.17
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0