## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 29 |  |  |  | Date : 29/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 29/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.06 | 187.73 | 0.02 | 77.7 | 0.48 | 0.18 | 0.01 | 0.01 | 27.36 | NA | 3.37 | 9.29 | 0.02 | 0 | 890.98 | NA | 2.61 | 0.06 | 0.01 | 12.94 | 47.13
07-08Hr | 0.12 | 183.05 | 0.02 | 71.2 | 0.8 | 0.03 | 0.01 | 0.01 | 28.74 | NA | 3.28 | 9.15 | 0.02 | 0 | 891.37 | NA | 2.71 | 0.06 | 0.01 | 12.83 | 26.91
08-09Hr | 0.15 | 188.5 | 0.02 | 74.26 | 0.8 | 0.05 | 0.01 | 0.01 | 27.04 | NA | 3.06 | 9.19 | 0.02 | 0 | 891.4 | NA | 2.56 | 0.06 | 0.01 | 12.29 | 48.51
09-10Hr | 0.08 | 179.59 | 0.02 | 79.46 | 0.96 | 0.1 | 0.01 | 0.01 | 25.62 | NA | 3.24 | 9.4 | 0.02 | 0 | 890.65 | NA | 2.6 | 0.06 | 0.01 | 14.43 | 62.32
10-11Hr | 0.09 | 165.73 | 0.02 | 74.89 | 0.64 | 0.08 | 0.01 | 0.01 | 27.37 | NA | 3.06 | 9.51 | 0.02 | 0 | 889.82 | NA | 2.56 | 0.06 | 0.01 | 12.57 | 104.82
11-12Hr | 0.14 | 194.18 | 0.02 | 60.61 | 0.88 | 0.33 | 0.01 | 0.01 | 30.87 | NA | 3.2 | 9.58 | 0.02 | 0 | 889.02 | NA | 2.28 | 0.06 | 0.01 | 11.77 | 200.34
12-13Hr | 0.14 | 181.14 | 0.02 | 54.28 | 0.72 | 0.18 | 0.01 | 0.01 | 32.73 | NA | 3.19 | 9.58 | 0.02 | 0 | 888.56 | NA | 2.46 | 0.06 | 0.01 | 13.12 | 183.48
13-14Hr | 0.08 | 185.83 | 0.02 | 57.66 | 1.05 | 0.18 | 0.01 | 0.01 | 31.29 | NA | 3.33 | 9.72 | 0.02 | 0 | 888.36 | NA | 2.61 | 0.06 | 0.01 | 13.74 | 133.25
14-15Hr | 0.17 | 170.68 | 0.02 | 71.07 | 1.05 | 0.26 | 0.01 | 0.01 | 28.07 | NA | 3.08 | 9.79 | 0.02 | 0 | 888.53 | NA | 2.38 | 0.06 | 0.01 | 13.18 | 51.86
15-16Hr | 0.03 | 187.09 | 0.02 | 84.97 | 0.56 | 0.13 | 0.01 | 0.01 | 23.99 | NA | 3.33 | 9.69 | 0.02 | 0 | 888.87 | NA | 2.73 | 0.06 | 0.01 | 13.47 | 0.05
16-17Hr | 0.09 | 210.88 | 0.02 | 88.58 | 0.16 | 0.03 | 0.01 | 0.01 | 22.96 | NA | 3.24 | 9.51 | 0.02 | 0 | 889.24 | NA | 2.61 | 0.06 | 0.01 | 9.72 | 0
17-18Hr | 0.2 | 165.15 | 0.02 | 89.6 | 0.24 | 0.23 | 0.01 | 0.01 | 22.6 | NA | 3.17 | 9.69 | 0.02 | 0 | 889.43 | NA | 2.51 | 0.06 | 0.01 | 11.95 | 0
18-19Hr | 0.12 | 177.55 | 0.02 | 90.45 | 0.4 | 0.05 | 0.01 | 0.01 | 22.52 | NA | 2.83 | 9.51 | 0.02 | 0 | 890.14 | NA | 2.31 | 0.06 | 0.01 | 17.01 | 0
19-20Hr | 0.14 | 196.35 | 0.02 | 91.63 | 0.32 | 0.08 | 0.01 | 0.01 | 22.3 | NA | 3.26 | 9.62 | 0.02 | 0 | 890.45 | NA | 2.65 | 0.06 | 0.01 | 10.88 | 0
20-21Hr | 0.15 | 194.81 | 0.02 | 93.11 | 0.24 | 0.26 | 0.01 | 0.01 | 21.97 | NA | 3.42 | 9.47 | 0.02 | 0 | 890.72 | NA | 2.56 | 0.06 | 0.01 | 14.64 | 0
21-22Hr | 0.16 | 193.04 | 0.02 | 94.93 | 0.24 | 0.08 | 0.01 | 0.01 | 21.51 | NA | 2.95 | 9.58 | 0.02 | 0 | 890.75 | NA | 2.44 | 0.06 | 0.01 | 16.98 | 0
22-23Hr | 0.07 | 218.82 | 0.02 | 95.65 | 0.32 | 0.23 | 0.01 | 0.01 | 21.37 | NA | 3.19 | 9.44 | 0.02 | 0 | 890.39 | NA | 2.55 | 0.06 | 0.01 | 17.02 | 0
23-00Hr | 0.14 | 188.63 | 0.02 | 95.64 | 0.48 | 0.33 | 0.01 | 0.01 | 21.27 | NA | 3.28 | 9.44 | 0.02 | 0 | 890.17 | NA | 2.43 | 0.06 | 0.01 | 19.85 | 0
00-01Hr | 0.14 | 193.31 | 0.02 | 95.5 | 0.32 | 0.33 | 0.01 | 0.01 | 21.37 | NA | 3.51 | 9.47 | 0.02 | 0 | 889.97 | NA | 2.56 | 0.06 | 0.01 | 18.21 | 0
01-02Hr | 0.09 | 196.74 | 0.02 | 96.32 | 0.24 | 0.05 | 0.01 | 0.01 | 21.33 | NA | 3.04 | 9.4 | 0.02 | 0.07 | 889.74 | NA | 2.45 | 0.06 | 0.01 | 16.74 | 0
02-03Hr | 0.16 | 205.75 | 0.02 | 98.93 | 0.56 | 0.1 | 0.01 | 0.01 | 21.08 | NA | 3.51 | 9.47 | 0.02 | 0 | 889.72 | NA | 2.66 | 0.06 | 0.01 | 18.45 | 0
03-04Hr | 0.17 | 210.3 | 0.02 | 99.5 | 0.72 | 0.15 | 0.01 | 0.01 | 20.87 | NA | 3.33 | 9.44 | 0.02 | 0 | 889.79 | NA | 2.66 | 0.06 | 0.01 | 17.15 | 0
04-05Hr | 0.08 | 199.63 | 0.02 | 99.5 | 1.05 | 0.23 | 0.01 | 0.01 | 20.86 | NA | 3.31 | 9.37 | 0.02 | 0 | 890.4 | NA | 2.46 | 0.06 | 0.01 | 17.3 | 6.34
05-06Hr | 0.05 | 213.62 | 0.02 | 93.87 | 0.96 | 0.26 | 0.01 | 0.01 | 22.83 | NA | 3.31 | 9.37 | 0.02 | 0 | 890.95 | NA | 2.51 | 0.06 | 0.01 | 13.89 | 49.68
06-07hr | 0.27 | 183.07 | 0.02 | 88.12 | 0.96 | 0.83 | 0.01 | 0.01 | 24.34 | NA | 3.51 | 9.72 | 0.02 | 0 | 891.23 | NA | 2.08 | 0.06 | 0.01 | 10.79 | 55.75
Avg | 0.12 | 190.85 | 0.02 | 84.7 | 0.61 | 0.19 | 0.01 | 0.01 | 24.49 | NA | 3.24 | 9.5 | 0.02 | 0 | 890.03 | NA | 2.52 | 0.06 | 0.01 | 14.44 | 38.82
Min | 0.03 | 165.15 | 0.02 | 54.28 | 0.16 | 0.03 | 0.01 | 0.01 | 20.86 | NA | 2.83 | 9.15 | 0.02 | 0 | 888.36 | NA | 2.08 | 0.06 | 0.01 | 9.72 | 0
Max | 0.27 | 218.82 | 0.02 | 99.5 | 1.05 | 0.83 | 0.01 | 0.01 | 32.73 | NA | 3.51 | 9.79 | 0.02 | 0.07 | 891.4 | NA | 2.73 | 0.06 | 0.01 | 19.85 | 200.34
Geom.Mean | 0.12 | 190.85 | 0.02 | 84.7 | 0.61 | 0.19 | 0.01 | 0.01 | 24.49 | NA | 3.24 | 9.5 | 0.02 | 0 | 890.03 | NA | 2.52 | 0.06 | 0.01 | 14.44 | 38.82
Median | 0.14 | 188.63 | 0.02 | 89.6 | 0.56 | 0.18 | 0.01 | 0.01 | 22.83 | NA | 3.26 | 9.47 | 0.02 | 0 | 890.14 | NA | 2.56 | 0.06 | 0.01 | 13.74 | 0.05
Mode | 0.14 | 165.73 | 0.02 | 99.5 | 0.24 | 0.18 | 0.01 | 0.01 | 21.37 | NA | 3.33 | 9.51 | 0.02 | 0 | 891.4 | NA | 2.56 | 0.06 | 0.01 | 9.72 | 0
Std.Deviation | 0.05 | 14.08 | 0 | 13.56 | 0.3 | 0.17 | 0 | 0 | 3.65 | NA | 0.17 | 0.16 | 0 | 0.01 | 0.9 | NA | 0.15 | 0 | 0 | 2.74 | 58.58
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0