## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 19 |  |  |  | Date : 19/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 19/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 185.03 | 0.02 | 73.32 | 0.48 | 0.05 | 0.01 | 0.01 | 28.26 | NA | 3.29 | 8.69 | 0.02 | 0 | 887.81 | NA | 2.73 | 0.06 | 0.01 | 12.34 | 81.29
07-08Hr | 0 | 237.3 | 0.02 | 79.4 | 0.16 | 0.18 | 0.01 | 0.01 | 27.54 | NA | 3.38 | 8.65 | 0.02 | 0 | 887.95 | NA | 2.53 | 0.06 | 0.01 | 13.29 | 71.65
08-09Hr | 0 | 144.18 | 0.02 | 76.2 | 0.13 | 0.1 | 0.01 | 0.01 | 28.42 | NA | 3.29 | 8.83 | 0.02 | 0 | 887.91 | NA | 2.62 | 0.06 | 0.01 | 16.18 | 91.42
09-10Hr | 0 | 177.89 | 0.02 | 78.67 | 0.78 | 0.13 | 0.01 | 0.01 | 27.8 | NA | 3.38 | 8.8 | 0.02 | 0 | 887.35 | NA | 2.61 | 0.06 | 0.01 | 7.38 | 84.85
10-11Hr | 0 | 183.81 | 0.02 | 78.72 | 0.21 | 0.1 | 0.01 | 0.01 | 27.79 | NA | 3.22 | 8.83 | 0.02 | 0 | 886.52 | NA | 2.61 | 0.06 | 0.01 | 8.92 | 41.35
11-12Hr | 0 | 180.62 | 0.02 | 80.99 | 0.59 | 0.26 | 0.01 | 0.01 | 27.77 | NA | 3.06 | 8.9 | 0.02 | 0 | 885.52 | NA | 2.29 | 0.06 | 0.01 | 12.45 | 47.77
12-13Hr | 0 | 191.4 | 0.02 | 73.87 | 0.75 | 0.23 | 0.01 | 0.01 | 29 | NA | 3.58 | 9.01 | 0.02 | 0 | 884.72 | NA | 2.73 | 0.06 | 0.01 | 13.87 | 97.11
13-14Hr | 0 | 191.08 | 0.02 | 75.97 | 0.75 | 0.1 | 0.01 | 0.01 | 28.42 | NA | 3.11 | 9.12 | 0.02 | 0 | 884.34 | NA | 2.45 | 0.06 | 0.01 | 10.14 | 54.47
14-15Hr | 0 | 170 | 0.02 | 86.54 | 0.64 | 0.21 | 0.01 | 0.01 | 25.93 | NA | 3.13 | 9.08 | 0.02 | 0 | 883.9 | NA | 2.44 | 0.06 | 0.01 | 9.05 | 6.15
15-16Hr | 0 | 168.79 | 0.02 | 90.8 | 0.48 | 0.23 | 0.01 | 0.01 | 25.17 | NA | 3.35 | 9.11 | 0.02 | 0 | 884.11 | NA | 2.56 | 0.06 | 0.01 | 10.16 | 0.81
16-17Hr | 0 | 196.71 | 0.02 | 93.77 | 0.32 | 0.31 | 0.01 | 0.01 | 24.33 | NA | 3.31 | 8.97 | 0.02 | 0 | 884.05 | NA | 2.48 | 0.06 | 0.01 | 11.08 | 0
17-18Hr | 0 | 170.52 | 0.02 | 98.68 | 0.24 | 0.08 | 0.01 | 0.01 | 23.64 | NA | 3.49 | 8.9 | 0.02 | 0 | 884.33 | NA | 2.8 | 0.06 | 0.01 | 14.04 | 0
18-19Hr | 0 | 172.6 | 0.02 | 99.5 | 0.26 | 0.15 | 0.01 | 0.01 | 23.67 | NA | 3.11 | 8.9 | 0.02 | 0 | 885.94 | NA | 2.46 | 0.06 | 0.01 | 14.44 | 0
19-20Hr | 0 | 211.95 | 0.02 | 99.36 | 0.24 | 0.26 | 0.01 | 0.01 | 23.45 | NA | 3.44 | 8.87 | 0.02 | 0 | 886.5 | NA | 2.61 | 0.06 | 0.01 | 15.11 | 0
20-21Hr | 0 | 193.25 | 0.02 | 99.5 | 0.1 | 0.08 | 0.01 | 0.01 | 23.44 | NA | 3.4 | 8.87 | 0.02 | 0 | 886.7 | NA | 2.78 | 0.06 | 0.01 | 17.5 | 0
21-22Hr | 0 | 189.05 | 0.02 | 99.5 | 0.37 | 0.15 | 0.01 | 0.01 | 23 | NA | 3.42 | 8.9 | 0.02 | 0 | 886.5 | NA | 2.7 | 0.06 | 0.01 | 19.49 | 0
22-23Hr | 0 | 217.01 | 0.02 | 99.5 | 0.35 | 0.33 | 0.01 | 0.01 | 22.39 | NA | 3.4 | 8.8 | 0.02 | 0.89 | 886.31 | NA | 2.45 | 0.06 | 0.01 | 17.35 | 0
23-00Hr | 0 | 252.28 | 0.02 | 99.5 | 0.86 | 0.21 | 0.01 | 0.01 | 21.39 | NA | 3.56 | 8.76 | 0.02 | 0.45 | 885.92 | NA | 2.75 | 0.06 | 0.01 | 24.83 | 0
00-01Hr | 0 | 258.83 | 0.02 | 99.5 | 0.37 | 0.03 | 0.01 | 0.01 | 20.95 | NA | 3.04 | 8.62 | 0.02 | 0 | 885.03 | NA | 2.61 | 0.06 | 0.01 | 10.98 | 0
01-02Hr | 0 | 260.14 | 0.02 | 99.5 | 0.62 | 0.05 | 0.01 | 0.01 | 21.15 | NA | 3.47 | 8.8 | 0.02 | 0 | 884.79 | NA | 2.85 | 0.06 | 0.01 | 17.4 | 0
02-03Hr | 0 | 242.2 | 0.02 | 99.5 | 1.1 | 0.39 | 0.01 | 0.01 | 21.1 | NA | 3.83 | 8.76 | 0.02 | 0 | 884.6 | NA | 2.7 | 0.06 | 0.01 | 13.68 | 0
03-04Hr | 0 | 239.42 | 0.02 | 99.5 | 1.1 | 0 | 0.01 | 0.01 | 21.07 | NA | 3.06 | 8.69 | 0.02 | 0 | 884.55 | NA | 2.65 | 0.06 | 0.01 | 12.76 | 0
04-05Hr | 0 | 200.16 | 0.02 | 99.23 | 0.78 | 0.33 | 0.01 | 0.01 | 21.63 | NA | 3.58 | 8.54 | 0.02 | 0 | 884.5 | NA | 2.54 | 0.06 | 0.01 | 12.85 | 12.51
05-06Hr | 0 | 161.43 | 0.02 | 86.28 | 0.35 | 0.13 | 0.01 | 0.01 | 25.55 | NA | 3.17 | 8.54 | 0.02 | 0 | 885.11 | NA | 2.46 | 0.06 | 0.01 | 12.19 | 58.54
06-07hr | 0 | 195.5 | 0.02 | 76.51 | 0.35 | 0.39 | 0.01 | 0.01 | 28.6 | NA | 3.64 | 8.62 | 0.02 | 0 | 885.65 | NA | 2.58 | 0.06 | 0.01 | 14.25 | 80.22
Avg | 0 | 199.65 | 0.02 | 89.75 | 0.5 | 0.18 | 0.01 | 0.01 | 24.86 | NA | 3.35 | 8.82 | 0.02 | 0.05 | 885.62 | NA | 2.6 | 0.06 | 0.01 | 13.67 | 29.13
Min | 0 | 144.18 | 0.02 | 73.32 | 0.1 | 0 | 0.01 | 0.01 | 20.95 | NA | 3.04 | 8.54 | 0.02 | 0 | 883.9 | NA | 2.29 | 0.06 | 0.01 | 7.38 | 0
Max | 0 | 260.14 | 0.02 | 99.5 | 1.1 | 0.39 | 0.01 | 0.01 | 29 | NA | 3.83 | 9.12 | 0.02 | 0.89 | 887.95 | NA | 2.85 | 0.06 | 0.01 | 24.83 | 97.11
Geom.Mean | 0 | 199.65 | 0.02 | 89.75 | 0.5 | 0.18 | 0.01 | 0.01 | 24.86 | NA | 3.35 | 8.82 | 0.02 | 0.05 | 885.62 | NA | 2.6 | 0.06 | 0.01 | 13.67 | 29.13
Median | 0 | 191.4 | 0.02 | 93.77 | 0.37 | 0.15 | 0.01 | 0.01 | 24.33 | NA | 3.38 | 8.83 | 0.02 | 0 | 885.52 | NA | 2.61 | 0.06 | 0.01 | 13.29 | 0.81
Mode | 0 | 258.83 | 0.02 | 99.5 | 0.35 | 0.1 | 0.01 | 0.01 | 28.42 | NA | 3.38 | 8.9 | 0.02 | 0 | 886.5 | NA | 2.61 | 0.06 | 0.01 | 7.38 | 0
Std.Deviation | 0 | 32.12 | 0 | 10.52 | 0.29 | 0.11 | 0 | 0 | 2.88 | NA | 0.2 | 0.16 | 0 | 0.2 | 1.28 | NA | 0.14 | 0 | 0 | 3.76 | 36.82
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0