## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 11 |  |  |  | Date : 11/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 49.94 | 0.16 | 5.79 | 81.23 | 24.87 | 115.97 | 6.81 | 3.23 | 2.59 | 0.11 | 0.06 | 0 | 42.08 | 883.49 | 110.74 | 2.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 51.16 | 0.19 | 5.89 | 78.75 | 25.68 | 122.6 | 6.1 | 3.19 | 2.49 | 0.42 | 0.06 | 0 | 45.91 | 883.48 | 115.32 | 2.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 70.69 | 0.14 | 5.94 | 75.95 | 26.62 | 113.94 | 8.76 | 3.01 | 2.43 | 1.43 | 0.06 | 0 | 48.32 | 883.12 | 163.39 | 6.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 73.95 | 0.2 | 5.94 | 72.26 | 28.2 | 102.78 | 19.86 | 3.19 | 2.45 | 0.74 | 0.06 | 0 | 46.01 | 883.12 | 185.31 | 2.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 66.13 | 0.28 | 6.01 | 71.81 | 28.32 | 101.4 | 8.13 | 3.27 | 2.46 | 0.77 | 0.06 | 0 | 47.76 | 882.79 | 98.12 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 52.22 | 0.21 | 6.01 | 71.13 | 29.11 | 118.99 | 5.19 | 3.22 | 2.49 | 1.5 | 0.06 | 0 | 42.85 | 882.42 | 90.48 | 1.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 64.79 | 0.27 | 6.06 | 67.91 | 30.54 | 102.47 | 4.08 | 3.09 | 2.37 | 1.13 | 0.06 | 0 | 46.17 | 881.9 | 97.38 | 2.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 74.84 | 0.16 | 6.07 | 73.81 | 29.31 | 111.98 | 4 | 3.18 | 2.5 | 1.59 | 0.06 | 0 | 48.19 | 881.11 | 76.34 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 91 | 0.14 | 6.07 | 74.34 | 29.6 | 113.87 | 4.92 | 3.11 | 2.43 | 2.1 | 0.06 | 0 | 48.83 | 880.45 | 74.08 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 77.22 | 0.17 | 6.17 | 82.33 | 27.32 | 111.82 | 5 | 3.24 | 2.49 | 2.42 | 0.06 | 0 | 45.29 | 880.12 | 18.72 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 71 | 0.19 | 6.16 | 91.2 | 25.13 | 104.07 | 6.84 | 3.02 | 2.35 | 3.24 | 0.06 | 0 | 42.67 | 880.27 | 2.23 | 1.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 70.02 | 0.13 | 6.1 | 95.65 | 23.98 | 110.6 | 4.24 | 3.16 | 2.59 | 3.26 | 0.06 | 0 | 43.74 | 880.83 | 0 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 57.21 | 0.17 | 6.11 | 95.71 | 23.78 | 121.91 | 4.9 | 3.19 | 2.49 | 2.69 | 0.06 | 0 | 42.32 | 881.6 | 0 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 59 | 0.24 | 6.06 | 95.59 | 23.73 | 107.49 | 5.92 | 3.29 | 2.47 | 2.34 | 0.06 | 0 | 42.32 | 882.41 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 58.02 | 0.13 | 6.03 | 96.58 | 23.54 | 112.99 | 8.71 | 3.16 | 2.52 | 1.31 | 0.06 | 0.03 | 46 | 883.17 | 0 | 1.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 37.34 | 0.12 | 6.04 | 98.34 | 22.91 | 95.2 | 6.24 | 3.19 | 2.56 | 1.61 | 0.06 | 0.07 | 42.39 | 883.39 | 0 | 1.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 26 | 0.22 | 6.01 | 99.47 | 22.78 | 93.27 | 3.24 | 3.23 | 2.46 | 1.63 | 0.06 | 0.02 | 32.39 | 883.39 | 0 | 1.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 29 | 0.16 | 6 | 99.5 | 22.75 | 132.5 | 3.92 | 3.02 | 2.34 | 1.33 | 0.06 | 0.07 | 32.61 | 883.24 | 0 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 2 | 0.24 | 6 | 99.5 | 22.38 | 118.6 | 3.08 | 3.4 | 2.65 | 1.2 | 0.06 | 0.34 | 51.33 | 882.63 | 0 | 1.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 7.88 | 0.21 | 6 | 99.5 | 22.16 | 122.94 | 0.25 | 3.28 | 2.51 | 1.06 | 0.06 | 0.15 | 50.88 | 882.45 | 0 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 11 | 0.13 | 5.98 | 99.5 | 22.08 | 123.29 | 0 | 3.18 | 2.59 | 0.74 | 0.06 | 0 | 53.23 | 882.18 | 0 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 8 | 0.08 | 5.95 | 99.5 | 21.94 | 119.72 | 0 | 3.08 | 2.53 | 1.29 | 0.06 | 0 | 54.1 | 882 | 0 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 9 | 0.19 | 5.97 | 99.5 | 21.32 | 120.57 | 0 | 3.28 | 2.55 | 0.51 | 0.06 | 0 | 46.15 | 882.18 | 5.21 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 7 | 0.09 | 5.97 | 99.44 | 22.73 | 124.62 | 0 | 3.19 | 2.64 | 0.37 | 0.06 | 0 | 42.85 | 882.53 | 44.23 | 1.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 10 | 0.15 | 5.95 | 92.12 | 25.42 | 129.25 | 0 | 3.16 | 2.46 | 0.95 | 0.06 | 0 | 41.96 | 882.77 | 71.69 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 45.38 | 0.17 | 6.01 | 88.42 | 25.05 | 114.11 | 4.81 | 3.18 | 2.5 | 1.43 | 0.06 | 0.03 | 45.05 | 882.28 | 46.13 | 2.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 2 | 0.08 | 5.79 | 67.91 | 21.32 | 93.27 | 0 | 3.01 | 2.34 | 0.11 | 0.06 | 0 | 32.39 | 880.12 | 0 | 1.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 91 | 0.28 | 6.17 | 99.5 | 30.54 | 132.5 | 19.86 | 3.4 | 2.65 | 3.26 | 0.06 | 0.34 | 54.1 | 883.49 | 185.31 | 6.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 45.38 | 0.17 | 6.01 | 88.42 | 25.05 | 114.11 | 4.81 | 3.18 | 2.5 | 1.43 | 0.06 | 0.03 | 45.05 | 882.28 | 46.13 | 2.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 52.22 | 0.17 | 6.01 | 95.59 | 23.98 | 113.94 | 4.9 | 3.19 | 2.49 | 1.31 | 0.06 | 0 | 45.91 | 882.45 | 5.21 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2 | 0.16 | 6.01 | 99.5 | 21.94 | 129.25 | 0 | 3.19 | 2.49 | 0.74 | 0.06 | 0 | 42.85 | 882.18 | 0 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 27.91 | 0.05 | 0.08 | 11.78 | 2.81 | 10.16 | 4.21 | 0.09 | 0.08 | 0.85 | 0 | 0.07 | 5.17 | 1.03 | 57.55 | 1.09 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0