## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 19 |  |  |  | Date : 19/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 19/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.11 | 186.6 | 0.02 | 76.2 | 0.75 | 0.21 | 0.01 | 0.01 | 27.82 | NA | 3.24 | 8.62 | 0.02 | 0 | 889.93 | NA | 2.45 | 0.06 | 0.01 | 14.5 | 61.47
07-08Hr | 0.07 | 171.98 | 0.02 | 71.88 | 0.96 | 0.18 | 0.01 | 0.01 | 29.23 | NA | 3.13 | 8.8 | 0.02 | 0 | 890.34 | NA | 2.4 | 0.06 | 0.01 | 17.35 | 70.86
08-09Hr | 0.18 | 191.33 | 0.02 | 75.81 | 0.35 | 0.1 | 0.01 | 0.01 | 27.67 | NA | 3.24 | 8.72 | 0.02 | 0 | 890.12 | NA | 2.65 | 0.06 | 0.01 | 13.97 | 120.76
09-10Hr | 0.15 | 207.13 | 0.02 | 84.27 | 0.67 | 0.21 | 0.01 | 0.01 | 25.41 | NA | 3.08 | 8.76 | 0.02 | 0 | 889.68 | NA | 2.34 | 0.06 | 0.01 | 16.24 | 43.47
10-11Hr | 0.11 | 169.9 | 0.02 | 72.2 | 0.56 | 0.18 | 0.01 | 0.01 | 27.75 | NA | 3.28 | 8.94 | 0.02 | 0 | 888.84 | NA | 2.51 | 0.06 | 0.01 | 12.22 | 111.26
11-12Hr | 0.06 | 177.02 | 0.02 | 79.25 | 0.67 | 0.18 | 0.01 | 0.01 | 27.06 | NA | 3.26 | 9.08 | 0.02 | 0 | 887.88 | NA | 2.63 | 0.06 | 0.01 | 13.47 | 49.42
12-13Hr | 0.12 | 173.21 | 0.02 | 82.29 | 0.86 | 0.18 | 0.01 | 0.01 | 26.08 | NA | 3.06 | 9.04 | 0.02 | 0 | 887.02 | NA | 2.43 | 0.06 | 0.01 | 10.63 | 28.99
13-14Hr | 0.06 | 187.22 | 0.02 | 89 | 0.88 | 0.13 | 0.01 | 0.01 | 24.51 | NA | 3.46 | 8.97 | 0.02 | 0 | 886.47 | NA | 2.61 | 0.06 | 0.01 | 10.87 | 13.39
14-15Hr | 0.1 | 186.81 | 0.02 | 90.52 | 0.64 | 0.41 | 0.01 | 0.01 | 23.89 | NA | 3.44 | 9.08 | 0.02 | 0 | 886.52 | NA | 2.45 | 0.06 | 0.01 | 12.1 | 12.36
15-16Hr | 0.1 | 204.43 | 0.02 | 89.11 | 0.59 | 0.59 | 0.01 | 0.01 | 23.84 | NA | 3.58 | 8.94 | 0.02 | 0 | 886.9 | NA | 2.41 | 0.06 | 0.01 | 12.26 | 16
16-17Hr | 0.05 | 186.56 | 0.02 | 93.65 | 0.75 | 0.26 | 0.01 | 0.01 | 22.7 | NA | 3.38 | 8.97 | 0.02 | 0 | 887.06 | NA | 2.56 | 0.06 | 0.01 | 12.37 | 0
17-18Hr | 0.05 | 190.72 | 0.02 | 95.94 | 0.32 | 0.26 | 0.01 | 0.01 | 21.87 | NA | 3.19 | 8.97 | 0.02 | 0 | 887.46 | NA | 2.38 | 0.06 | 0.01 | 13.07 | 0
18-19Hr | 0.16 | 187.83 | 0.02 | 89.09 | 0.61 | 0.1 | 0.01 | 0.01 | 22.09 | NA | 3.17 | 9.01 | 0.02 | 0 | 888.13 | NA | 2.46 | 0.06 | 0.01 | 19.04 | 0
19-20Hr | 0.13 | 197.51 | 0.02 | 85.54 | 1.39 | 0.23 | 0.01 | 0.01 | 22.25 | NA | 3.24 | 8.97 | 0.02 | 0 | 888.49 | NA | 2.41 | 0.06 | 0.01 | 18.78 | 0
20-21Hr | 0.02 | 206.96 | 0.02 | 89.01 | 1.07 | 0.18 | 0.01 | 0.01 | 21.97 | NA | 3.06 | 8.9 | 0.02 | 0 | 888.69 | NA | 2.41 | 0.06 | 0.01 | 14.23 | 0
21-22Hr | 0.06 | 200.75 | 0.02 | 93.21 | 0.48 | 0.15 | 0.01 | 0.01 | 21.38 | NA | 3.42 | 8.9 | 0.02 | 0 | 888.74 | NA | 2.66 | 0.06 | 0.01 | 17.35 | 0
22-23Hr | 0.11 | 189.18 | 0.02 | 94.08 | 0.56 | 0.03 | 0.01 | 0.01 | 21.12 | NA | 3.13 | 8.87 | 0.02 | 0 | 888.73 | NA | 2.55 | 0.06 | 0.01 | 15.38 | 0
23-00Hr | 0.11 | 194.94 | 0.02 | 94.77 | 0.56 | 0.36 | 0.01 | 0.01 | 21.46 | NA | 3.44 | 8.87 | 0.02 | 0 | 888.5 | NA | 2.51 | 0.06 | 0.01 | 20.69 | 0
00-01Hr | 0.22 | 191.79 | 0.02 | 98 | 0.24 | 0.08 | 0.01 | 0.01 | 21.39 | NA | 3.33 | 8.83 | 0.02 | 0 | 888.23 | NA | 2.65 | 0.06 | 0.01 | 20.09 | 0
01-02Hr | 0.15 | 193.44 | 0.02 | 99.49 | 0.3 | 0 | 0.01 | 0.01 | 21.17 | NA | 3.08 | 8.8 | 0.02 | 0 | 888.14 | NA | 2.6 | 0.06 | 0.01 | 24.16 | 0
02-03Hr | 0.03 | 198.42 | 0.02 | 99.47 | 0.24 | 0.18 | 0.01 | 0.01 | 21.05 | NA | 3.29 | 8.65 | 0.02 | 0 | 888.04 | NA | 2.63 | 0.06 | 0.01 | 22.25 | 0
03-04Hr | 0.07 | 200.67 | 0.02 | 98.49 | 0.24 | 0.08 | 0.01 | 0.01 | 20.94 | NA | 3.26 | 8.62 | 0.02 | 0 | 888.21 | NA | 2.81 | 0.06 | 0.01 | 17.53 | 0
04-05Hr | 0.13 | 185.71 | 0.02 | 96.11 | 0.4 | 0.21 | 0.01 | 0.01 | 20.92 | NA | 3.51 | 8.8 | 0.02 | 0 | 888.79 | NA | 2.6 | 0.06 | 0.01 | 21.02 | 5.74
05-06Hr | 0.11 | 180.27 | 0.02 | 91.24 | 0.48 | 0.08 | 0.01 | 0.01 | 21.78 | NA | 3.4 | 8.72 | 0.02 | 0 | 889.28 | NA | 2.68 | 0.06 | 0.01 | 17.43 | 13.87
06-07hr | 0.4 | 200.2 | 0.02 | 86.73 | 0.77 | 0.17 | 0.01 | 0.01 | 22.93 | NA | 2.95 | 8.87 | 0.02 | 0 | 889.78 | NA | 2.33 | 0.07 | 0.01 | 11.94 | 36.54
Avg | 0.11 | 190.42 | 0.02 | 88.61 | 0.61 | 0.19 | 0.01 | 0.01 | 23.53 | NA | 3.26 | 8.87 | 0.02 | 0 | 888.4 | NA | 2.52 | 0.06 | 0.01 | 15.96 | 23.37
Min | 0.02 | 169.9 | 0.02 | 71.88 | 0.24 | 0 | 0.01 | 0.01 | 20.92 | NA | 2.95 | 8.62 | 0.02 | 0 | 886.47 | NA | 2.33 | 0.06 | 0.01 | 10.63 | 0
Max | 0.4 | 207.13 | 0.02 | 99.49 | 1.39 | 0.59 | 0.01 | 0.01 | 29.23 | NA | 3.58 | 9.08 | 0.02 | 0 | 890.34 | NA | 2.81 | 0.07 | 0.01 | 24.16 | 120.76
Geom.Mean | 0.11 | 190.42 | 0.02 | 88.61 | 0.61 | 0.19 | 0.01 | 0.01 | 23.53 | NA | 3.26 | 8.87 | 0.02 | 0 | 888.4 | NA | 2.52 | 0.06 | 0.01 | 15.96 | 23.37
Median | 0.11 | 190.72 | 0.02 | 89.11 | 0.59 | 0.18 | 0.01 | 0.01 | 22.25 | NA | 3.26 | 8.87 | 0.02 | 0 | 888.49 | NA | 2.51 | 0.06 | 0.01 | 15.38 | 5.74
Mode | 0.11 | 169.9 | 0.02 | 71.88 | 0.56 | 0.18 | 0.01 | 0.01 | 20.94 | NA | 3.24 | 8.97 | 0.02 | 0 | 890.12 | NA | 2.41 | 0.06 | 0.01 | 17.35 | 0
Std.Deviation | 0.08 | 10.46 | 0 | 8.38 | 0.28 | 0.12 | 0 | 0 | 2.64 | NA | 0.16 | 0.13 | 0 | 0 | 1.09 | NA | 0.12 | 0 | 0 | 3.81 | 35.02
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0