## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 1 |  |  |  | Date : 01/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/09/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.28 | 8.08 | 77.13 | 27.97 | 201.52 | NA | 3.33 | 2.46 | 0 | 0.06 | 0 | 9.64 | 882.14 | 100.28 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.21 | 8.12 | 79.05 | 27.39 | 188.26 | NA | 3.06 | 2.34 | 0 | 0.06 | 0 | 11.5 | 882.26 | 79.21 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.15 | 8.26 | 73.61 | 28.76 | 189.97 | NA | 3.42 | 2.68 | 0 | 0.06 | 0 | 10.85 | 882.08 | 142.1 | 6.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.28 | 8.19 | 70.35 | 30.05 | 167.55 | NA | 3.22 | 2.55 | 0 | 0.06 | 0 | 9.25 | 881.79 | 174.25 | 1.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.08 | 8.29 | 67.38 | 31.1 | 197.17 | NA | 2.93 | 2.34 | 0 | 0.06 | 0 | 9.01 | 881.42 | 190.95 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.16 | 8.37 | 66.35 | 31.56 | 192.4 | NA | 3.15 | 2.53 | 0 | 0.07 | 0 | 7.12 | 880.81 | 165.94 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.21 | 8.4 | 61.79 | 31.66 | 211.99 | NA | 3.42 | 2.68 | 0 | 0.06 | 0 | 12.84 | 880.26 | 114.71 | 0.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.18 | 8.54 | 63.8 | 31.56 | 224.77 | NA | 3.42 | 2.71 | 0 | 0.06 | 0 | 5.35 | 880.11 | 112.72 | 0.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.23 | 8.65 | 63.7 | 31.25 | 196.71 | NA | 3.04 | 2.29 | 0 | 0.06 | 0 | 8.56 | 879.93 | 92.42 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.13 | 8.58 | 67.94 | 28.96 | 189.2 | NA | 3.33 | 2.66 | 0 | 0.06 | 0 | 10.23 | 879.9 | 9.64 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.23 | 8.62 | 67.81 | 27.51 | 173.96 | NA | 3.19 | 2.56 | 0 | 0.06 | 0 | 6.48 | 879.76 | 0 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.49 | 8.58 | 73.13 | 26.63 | 189.7 | NA | 3.49 | 2.38 | 0 | 0.06 | 0 | 8.36 | 880.79 | 0 | 1.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.15 | 8.43 | 78.44 | 25.8 | 164.32 | NA | 3.15 | 2.4 | 0 | 0.06 | 0 | 7.58 | 881.69 | 0 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.15 | 8.43 | 80.68 | 25.12 | 170.51 | NA | 3.33 | 2.76 | 0 | 0.06 | 0 | 6.62 | 882.17 | 0 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.26 | 8.43 | 80.55 | 24.83 | 202.94 | NA | 3.24 | 2.48 | 0 | 0.06 | 0 | 8.03 | 882.46 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.08 | 8.33 | 78.41 | 24.7 | 222.54 | NA | 3.06 | 2.51 | 0 | 0.06 | 0 | 11.54 | 882.74 | 0 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.1 | 8.4 | 79.34 | 24.33 | 179.14 | NA | 3.04 | 2.41 | 0 | 0.06 | 0 | 8.65 | 882.54 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.18 | 8.33 | 79.69 | 23.96 | 166 | NA | 3.22 | 2.41 | 0 | 0.06 | 0 | 11.32 | 882.35 | 0 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.41 | 8.47 | 81.13 | 23.58 | 201.2 | NA | 3.58 | 2.63 | 0 | 0.06 | 0 | 14.91 | 882.04 | 0 | 1.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.31 | 8.29 | 82.54 | 23.31 | 168.07 | NA | 3.22 | 2.43 | 0 | 0.06 | 0 | 10.07 | 881.78 | 0 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0 | 8.25 | 83.56 | 22.94 | 205.55 | NA | 2.99 | 2.63 | 0 | 0.06 | 0 | 9.67 | 882.31 | 0 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.1 | 8.19 | 81.57 | 23.21 | 196.94 | NA | 3.33 | 2.77 | 0 | 0.06 | 0 | 10 | 882.66 | 0 | 1.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.18 | 8.19 | 82.01 | 23.37 | 153.42 | NA | 3.38 | 2.78 | 0 | 0.06 | 0 | 5.93 | 882.9 | 2.37 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.23 | 8.15 | 83.46 | 23.36 | 184.88 | NA | 3.4 | 2.55 | 0 | 0.06 | 0 | 12.09 | 883.4 | 10.43 | 0.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.48 | 8.1 | 79.8 | 24.58 | 187.57 | NA | 3.48 | 2.46 | 0 | 0.06 | 0 | 19.21 | 884.12 | 32.98 | 0.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.21 | 8.35 | 75.33 | 26.7 | 189.05 | NA | 3.26 | 2.54 | 0 | 0.06 | 0 | 9.79 | 881.78 | 49.12 | 1.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0 | 8.08 | 61.79 | 22.94 | 153.42 | NA | 2.93 | 2.29 | 0 | 0.06 | 0 | 5.35 | 879.76 | 0 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.49 | 8.65 | 83.56 | 31.66 | 224.77 | NA | 3.58 | 2.78 | 0 | 0.07 | 0 | 19.21 | 884.12 | 190.95 | 6.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.21 | 8.35 | 75.33 | 26.7 | 189.05 | NA | 3.26 | 2.54 | 0 | 0.06 | 0 | 9.79 | 881.78 | 49.12 | 1.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.18 | 8.33 | 78.44 | 25.8 | 189.7 | NA | 3.24 | 2.53 | 0 | 0.06 | 0 | 9.64 | 882.08 | 2.37 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.15 | 8.19 | 79.8 | 31.56 | 153.42 | NA | 3.33 | 2.68 | 0 | 0.06 | 0 | 5.35 | 879.9 | 0 | 0.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.12 | 0.17 | 7.04 | 3.12 | 18.14 | NA | 0.17 | 0.15 | 0 | 0 | 0 | 3 | 1.15 | 66.54 | 1.2 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0