## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 26 |  |  |  | Date : 26/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 26/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 1 | 0.26 | 4.91 | 99.5 | 22.19 | 181.07 | 0 | 3.28 | 2.49 | 0.87 | 0.06 | 0 | 7.86 | 885.48 | 43.96 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 1 | 0.17 | 4.91 | 97.99 | 23.32 | 121.25 | 0 | 3.21 | 2.53 | 1.35 | 0.06 | 0 | 7.46 | 885.91 | 56.85 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 7 | 0.12 | 4.91 | 94.86 | 23.96 | 108.51 | 0 | 3.21 | 2.55 | 1.18 | 0.06 | 0 | 7.59 | 886.03 | 56.14 | 1.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 65 | 0.16 | 4.94 | 90.09 | 25.04 | 124.61 | 0 | 3.13 | 2.48 | 1 | 0.06 | 0.02 | 9 | 885.73 | 89.2 | 1.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 16 | 0.16 | 4.96 | 80.71 | 27.04 | 129.1 | 0 | 3.18 | 2.54 | 1.43 | 0.06 | 0 | 18.03 | 885.33 | 156.54 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 25 | 0.15 | 5 | 73 | 29.43 | 108.76 | 0 | 3.17 | 2.49 | 1.54 | 0.06 | 0 | 8.85 | 884.84 | 136.35 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 35 | 0.2 | 5.12 | 75.29 | 29.21 | 124.7 | 0.97 | 3.23 | 2.51 | 0.95 | 0.06 | 0 | 8.55 | 883.83 | 122.1 | 1.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 41 | 0.12 | 5.1 | 78.34 | 28.38 | 112.75 | 0.03 | 3.18 | 2.62 | 1.22 | 0.06 | 0 | 7.81 | 883.28 | 83.56 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 32 | 0.14 | 5.14 | 74.38 | 28.98 | 124.89 | 0 | 3.3 | 2.62 | 1.38 | 0.06 | 0 | 8.54 | 883 | 89.2 | 1.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 37.38 | 0.13 | 5.15 | 82.61 | 25.94 | 132.51 | 0.97 | 3.11 | 2.51 | 1.64 | 0.06 | 0.01 | 7.81 | 882.86 | 23.42 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 21.65 | 0.22 | 5.14 | 84.38 | 24.65 | 142.7 | 1 | 3.38 | 2.58 | 2.35 | 0.06 | 0 | 9.46 | 883.18 | 9.69 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 24.6 | 0.13 | 5.16 | 89.34 | 23.81 | 138.04 | 0.03 | 3.17 | 2.55 | 2.24 | 0.06 | 0 | 8.98 | 883.76 | 0 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 26 | 0.25 | 5.13 | 91.66 | 23.24 | 123.88 | 0 | 3.28 | 2.51 | 1.96 | 0.06 | 0 | 8.57 | 884.14 | 0 | 2.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 16 | 0.22 | 5.11 | 93.22 | 22.83 | 128.86 | 0 | 3.26 | 2.54 | 1.77 | 0.06 | 0 | 7.77 | 884.42 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 10 | 0.16 | 5.1 | 96.69 | 22.03 | 141.43 | 0 | 3.23 | 2.54 | 1.37 | 0.06 | 0 | 6.98 | 884.71 | 0 | 3.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 6 | 0.27 | 5.09 | 94.01 | 22.05 | 131.51 | 0 | 3.34 | 2.51 | 1.04 | 0.06 | 0 | 6.93 | 884.48 | 0 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 10 | 0.13 | 5.07 | 88.14 | 22.21 | 178.62 | 0 | 3.09 | 2.52 | 0.9 | 0.06 | 0 | 6.6 | 884.19 | 0 | 3.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 28 | 0.23 | 5.1 | 88.64 | 21.99 | 161.92 | 0 | 3.27 | 2.53 | 0.58 | 0.06 | 0 | 6.52 | 883.99 | 0 | 3.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 25 | 0.2 | 5.07 | 89.24 | 21.85 | 142.98 | 0 | 3.19 | 2.45 | 0.65 | 0.06 | 0 | 6.57 | 883.71 | 0 | 3.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 27 | 0.13 | 4.96 | 90.61 | 21.85 | 167.37 | 0 | 3.24 | 2.58 | 0.61 | 0.06 | 0 | 11.8 | 883.75 | 0 | 3.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 23 | 0.1 | 4.95 | 94.89 | 21.42 | 187.43 | 1.93 | 3.18 | 2.56 | 1.07 | 0.06 | 0 | 15.52 | 883.39 | 0 | 3.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 16 | 0.16 | 4.98 | 97.29 | 20.9 | 206.21 | 2.97 | 3.15 | 2.47 | 2.13 | 0.06 | 0 | 7.9 | 883.35 | 0 | 3.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 17 | 0.17 | 4.94 | 94.43 | 21.64 | 205.37 | 2.03 | 3.24 | 2.55 | 0.58 | 0.06 | 0 | 8.27 | 883.74 | 23.7 | 2.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 22.63 | 0.25 | 4.92 | 90.58 | 22.84 | 167.93 | 0.07 | 3.37 | 2.6 | 0.13 | 0.06 | 0 | 6 | 884.13 | 48.58 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 17 | 0.18 | 4.96 | 88.63 | 23.5 | 171.82 | 0 | 3.21 | 2.52 | 0.06 | 0.06 | 0 | 6.12 | 884.49 | 30.29 | 2.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 22.01 | 0.18 | 5.03 | 88.74 | 24.01 | 146.57 | 0.4 | 3.22 | 2.53 | 1.2 | 0.06 | 0 | 8.62 | 884.23 | 38.78 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1 | 0.1 | 4.91 | 73 | 20.9 | 108.51 | 0 | 3.09 | 2.45 | 0.06 | 0.06 | 0 | 6 | 882.86 | 0 | 1.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 65 | 0.27 | 5.16 | 99.5 | 29.43 | 206.21 | 2.97 | 3.38 | 2.62 | 2.35 | 0.06 | 0.02 | 18.03 | 886.03 | 156.54 | 3.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 22.01 | 0.18 | 5.03 | 88.74 | 24.01 | 146.57 | 0.4 | 3.22 | 2.53 | 1.2 | 0.06 | 0 | 8.62 | 884.23 | 38.78 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 22.63 | 0.16 | 5.07 | 90.09 | 23.24 | 138.04 | 0 | 3.21 | 2.53 | 1.18 | 0.06 | 0 | 7.86 | 884.13 | 23.42 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 16 | 0.16 | 4.96 | 88.63 | 21.85 | 128.86 | 0 | 3.21 | 2.51 | 0.58 | 0.06 | 0 | 7.81 | 883.28 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 13.89 | 0.05 | 0.09 | 7.57 | 2.65 | 29.18 | 0.81 | 0.07 | 0.04 | 0.61 | 0 | 0 | 2.77 | 0.91 | 48.35 | 0.79 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0