## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 11 |  |  |  | Date : 11/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.08 | 203.17 | 0.02 | 79.64 | 1.13 | 0.1 | 0.01 | 0.01 | 22.54 | NA | 3.49 | 9.65 | 0.02 | 0 | 889.24 | NA | 2.75 | 0.06 | 0.01 | 9.36 | 25.45
07-08Hr | 0.14 | 197.09 | 0.02 | 71.83 | 1.05 | 0.1 | 0.01 | 0.01 | 24.14 | NA | 3.35 | 9.72 | 0.02 | 0 | 889.83 | NA | 2.73 | 0.06 | 0.01 | 10.03 | 43.26
08-09Hr | 0.09 | 213.06 | 0.02 | 64.43 | 0.72 | 0.03 | 0.01 | 0.01 | 24.76 | NA | 3.31 | 9.87 | 0.02 | 0 | 889.76 | NA | 2.76 | 0.06 | 0.01 | 13.37 | 171.23
09-10Hr | 0.17 | 128.09 | 0.02 | 57.77 | 0.88 | 0.18 | 0.01 | 0.01 | 26.45 | NA | 3.13 | 10.05 | 0.02 | 0 | 889.15 | NA | 2.45 | 0.06 | 0.01 | 34.61 | 193.86
10-11Hr | 0.17 | 50.5 | 0.02 | 43.63 | 1.74 | 0.21 | 0.01 | 0.01 | 27.1 | NA | 3.15 | 10.26 | 0.02 | 0 | 888.6 | NA | 2.45 | 0.06 | 0.01 | 67.95 | 200.12
11-12Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
12-13Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
13-14Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
14-15Hr | NA | 34.44 | NA | 61.56 | NA | NA | NA | NA | 22.83 | NA | NA | NA | NA | 0 | 887.39 | NA | NA | NA | NA | 51.33 | 0.31
15-16Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16-17Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
17-18Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
18-19Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
19-20Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
20-21Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
21-22Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
22-23Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
23-00Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
00-01Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
01-02Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
02-03Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
03-04Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
04-05Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
05-06Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 0.13 | 137.72 | 0.02 | 63.14 | 1.1 | 0.12 | 0.01 | 0.01 | 24.64 | NA | 3.29 | 9.91 | 0.02 | 0 | 889 | NA | 2.63 | 0.06 | 0.01 | 31.11 | 105.7
Min | 0.08 | 34.44 | 0.02 | 43.63 | 0.72 | 0.03 | 0.01 | 0.01 | 22.54 | NA | 3.13 | 9.65 | 0.02 | 0 | 887.39 | NA | 2.45 | 0.06 | 0.01 | 9.36 | 0.31
Max | 0.17 | 213.06 | 0.02 | 79.64 | 1.74 | 0.21 | 0.01 | 0.01 | 27.1 | NA | 3.49 | 10.26 | 0.02 | 0 | 889.83 | NA | 2.76 | 0.06 | 0.01 | 67.95 | 200.12
Geom.Mean | 0.13 | 137.72 | 0.02 | 63.14 | 1.1 | 0.12 | 0.01 | 0.01 | 24.64 | NA | 3.29 | 9.91 | 0.02 | 0 | 889 | NA | 2.63 | 0.06 | 0.01 | 31.11 | 105.7
Median | 0.14 | 162.59 | 0.02 | 63 | 1.05 | 0.1 | 0.01 | 0.01 | 24.45 | NA | 3.31 | 9.87 | 0.02 | 0 | 889.19 | NA | 2.73 | 0.06 | 0.01 | 23.99 | 107.24
Mode | 0.17 | 128.09 | 0.02 | 64.43 | 0.72 | 0.1 | 0.01 | 0.01 | 22.54 | NA | 3.35 | 9.65 | 0.02 | 0 | 889.76 | NA | 2.45 | 0.06 | 0.01 | 34.61 | 0.31
Std.Deviation | 0.04 | 79.81 | 0 | 12.34 | 0.39 | 0.07 | 0 | 0 | 1.86 | NA | 0.15 | 0.25 | 0 | 0 | 0.91 | NA | 0.16 | 0 | 0 | 24.54 | 92.12
Valid Data Points | 5 | 6 | 5 | 6 | 5 | 5 | 5 | 5 | 6 | NA | 5 | 5 | 5 | 6 | 6 | NA | 5 | 5 | 5 | 6 | 6
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 20 | 24 | 20 | 24 | 20 | 20 | 20 | 20 | 24 | NA | 20 | 20 | 20 | 24 | 24 | NA | 20 | 20 | 20 | 24 | 24
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0