## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 14 |  |  |  | Date : 14/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 256.16 | 0.02 | 99.5 | 0.75 | 0.33 | 0.01 | 0.01 | 20.95 | NA | 3.38 | 7.97 | 0.02 | 0.01 | 888.66 | NA | 2.55 | 0.06 | 0.01 | 18.91 | 1.62
07-08Hr | 0 | 266.49 | 0.02 | 99.5 | 1.23 | 0.28 | 0.01 | 0.01 | 20.81 | NA | 3.47 | 7.9 | 0.02 | 0.12 | 888.97 | NA | 2.65 | 0.06 | 0.01 | 20.39 | 5.78
08-09Hr | 0 | 263.73 | 0.02 | 99.5 | 0.99 | 0.1 | 0.01 | 0.01 | 20.76 | NA | 3.08 | 7.79 | 0.02 | 0.19 | 888.99 | NA | 2.43 | 0.06 | 0.01 | 20.51 | 9.46
09-10Hr | 0 | 265.73 | 0.02 | 99.5 | 0.91 | 0.15 | 0.01 | 0.01 | 20.75 | NA | 3.22 | 7.94 | 0.02 | 0.39 | 888.65 | NA | 2.59 | 0.06 | 0.01 | 21.99 | 10.69
10-11Hr | 0 | 245.55 | 0.02 | 99.5 | 1.23 | 0.1 | 0.01 | 0.01 | 20.7 | NA | 3.4 | 7.97 | 0.02 | 0.93 | 888.17 | NA | 2.75 | 0.06 | 0.01 | 18.55 | 13.41
11-12Hr | 0 | 258.61 | 0.02 | 99.5 | 0.99 | 0.31 | 0.01 | 0.01 | 21.37 | NA | 3.35 | 7.97 | 0.02 | 0.14 | 887.42 | NA | 2.48 | 0.06 | 0.01 | 20.13 | 24.16
12-13Hr | 0 | 268.97 | 0.02 | 99.5 | 0.59 | 0.18 | 0.01 | 0.01 | 21.58 | NA | 3.08 | 8.05 | 0.02 | 0.06 | 886.74 | NA | 2.46 | 0.06 | 0.01 | 19.22 | 8.05
13-14Hr | 0 | 257.31 | 0.02 | 99.5 | 0.54 | 0.05 | 0.01 | 0.01 | 21.43 | NA | 3.24 | 7.94 | 0.02 | 0.03 | 886.23 | NA | 2.61 | 0.06 | 0.01 | 20.25 | 8.45
14-15Hr | 0 | 255.49 | 0.02 | 99.5 | 0.11 | 0.05 | 0.01 | 0.01 | 21.33 | NA | 2.99 | 7.94 | 0.02 | 0 | 885.95 | NA | 2.66 | 0.06 | 0.01 | 21.96 | 4.78
15-16Hr | 0 | 262.67 | 0.02 | 99.5 | 0.24 | 0.28 | 0.01 | 0.01 | 21.11 | NA | 3.67 | 7.87 | 0.02 | 0.01 | 886.09 | NA | 2.76 | 0.06 | 0.01 | 18.08 | 0
16-17Hr | 0 | 255.14 | 0.02 | 99.5 | 0.32 | 0.08 | 0.01 | 0.01 | 20.51 | NA | 3.1 | 8.01 | 0.02 | 0 | 886.47 | NA | 2.48 | 0.06 | 0.01 | 14.66 | 0
17-18Hr | 0 | 267.15 | 0.02 | 99.5 | 0.99 | 0.18 | 0.01 | 0.01 | 20.29 | NA | 3.31 | 7.97 | 0.02 | 0 | 887.14 | NA | 2.61 | 0.06 | 0.01 | 16.94 | 0
18-19Hr | 0 | 240.52 | 0.02 | 99.5 | 0.91 | 0 | 0.01 | 0.01 | 20.22 | NA | 3.19 | 7.97 | 0.02 | 0 | 887.94 | NA | 2.61 | 0.06 | 0.01 | 14.35 | 0
19-20Hr | 0 | 218.51 | 0.02 | 99.5 | 0.99 | 0.38 | 0.01 | 0.01 | 20.22 | NA | 3.71 | 7.94 | 0.02 | 0 | 888.25 | NA | 2.71 | 0.07 | 0.01 | 17.98 | 0
20-21Hr | 0 | 208.99 | 0.02 | 99.5 | 1.31 | 0.15 | 0.01 | 0.01 | 20.2 | NA | 3.17 | 7.9 | 0.02 | 0 | 888.2 | NA | 2.61 | 0.06 | 0.01 | 16.27 | 0
21-22Hr | 0 | 198.13 | 0.02 | 98.85 | 1.31 | 0.05 | 0.01 | 0.01 | 20.54 | NA | 3.11 | 7.94 | 0.02 | 0 | 887.91 | NA | 2.56 | 0.06 | 0.01 | 15.95 | 0
22-23Hr | 0 | 202.06 | 0.02 | 99.46 | 0.99 | 0.08 | 0.01 | 0.01 | 20.46 | NA | 3.17 | 7.83 | 0.02 | 0 | 887.82 | NA | 2.53 | 0.06 | 0.01 | 16.99 | 0
23-00Hr | 0 | 197.86 | 0.02 | 99.5 | 0.91 | 0.1 | 0.01 | 0.01 | 20.44 | NA | 3.33 | 7.9 | 0.02 | 0 | 887.27 | NA | 2.63 | 0.06 | 0.01 | 17.87 | 0
00-01Hr | 0 | 193.32 | 0.02 | 99.5 | 0.75 | 0.26 | 0.01 | 0.01 | 20.44 | NA | 3.38 | 7.9 | 0.02 | 0 | 886.71 | NA | 2.53 | 0.06 | 0.01 | 17.35 | 0
01-02Hr | 0 | 200.08 | 0.02 | 99.5 | 0.91 | 0.28 | 0.01 | 0.01 | 20.43 | NA | 3.42 | 7.83 | 0.02 | 0 | 886.25 | NA | 2.58 | 0.06 | 0.01 | 19.95 | 0
02-03Hr | 0 | 189.29 | 0.02 | 99.5 | 1.23 | 0.13 | 0.01 | 0.01 | 20.44 | NA | 3.13 | 7.76 | 0.02 | 0 | 886.09 | NA | 2.5 | 0.06 | 0.01 | 21.34 | 0
03-04Hr | 0 | 211.62 | 0.02 | 99.5 | 1.23 | 0.28 | 0.01 | 0.01 | 20.37 | NA | 3.76 | 7.76 | 0.02 | 0 | 886.41 | NA | 2.78 | 0.06 | 0.01 | 21.29 | 0
04-05Hr | 0 | 202.58 | 0.02 | 99.5 | 1.15 | 0.13 | 0.01 | 0.01 | 20.36 | NA | 3.29 | 7.83 | 0.02 | 0 | 886.76 | NA | 2.61 | 0.06 | 0.01 | 20.48 | 0.05
05-06Hr | 0 | 192.46 | 0.02 | 97.34 | 1.47 | 0.28 | 0.01 | 0.01 | 20.9 | NA | 3.31 | 7.65 | 0.02 | 0 | 887.45 | NA | 2.38 | 0.06 | 0.01 | 15.11 | 13.15
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 0 | 232.43 | 0.02 | 99.38 | 0.92 | 0.18 | 0.01 | 0.01 | 20.69 | NA | 3.3 | 7.9 | 0.02 | 0.08 | 887.36 | NA | 2.59 | 0.06 | 0.01 | 18.61 | 4.15
Min | 0 | 189.29 | 0.02 | 97.34 | 0.11 | 0 | 0.01 | 0.01 | 20.2 | NA | 2.99 | 7.65 | 0.02 | 0 | 885.95 | NA | 2.38 | 0.06 | 0.01 | 14.35 | 0
Max | 0 | 268.97 | 0.02 | 99.5 | 1.47 | 0.38 | 0.01 | 0.01 | 21.58 | NA | 3.76 | 8.05 | 0.02 | 0.93 | 888.99 | NA | 2.78 | 0.07 | 0.01 | 21.99 | 24.16
Geom.Mean | 0 | 232.43 | 0.02 | 99.38 | 0.92 | 0.18 | 0.01 | 0.01 | 20.69 | NA | 3.3 | 7.9 | 0.02 | 0.08 | 887.36 | NA | 2.59 | 0.06 | 0.01 | 18.61 | 4.15
Median | 0 | 243.04 | 0.02 | 99.5 | 0.99 | 0.15 | 0.01 | 0.01 | 20.52 | NA | 3.3 | 7.92 | 0.02 | 0 | 887.35 | NA | 2.6 | 0.06 | 0.01 | 18.73 | 0
Mode | 0 | 256.16 | 0.02 | 99.5 | 0.99 | 0.28 | 0.01 | 0.01 | 20.44 | NA | 3.38 | 7.94 | 0.02 | 0 | 886.09 | NA | 2.61 | 0.06 | 0.01 | 14.66 | 0
Std.Deviation | 0 | 30.4 | 0 | 0.45 | 0.35 | 0.11 | 0 | 0 | 0.41 | NA | 0.2 | 0.09 | 0 | 0.2 | 0.98 | NA | 0.1 | 0 | 0 | 2.3 | 6.33
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | 24 | 24
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | 96 | 96
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0