## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 1 |  |  |  | Date : 01/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 3 | 0.15 | 5.15 | 99.5 | 22.65 | 266.56 | 0 | 3.33 | 2.64 | 1.39 | 0.06 | 0 | 13.55 | 881.3 | 48.66 | 1.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 3 | 0.18 | 5.14 | 94.61 | 24.79 | 238.29 | 0.03 | 3.25 | 2.54 | 1.47 | 0.06 | 0 | 6.23 | 881.4 | 111.11 | 1.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 9 | 0.23 | 5.15 | 82.86 | 27.2 | 203.88 | 0 | 3.22 | 2.49 | 4.93 | 0.06 | 0 | 7.12 | 881.59 | 192.41 | 4.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 38 | 0.17 | 5.2 | 76.27 | 28.59 | 144.82 | 6.52 | 3.2 | 2.52 | 7.24 | 0.06 | 0 | 6.8 | 881.55 | 177.62 | 9.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 26.2 | 0.26 | 5.37 | 77.16 | 29.07 | 175.6 | 7 | 3.22 | 2.49 | 4.72 | 0.06 | 0 | 7.94 | 881.18 | 115.83 | 2.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 23 | 0.16 | 5.45 | 77.7 | 28.69 | 178.6 | 2.34 | 3.16 | 2.5 | 2.78 | 0.06 | 0 | 5.84 | 880.49 | 44.38 | 1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 26 | 0.17 | 5.62 | 76.5 | 28.42 | 186.88 | 2.93 | 3.05 | 2.45 | 4.09 | 0.06 | 0 | 6.58 | 879.76 | 121.78 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 14 | 0.24 | 5.66 | 78.42 | 28.51 | 192.68 | 2.07 | 3.28 | 2.53 | 3.01 | 0.06 | 0 | 5.93 | 879.27 | 44.62 | 1.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 30 | 0.18 | 5.67 | 93.47 | 24.98 | 192.16 | 0.14 | 3.11 | 2.45 | 3.36 | 0.06 | 0.31 | 9.27 | 879.02 | 0.18 | 1.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 27 | 0.16 | 5.78 | 99.18 | 23.47 | 224.15 | 0 | 3.16 | 2.55 | 3.54 | 0.06 | 0.09 | 8.19 | 879.34 | 0 | 1.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 7 | 0.21 | 5.82 | 99.5 | 22.81 | 217.29 | 0 | 3.09 | 2.44 | 3.24 | 0.06 | 0.32 | 9.18 | 879.89 | 0 | 1.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 4 | 0.12 | 5.75 | 99.5 | 22.13 | 207.36 | 0 | 3.19 | 2.58 | 1.95 | 0.06 | 0.03 | 7.8 | 880.08 | 0 | 2.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 7 | 0.18 | 5.72 | 99.5 | 21.95 | 213.13 | 0 | 3.2 | 2.55 | 1.96 | 0.06 | 0 | 5.47 | 880.62 | 0 | 2.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 7 | 0.23 | 5.65 | 99.5 | 21.81 | 214.53 | 0.03 | 3.35 | 2.57 | 1.58 | 0.06 | 0 | 7.78 | 881.28 | 0 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 3 | 0.19 | 5.72 | 99.5 | 21.76 | 238.31 | 0 | 3.27 | 2.55 | 1.28 | 0.06 | 0 | 8.6 | 881.78 | 0 | 1.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 2 | 0.12 | 5.74 | 99.5 | 21.67 | 208.06 | 0 | 3.07 | 2.58 | 1 | 0.06 | 0 | 6.29 | 881.78 | 0 | 1.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 4 | 0.21 | 5.72 | 99.41 | 21.62 | 177.64 | 0 | 3.25 | 2.53 | 0.95 | 0.06 | 0 | 6.69 | 881.44 | 0 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 3 | 0.24 | 5.7 | 98.6 | 21.64 | 191.82 | 0 | 3.29 | 2.53 | 0.59 | 0.06 | 0 | 10.46 | 881.04 | 0 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 6 | 0.13 | 5.72 | 99.45 | 21.31 | 211.51 | 0 | 3.26 | 2.64 | 1.1 | 0.06 | 0 | 25.23 | 880.78 | 0 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 5 | 0.18 | 5.72 | 98.94 | 21.5 | 168.32 | 0 | 3.24 | 2.55 | 2.05 | 0.06 | 0 | 10.06 | 880.66 | 0 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 1 | 0.19 | 5.67 | 99.5 | 21.42 | 202.06 | 0 | 3.24 | 2.61 | 0.45 | 0.06 | 0 | 6.61 | 880.55 | 0 | 1.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 0 | 0.17 | 5.71 | 99.5 | 21.6 | 172.3 | 0 | 3.32 | 2.59 | 0.31 | 0.06 | 0 | 6.82 | 880.77 | 0 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 0 | 0.17 | 5.66 | 99.5 | 21.84 | 169.78 | 0 | 3.31 | 2.62 | 0.3 | 0.06 | 0 | 9.47 | 881.27 | 13.69 | 1.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 0 | 0.18 | 5.69 | 99.46 | 22.67 | 146.45 | 0 | 3.3 | 2.59 | 1.61 | 0.06 | 0 | 7.73 | 881.85 | 44.77 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 6 | 0.05 | 5.69 | 98.38 | 23.76 | 133.38 | 0 | 3.11 | 2.6 | 2.02 | 0.06 | 0 | 6.55 | 882.29 | 78.08 | 1.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 10.17 | 0.18 | 5.59 | 93.82 | 23.83 | 195.02 | 0.84 | 3.22 | 2.55 | 2.28 | 0.06 | 0.03 | 8.49 | 880.84 | 39.73 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.05 | 5.14 | 76.27 | 21.31 | 133.38 | 0 | 3.05 | 2.44 | 0.3 | 0.06 | 0 | 5.47 | 879.02 | 0 | 1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 38 | 0.26 | 5.82 | 99.5 | 29.07 | 266.56 | 7 | 3.35 | 2.64 | 7.24 | 0.06 | 0.32 | 25.23 | 882.29 | 192.41 | 9.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 10.17 | 0.18 | 5.59 | 93.82 | 23.83 | 195.02 | 0.84 | 3.22 | 2.55 | 2.28 | 0.06 | 0.03 | 8.49 | 880.84 | 39.73 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6 | 0.18 | 5.69 | 99.41 | 22.65 | 192.68 | 0 | 3.24 | 2.55 | 1.95 | 0.06 | 0 | 7.73 | 881.04 | 0 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 3 | 0.18 | 5.72 | 99.5 | 21.81 | 133.38 | 0 | 3.25 | 2.55 | 0.95 | 0.06 | 0 | 5.84 | 881.78 | 0 | 1.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 11.13 | 0.05 | 0.21 | 9.17 | 2.81 | 31.11 | 1.96 | 0.08 | 0.06 | 1.68 | 0 | 0.09 | 3.93 | 0.87 | 59.28 | 1.79 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0