## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 4 |  |  |  | Date : 04/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 04/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.05 | 193.99 | 0.02 | 88.09 | 1.37 | 0.18 | 0.01 | 0.01 | 22.41 | NA | 3.31 | 9.62 | 0.02 | 0 | 886 | NA | 2.55 | 0.06 | 0.01 | 12.56 | 26.14
07-08Hr | 0.05 | 174.67 | 0.02 | 83.14 | 1.21 | 0.1 | 0.01 | 0.01 | 23.55 | NA | 3.19 | 9.47 | 0.02 | 0 | 886.53 | NA | 2.53 | 0.06 | 0.01 | 9.87 | 51.9
08-09Hr | 0.09 | 200.19 | 0.02 | 82.52 | 0.88 | 0.1 | 0.01 | 0.01 | 24.55 | NA | 3.37 | 9.9 | 0.02 | 0 | 886.55 | NA | 2.86 | 0.06 | 0.01 | 8.57 | 69.47
09-10Hr | 0.03 | 184.41 | 0.02 | 78.39 | 0.96 | 0.03 | 0.01 | 0.01 | 25.87 | NA | 3.1 | 9.72 | 0.02 | 0 | 886.06 | NA | 2.63 | 0.06 | 0.01 | 11.5 | 115.18
10-11Hr | 0.05 | 201.85 | 0.02 | 72.33 | 0.8 | 0.18 | 0.01 | 0.01 | 27.86 | NA | 3.11 | 9.87 | 0.02 | 0 | 885.4 | NA | 2.41 | 0.06 | 0.01 | 15.51 | 139.06
11-12Hr | 0.06 | 163.71 | 0.02 | 69.61 | 1.05 | 0.18 | 0.01 | 0.01 | 28.53 | NA | 3.35 | 9.87 | 0.02 | 0 | 884.57 | NA | 2.61 | 0.06 | 0.01 | 12.01 | 142.85
12-13Hr | 0.11 | 203.41 | 0.02 | 72.68 | 0.48 | 0.13 | 0.01 | 0.01 | 27.71 | NA | 3.29 | 10.19 | 0.02 | 0 | 884.03 | NA | 2.6 | 0.06 | 0.01 | 10.36 | 51.99
13-14Hr | 0.05 | 186.63 | 0.02 | 77.6 | 0.08 | 0.28 | 0.01 | 0.01 | 26.76 | NA | 3.26 | 10.16 | 0.02 | 0 | 883.67 | NA | 2.48 | 0.06 | 0.01 | 9.32 | 24.63
14-15Hr | 0.11 | 99.8 | 0.02 | 90.36 | 0.64 | 0 | 0.01 | 0.01 | 24.17 | NA | 3.15 | 10.3 | 0.02 | 0 | 883.52 | NA | 2.73 | 0.06 | 0.01 | 38.2 | 10.76
15-16Hr | 0.17 | 191.28 | 0.02 | 95.39 | 0.08 | 0.16 | 0.01 | 0.01 | 22.99 | NA | 3.49 | 10.19 | 0.02 | 0 | 883.81 | NA | 2.83 | 0.06 | 0.01 | 12.19 | 0.36
16-17Hr | 0.09 | 194.43 | 0.02 | 97.93 | 0 | 0.1 | 0.01 | 0.01 | 22.75 | NA | 3.33 | 10.06 | 0.02 | 0 | 884.23 | NA | 2.66 | 0.06 | 0.01 | 10.17 | 0
17-18Hr | 0.04 | 196.03 | 0.02 | 98.28 | 0 | 0.27 | 0.01 | 0.01 | 22.78 | NA | 3.56 | 10.01 | 0.02 | 0 | 884.56 | NA | 2.67 | 0.06 | 0.01 | 13.11 | 0
18-19Hr | 0.09 | 185.89 | 0.02 | 96.58 | 0 | 0.1 | 0.01 | 0.01 | 22.65 | NA | 3.22 | 10.1 | 0.02 | 0 | 884.98 | NA | 2.6 | 0.06 | 0.01 | 16.69 | 0
19-20Hr | 0.1 | 200.71 | 0.02 | 92.7 | 0 | 0.06 | 0.01 | 0.01 | 22.75 | NA | 3.31 | 10.04 | 0.02 | 0 | 885.29 | NA | 2.74 | 0.06 | 0.01 | 12.47 | 0
20-21Hr | 0.08 | 195.5 | 0.02 | 94.58 | 0.64 | 0.13 | 0.01 | 0.01 | 22.15 | NA | 3.52 | 10.06 | 0.02 | 0 | 885.29 | NA | 2.74 | 0.06 | 0.01 | 17.54 | 0
21-22Hr | 0.11 | 196.94 | 0.02 | 90.93 | 1.09 | 0.16 | 0.01 | 0.01 | 22.36 | NA | 3.53 | 10.13 | 0.02 | 0 | 885.04 | NA | 2.71 | 0.06 | 0.01 | 15.64 | 0
22-23Hr | 0.14 | 191.51 | 0.02 | 94.13 | 0.51 | 0.16 | 0.01 | 0.01 | 21.72 | NA | 3.58 | 10.1 | 0.02 | 0 | 884.87 | NA | 2.85 | 0.06 | 0.01 | 14.96 | 0
23-00Hr | 0.05 | 207.72 | 0.02 | 93.53 | 0.64 | 0.36 | 0.01 | 0.01 | 21.48 | NA | 3.55 | 9.97 | 0.02 | 0 | 884.32 | NA | 2.68 | 0.06 | 0.01 | 14.27 | 0
00-01Hr | 0.14 | 192.81 | 0.02 | 91.08 | 0.88 | 0.13 | 0.01 | 0.01 | 21.73 | NA | 3.24 | 9.97 | 0.02 | 0 | 883.85 | NA | 2.55 | 0.06 | 0.01 | 11.71 | 0
01-02Hr | 0.14 | 194.55 | 0.02 | 92.83 | 0.96 | 0.21 | 0.01 | 0.01 | 21.51 | NA | 3.37 | 10.01 | 0.02 | 0 | 883.52 | NA | 2.65 | 0.06 | 0.01 | 13.05 | 0
02-03Hr | 0.06 | 176.25 | 0.02 | 94.85 | 0.56 | 0.44 | 0.01 | 0.01 | 21.26 | NA | 3.31 | 9.94 | 0.02 | 0.03 | 883.45 | NA | 2.46 | 0.06 | 0.01 | 15.94 | 0
03-04Hr | 0.12 | 204.55 | 0.02 | 97.83 | 0.32 | 0.03 | 0.01 | 0.01 | 20.65 | NA | 3.17 | 10.01 | 0.02 | 0.11 | 883.77 | NA | 2.68 | 0.06 | 0.01 | 13.03 | 0
04-05Hr | 0.08 | 248 | 0.02 | 99.5 | 1.77 | 0.1 | 0.01 | 0.01 | 19.81 | NA | 3.29 | 9.87 | 0.02 | 0.1 | 884.38 | NA | 2.6 | 0.06 | 0.01 | 16.14 | 0
05-06Hr | 0.17 | 265.16 | 0.02 | 99.5 | 1.21 | 0.21 | 0.01 | 0.01 | 19.78 | NA | 3.28 | 9.79 | 0.02 | 0 | 885.05 | NA | 2.5 | 0.06 | 0.01 | 13.04 | 0
06-07hr | 0.13 | 248.57 | 0.02 | 99.5 | 1.37 | 0.13 | 0.01 | 0.01 | 19.69 | NA | 3.31 | 9.79 | 0.02 | 0 | 885.66 | NA | 2.7 | 0.06 | 0.01 | 18.76 | 0.09
Avg | 0.09 | 195.94 | 0.02 | 89.75 | 0.7 | 0.16 | 0.01 | 0.01 | 23.1 | NA | 3.33 | 9.97 | 0.02 | 0.01 | 884.74 | NA | 2.64 | 0.06 | 0.01 | 14.26 | 25.3
Min | 0.03 | 99.8 | 0.02 | 69.61 | 0 | 0 | 0.01 | 0.01 | 19.69 | NA | 3.1 | 9.47 | 0.02 | 0 | 883.45 | NA | 2.41 | 0.06 | 0.01 | 8.57 | 0
Max | 0.17 | 265.16 | 0.02 | 99.5 | 1.77 | 0.44 | 0.01 | 0.01 | 28.53 | NA | 3.58 | 10.3 | 0.02 | 0.11 | 886.55 | NA | 2.86 | 0.06 | 0.01 | 38.2 | 142.85
Geom.Mean | 0.09 | 195.94 | 0.02 | 89.75 | 0.7 | 0.16 | 0.01 | 0.01 | 23.1 | NA | 3.33 | 9.97 | 0.02 | 0.01 | 884.74 | NA | 2.64 | 0.06 | 0.01 | 14.26 | 25.3
Median | 0.09 | 194.55 | 0.02 | 92.83 | 0.64 | 0.13 | 0.01 | 0.01 | 22.65 | NA | 3.31 | 10.01 | 0.02 | 0 | 884.57 | NA | 2.65 | 0.06 | 0.01 | 13.04 | 0
Mode | 0.05 | 265.16 | 0.02 | 99.5 | 0 | 0.1 | 0.01 | 0.01 | 22.75 | NA | 3.31 | 9.87 | 0.02 | 0 | 883.52 | NA | 2.6 | 0.06 | 0.01 | 8.57 | 0
Std.Deviation | 0.04 | 30.36 | 0 | 9.24 | 0.5 | 0.1 | 0 | 0 | 2.52 | NA | 0.14 | 0.19 | 0 | 0.03 | 0.95 | NA | 0.12 | 0 | 0 | 5.64 | 45.02
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0