## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 14 |  |  |  | Date : 14/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.14 | 209.51 | 0.02 | 70.5 | 1.26 | 0.1 | 0.01 | 0.01 | 22.23 | NA | 3.15 | 10.23 | 0.02 | 0 | 891.88 | NA | 2.58 | 0.06 | 0.01 | 13.63 | 10.44
07-08Hr | 0.04 | 223.25 | 0.02 | 68.35 | 1.53 | 0.23 | 0.01 | 0.01 | 22.91 | NA | 3.47 | 10.26 | 0.02 | 0 | 892.44 | NA | 2.68 | 0.06 | 0.01 | 13.87 | 55.3
08-09Hr | 0.14 | 231.13 | 0.02 | 58.06 | 1.23 | 0.18 | 0.01 | 0.01 | 24.88 | NA | 3.37 | 10.34 | 0.02 | 0 | 892.27 | NA | 2.58 | 0.06 | 0.01 | 11.59 | 166.57
09-10Hr | 0.21 | 195.6 | 0.02 | 53.39 | 1.15 | 0.2 | 0.01 | 0.01 | 25.93 | NA | 3.49 | 10.41 | 0.02 | 0 | 891.73 | NA | 2.74 | 0.06 | 0.01 | 10.63 | 187.51
10-11Hr | 0.16 | 194.58 | 0.02 | 49.35 | 1.74 | 0.1 | 0.01 | 0.01 | 25.38 | NA | 3.13 | 10.69 | 0.02 | 0 | 891.08 | NA | 2.53 | 0.06 | 0.01 | 12.02 | 197.1
11-12Hr | 0.11 | 194.56 | 0.02 | 50.09 | 1.77 | 0.26 | 0.01 | 0.01 | 25.88 | NA | 3.76 | 10.76 | 0.02 | 0 | 890.3 | NA | 2.7 | 0.06 | 0.01 | 13.89 | 192.9
12-13Hr | 0.2 | 226.76 | 0.02 | 48.15 | 0.91 | 0.13 | 0.01 | 0.01 | 27.64 | NA | 3.4 | 10.9 | 0.02 | 0 | 889.86 | NA | 2.68 | 0.06 | 0.01 | 12.61 | 165.36
13-14Hr | 0.11 | 205.17 | 0.02 | 50.43 | 1.05 | 0.31 | 0.01 | 0.01 | 27.3 | NA | 3.44 | 11.01 | 0.02 | 0 | 889.67 | NA | 2.61 | 0.06 | 0.01 | 13.48 | 126.82
14-15Hr | 0.12 | 187.28 | 0.02 | 66.99 | 0.91 | 0.23 | 0.01 | 0.01 | 22.53 | NA | 3.51 | 11.08 | 0.02 | 0 | 889.57 | NA | 2.76 | 0.06 | 0.01 | 12.17 | 9.37
15-16Hr | 0.06 | 231.67 | 0.02 | 74.95 | 0.43 | 0.28 | 0.01 | 0.01 | 20.57 | NA | 3.44 | 10.98 | 0.02 | 0 | 889.73 | NA | 2.55 | 0.06 | 0.01 | 10.11 | 5.43
16-17Hr | 0.16 | 209.9 | 0.02 | 84.31 | 0.11 | 0.28 | 0.01 | 0.01 | 19.26 | NA | 3.67 | 11.05 | 0.02 | 0 | 890.06 | NA | 2.75 | 0.06 | 0.01 | 12.62 | 0
17-18Hr | 0.08 | 209.2 | 0.02 | 91.11 | 0.11 | 0.21 | 0.01 | 0.01 | 18.47 | NA | 3.2 | 10.9 | 0.02 | 0 | 890.57 | NA | 2.36 | 0.06 | 0.01 | 12.46 | 0
18-19Hr | 0.11 | 211 | 0.02 | 91.8 | 0.16 | 0.33 | 0.01 | 0.01 | 18.04 | NA | 3.56 | 10.9 | 0.02 | 0 | 891.06 | NA | 2.58 | 0.06 | 0.01 | 16.78 | 0
19-20Hr | 0.12 | 209.87 | 0.02 | 95.47 | 0.27 | 0.28 | 0.01 | 0.01 | 17.38 | NA | 3.58 | 10.83 | 0.02 | 0 | 891.44 | NA | 2.58 | 0.06 | 0.01 | 20.05 | 0
20-21Hr | 0.09 | 217.86 | 0.02 | 96.77 | 0.22 | 0.08 | 0.01 | 0.01 | 16.86 | NA | 3.38 | 10.73 | 0.02 | 0 | 891.58 | NA | 2.72 | 0.06 | 0.01 | 20.9 | 0
21-22Hr | 0.04 | 210.63 | 0.02 | 97.51 | 0.22 | 0.08 | 0.01 | 0.01 | 16.62 | NA | 3.08 | 10.69 | 0.02 | 0 | 891.28 | NA | 2.48 | 0.06 | 0.01 | 24.16 | 0
22-23Hr | 0.16 | 206.79 | 0.02 | 97.54 | 0.27 | 0.28 | 0.01 | 0.01 | 16.59 | NA | 3.65 | 10.62 | 0.02 | 0 | 890.91 | NA | 2.68 | 0.06 | 0.01 | 25.13 | 0
23-00Hr | 0.11 | 212.81 | 0.02 | 96.95 | 0.54 | 0.18 | 0.01 | 0.01 | 16.67 | NA | 3.65 | 10.41 | 0.02 | 0 | 890.59 | NA | 2.75 | 0.06 | 0.01 | 20.45 | 0
00-01Hr | 0.05 | 210.13 | 0.02 | 97.56 | 0.54 | 0.31 | 0.01 | 0.01 | 16.39 | NA | 3.56 | 10.44 | 0.02 | 0 | 890.31 | NA | 2.71 | 0.06 | 0.01 | 21.63 | 0
01-02Hr | 0.16 | 214.93 | 0.02 | 96.76 | 0.43 | 0.08 | 0.01 | 0.01 | 16.41 | NA | 3.53 | 10.37 | 0.02 | 0 | 890.19 | NA | 2.86 | 0.06 | 0.01 | 21.55 | 0
02-03Hr | 0.1 | 216.31 | 0.02 | 96.26 | 0.54 | 0.1 | 0.01 | 0.01 | 16.49 | NA | 3.35 | 10.12 | 0.02 | 0 | 890.3 | NA | 2.73 | 0.06 | 0.01 | 24.2 | 0
03-04Hr | 0.14 | 213.59 | 0.02 | 94.7 | 0.43 | 0.26 | 0.01 | 0.01 | 16.74 | NA | 3.08 | 10.12 | 0.02 | 0 | 890.71 | NA | 2.4 | 0.06 | 0.01 | 19.1 | 0
04-05Hr | 0.16 | 217.05 | 0.02 | 96.04 | 0.64 | 0.21 | 0.01 | 0.01 | 16.57 | NA | 3.26 | 10.19 | 0.02 | 0 | 891.36 | NA | 2.51 | 0.06 | 0.01 | 20.15 | 1.86
05-06Hr | 0.1 | 199.64 | 0.02 | 88.85 | 0.32 | 0.05 | 0.01 | 0.01 | 18.82 | NA | 3.56 | 10.19 | 0.02 | 0 | 892.15 | NA | 2.83 | 0.06 | 0.01 | 15.16 | 39.18
06-07hr | 0.12 | 193.59 | 0.02 | 72.22 | 0.51 | 0.1 | 0.01 | 0.01 | 23.14 | NA | 3.06 | 10.19 | 0.02 | 0 | 892.77 | NA | 2.58 | 0.06 | 0.01 | 14.28 | 11.64
Avg | 0.12 | 210.11 | 0.02 | 79.36 | 0.69 | 0.19 | 0.01 | 0.01 | 20.39 | NA | 3.41 | 10.58 | 0.02 | 0 | 890.95 | NA | 2.64 | 0.06 | 0.01 | 16.5 | 46.78
Min | 0.04 | 187.28 | 0.02 | 48.15 | 0.11 | 0.05 | 0.01 | 0.01 | 16.39 | NA | 3.06 | 10.12 | 0.02 | 0 | 889.57 | NA | 2.36 | 0.06 | 0.01 | 10.11 | 0
Max | 0.21 | 231.67 | 0.02 | 97.56 | 1.77 | 0.33 | 0.01 | 0.01 | 27.64 | NA | 3.76 | 11.08 | 0.02 | 0 | 892.77 | NA | 2.86 | 0.06 | 0.01 | 25.13 | 197.1
Geom.Mean | 0.12 | 210.11 | 0.02 | 79.36 | 0.69 | 0.19 | 0.01 | 0.01 | 20.39 | NA | 3.41 | 10.58 | 0.02 | 0 | 890.95 | NA | 2.64 | 0.06 | 0.01 | 16.5 | 46.78
Median | 0.12 | 210.13 | 0.02 | 88.85 | 0.54 | 0.21 | 0.01 | 0.01 | 18.82 | NA | 3.44 | 10.62 | 0.02 | 0 | 890.91 | NA | 2.68 | 0.06 | 0.01 | 14.28 | 1.86
Mode | 0.16 | 187.28 | 0.02 | 48.15 | 0.43 | 0.1 | 0.01 | 0.01 | 16.62 | NA | 3.56 | 10.9 | 0.02 | 0 | 890.3 | NA | 2.58 | 0.06 | 0.01 | 10.63 | 0
Std.Deviation | 0.05 | 11.51 | 0 | 18.81 | 0.51 | 0.09 | 0 | 0 | 3.98 | NA | 0.2 | 0.33 | 0 | 0 | 0.92 | NA | 0.13 | 0 | 0 | 4.72 | 74.34
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0