## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 2 |  |  |  | Date : 02/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 02/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
07-08Hr | NA | 205.68 | 0.02 | 74.25 | 0.43 | NA | 0.01 | 0.01 | 27.53 | NA | NA | 9.34 | 0.02 | 0 | 888.54 | NA | NA | 0.06 | 0.01 | 19.22 | 53.17
08-09Hr | NA | 167.53 | 0.02 | 70.19 | 0.5 | NA | 0.01 | 0.01 | 27.51 | NA | NA | 9.5 | 0.02 | 0 | 888.37 | NA | NA | 0.06 | 0.01 | 11.37 | 94.16
09-10Hr | NA | 187.26 | 0.02 | 62.1 | 0.8 | NA | 0.01 | 0.01 | 28.35 | NA | NA | 9.69 | 0.02 | 0 | 887.76 | NA | NA | 0.06 | 0.01 | 9.32 | 157.57
10-11Hr | NA | 177.53 | 0.02 | 59.41 | 0.89 | NA | 0.01 | 0.01 | 29.26 | NA | NA | 9.69 | 0.02 | 0 | 886.83 | NA | NA | 0.06 | 0.01 | 11.83 | 145.24
11-12Hr | NA | 206.21 | 0.02 | 58.65 | 0.83 | NA | 0.01 | 0.01 | 29.81 | NA | NA | 9.72 | 0.02 | 0 | 886 | NA | NA | 0.06 | 0.01 | 18.16 | 187.98
12-13Hr | NA | 197.26 | 0.02 | 58.81 | 0.93 | NA | 0.01 | 0.01 | 29.7 | NA | NA | 9.88 | 0.02 | 0 | 885.26 | NA | NA | 0.06 | 0.01 | 12.92 | 117.65
13-14Hr | NA | 163.98 | 0.02 | 72.22 | 0.8 | NA | 0.01 | 0.01 | 26.36 | NA | NA | 9.87 | 0.02 | 0 | 884.8 | NA | NA | 0.06 | 0.01 | 11.23 | 49.36
14-15Hr | NA | 189.58 | 0.02 | 79.3 | 0.48 | NA | 0.01 | 0.01 | 24.77 | NA | NA | 9.94 | 0.02 | 0 | 884.8 | NA | NA | 0.06 | 0.01 | 8.73 | 11.05
15-16Hr | NA | 197.53 | 0.02 | 83.87 | 0.56 | NA | 0.01 | 0.01 | 23.58 | NA | NA | 10.05 | 0.02 | 0 | 885.17 | NA | NA | 0.06 | 0.01 | 15.06 | 0
16-17Hr | NA | 185.77 | 0.02 | 85.1 | 0.46 | NA | 0.01 | 0.01 | 22.88 | NA | NA | 9.84 | 0.02 | 0 | 885.73 | NA | NA | 0.06 | 0.01 | 12.77 | 0
17-18Hr | NA | 176.11 | 0.02 | 84.52 | 0.5 | NA | 0.01 | 0.01 | 22.8 | NA | NA | 9.88 | 0.02 | 0 | 886.2 | NA | NA | 0.06 | 0.01 | 16.19 | 0
18-19Hr | NA | 181.34 | 0.02 | 85.8 | 0.5 | NA | 0.01 | 0.01 | 22.58 | NA | NA | 9.82 | 0.02 | 0 | 886.69 | NA | NA | 0.06 | 0.01 | 13.88 | 0
19-20Hr | NA | 199.06 | 0.02 | 86.85 | 0.43 | NA | 0.01 | 0.01 | 22.64 | NA | NA | 9.95 | 0.02 | 0 | 887.01 | NA | NA | 0.06 | 0.01 | 12.85 | 0
20-21Hr | NA | 175.57 | 0.02 | 91.34 | 0.51 | NA | 0.01 | 0.01 | 22.19 | NA | NA | 9.92 | 0.02 | 0 | 886.77 | NA | NA | 0.06 | 0.01 | 12.38 | 0
21-22Hr | NA | 177.32 | 0.02 | 94.24 | 0.86 | NA | 0.01 | 0.01 | 21.74 | NA | NA | 9.85 | 0.02 | 0.03 | 886.55 | NA | NA | 0.06 | 0.01 | 12.03 | 0
22-23Hr | NA | 222.11 | 0.02 | 98.16 | 1 | NA | 0.01 | 0.01 | 20.93 | NA | NA | 9.85 | 0.02 | 0 | 886.12 | NA | NA | 0.06 | 0.01 | 15.73 | 0
23-00Hr | NA | 201.6 | 0.02 | 97.69 | 1.12 | NA | 0.01 | 0.01 | 20.82 | NA | NA | 9.79 | 0.02 | 0 | 885.66 | NA | NA | 0.06 | 0.01 | 15.92 | 0
00-01Hr | NA | 219.59 | 0.02 | 98.15 | 1.69 | NA | 0.01 | 0.01 | 20.74 | NA | NA | 9.76 | 0.02 | 0 | 885.24 | NA | NA | 0.06 | 0.01 | 17.19 | 0
01-02Hr | NA | 196.6 | 0.02 | 99.4 | 1.13 | NA | 0.01 | 0.01 | 20.51 | NA | NA | 9.69 | 0.02 | 0 | 884.92 | NA | NA | 0.06 | 0.01 | 17.49 | 0
02-03Hr | NA | 209.3 | 0.02 | 99.5 | 0.72 | NA | 0.01 | 0.01 | 20.59 | NA | NA | 9.58 | 0.02 | 0 | 884.84 | NA | NA | 0.06 | 0.01 | 17.78 | 0
03-04Hr | NA | 199.76 | 0.02 | 99.5 | 0.56 | NA | 0.01 | 0.01 | 20.54 | NA | NA | 9.54 | 0.02 | 0 | 884.98 | NA | NA | 0.06 | 0.01 | 16.87 | 0
04-05Hr | NA | 206.21 | 0.02 | 99.5 | 1.05 | NA | 0.01 | 0.01 | 20.35 | NA | NA | 9.58 | 0.02 | 0 | 885.41 | NA | NA | 0.06 | 0.01 | 20.13 | 0
05-06Hr | NA | 210.26 | 0.02 | 95.28 | 0.72 | NA | 0.01 | 0.01 | 21.89 | NA | NA | 9.58 | 0.02 | 0 | 886.16 | NA | NA | 0.06 | 0.01 | 17.28 | 41.48
06-07hr | NA | 193.74 | 0.02 | 80.12 | 0.86 | NA | 0.01 | 0.01 | 25.86 | NA | NA | 9.53 | 0.02 | 0 | 886.72 | NA | NA | 0.06 | 0.01 | 10.59 | 56.51
Avg | NA | 193.62 | 0.02 | 83.91 | 0.76 | NA | 0.01 | 0.01 | 23.91 | NA | NA | 9.74 | 0.02 | 0 | 886.11 | NA | NA | 0.06 | 0.01 | 14.45 | 38.09
Min | NA | 163.98 | 0.02 | 58.65 | 0.43 | NA | 0.01 | 0.01 | 20.35 | NA | NA | 9.34 | 0.02 | 0 | 884.8 | NA | NA | 0.06 | 0.01 | 8.73 | 0
Max | NA | 222.11 | 0.02 | 99.5 | 1.69 | NA | 0.01 | 0.01 | 29.81 | NA | NA | 10.05 | 0.02 | 0.03 | 888.54 | NA | NA | 0.06 | 0.01 | 20.13 | 187.98
Geom.Mean | NA | 193.62 | 0.02 | 83.91 | 0.76 | NA | 0.01 | 0.01 | 23.91 | NA | NA | 9.74 | 0.02 | 0 | 886.11 | NA | NA | 0.06 | 0.01 | 14.46 | 38.09
Median | NA | 196.93 | 0.02 | 85.45 | 0.76 | NA | 0.01 | 0.01 | 22.72 | NA | NA | 9.77 | 0.02 | 0 | 886.06 | NA | NA | 0.06 | 0.01 | 14.47 | 0
Mode | NA | 206.21 | 0.02 | 99.5 | 0.5 | NA | 0.01 | 0.01 | 20.82 | NA | NA | 9.69 | 0.02 | 0 | 884.8 | NA | NA | 0.06 | 0.01 | 8.73 | 0
Std.Deviation | NA | 15.64 | 0 | 14.25 | 0.3 | NA | 0 | 0 | 3.27 | NA | NA | 0.17 | 0 | 0.01 | 1.09 | NA | NA | 0 | 0 | 3.21 | 58.77
Valid Data Points | NA | 24 | 24 | 24 | 24 | NA | 24 | 24 | 24 | NA | NA | 24 | 24 | 24 | 24 | NA | NA | 24 | 24 | 24 | 24
Total Data Points | NA | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | NA | NA | 25 | 25 | 25 | 25 | NA | NA | 25 | 25 | 25 | 25
Data Availability % | NA | 96 | 96 | 96 | 96 | NA | 96 | 96 | 96 | NA | NA | 96 | 96 | 96 | 96 | NA | NA | 96 | 96 | 96 | 96
Uncertainty | NA | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | NA | NA | 0 | 0 | 0 | 0 | NA | NA | 0 | 0 | 0 | 0