## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 17 |  |  |  | Date : 17/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 32.86 | 0.13 | 1.72 | 94.05 | 22.82 | 214.64 | 7.91 | 3.05 | 2.44 | 0 | 0.06 | 0 | 8.24 | 887.57 | 46.49 | 0.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 25 | 0.16 | 1.72 | 93.82 | 21 | 248.33 | 5 | 3.11 | 2.46 | 0.11 | 0.06 | 0.51 | 19.78 | 888.66 | 2.12 | 0.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 14 | 0.14 | 1.72 | 98.57 | 19.35 | 248.65 | 5 | 3.24 | 2.58 | 0 | 0.06 | 0.06 | 24.53 | 888.72 | 0 | 1.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 9 | 0.26 | 1.72 | 99.33 | 18.95 | 240.69 | 2 | 3.18 | 2.47 | 0 | 0.06 | 0.05 | 20.28 | 888.23 | 89.54 | 7.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 4 | 0.18 | 1.72 | 86.51 | 22.83 | 220.9 | 0 | 3.29 | 2.54 | 0 | 0.06 | 0 | 6.56 | 887.76 | 225.32 | 4.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 32 | 0.17 | 1.72 | 74.57 | 25.97 | 230.16 | 0 | 3.26 | 2.6 | 0 | 0.06 | 0 | 7.84 | 887.04 | 232.45 | 2.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 50 | 0.17 | 1.72 | 66.43 | 28.4 | 210.4 | 1 | 3.3 | 2.6 | 0 | 0.06 | 0 | 6.45 | 886.22 | 198.18 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 34 | 0.07 | 1.72 | 59.03 | 30.61 | 204.26 | 4 | 3.17 | 2.56 | 0.01 | 0.06 | 0 | 7.6 | 885.88 | 162.38 | 0.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 35.93 | 0.18 | 1.72 | 65.6 | 28.35 | 231.82 | 4 | 3.11 | 2.42 | 0.08 | 0.06 | 0 | 7.99 | 885.65 | 76.93 | 0.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 35 | 0.09 | 1.72 | 77.95 | 25.36 | 206.93 | 3 | 3.2 | 2.58 | 0.35 | 0.06 | 0 | 7.99 | 885.62 | 9.8 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 44 | 0.28 | 1.72 | 88.83 | 23.41 | 191.11 | 3 | 3.29 | 2.44 | 0.21 | 0.06 | 0 | 14.35 | 885.52 | 0.5 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 43 | 0.23 | 1.72 | 87.54 | 22.99 | 195.65 | 2 | 3.12 | 2.49 | 0.61 | 0.06 | 0 | 11.63 | 885.25 | 0 | 1.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 24 | 0.25 | 1.72 | 83.61 | 23.19 | 208.58 | 2 | 3.21 | 2.43 | 0.5 | 0.06 | 0 | 10.31 | 885.34 | 0 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 30 | 0.08 | 1.72 | 81.62 | 23.65 | 240.9 | 4 | 3.13 | 2.61 | 0.24 | 0.06 | 0 | 26.81 | 886.3 | 0 | 0.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 37 | 0.22 | 1.72 | 86.27 | 23.17 | 218.44 | 5 | 3.08 | 2.33 | 0.15 | 0.06 | 0 | 7.18 | 886.99 | 0 | 0.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 33 | 0.22 | 1.72 | 89.81 | 22.84 | 219.27 | 4 | 3.17 | 2.39 | 0.1 | 0.06 | 0 | 8.02 | 887.6 | 0 | 0.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 22 | 0.08 | 1.72 | 93.79 | 22.33 | 195.47 | 4 | 3.12 | 2.49 | 0.05 | 0.06 | 0 | 7.83 | 887.38 | 0 | 0.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 16 | 0.18 | 1.72 | 94.98 | 21.63 | 213.11 | 2 | 3.23 | 2.56 | 0.04 | 0.06 | 0 | 8.51 | 886.72 | 0 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 26 | 0.29 | 1.72 | 92.29 | 21.3 | 214.94 | 2 | 3.28 | 2.47 | 0 | 0.06 | 0 | 10.6 | 886.73 | 0 | 3.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 13 | 0.29 | 1.72 | 90.77 | 21.27 | 191.75 | 4 | 3.37 | 2.59 | 0 | 0.06 | 0.01 | 12.5 | 887 | 0 | 8.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 16 | 0.2 | 1.72 | 96.54 | 20.74 | 232.85 | 1 | 3.14 | 2.47 | 0 | 0.06 | 1.09 | 22.47 | 887.52 | 0 | 2.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 9 | 0.2 | 1.72 | 98.57 | 19.38 | 247.8 | 0 | 3.24 | 2.5 | 0 | 0.06 | 0.15 | 27.07 | 887.35 | 0 | 2.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 6 | 0.13 | 1.72 | 99.49 | 19.78 | 242.46 | 0 | 3.38 | 2.68 | 0 | 0.06 | 0 | 25.86 | 886.48 | 0.66 | 6.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 2 | 0.09 | 1.72 | 98.4 | 20.31 | 235.77 | 0 | 3.2 | 2.7 | 0 | 0.06 | 0 | 18.56 | 886.96 | 74.68 | 6.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 24.7 | 0.18 | 1.72 | 87.43 | 22.9 | 221.04 | 2.7 | 3.2 | 2.52 | 0.1 | 0.06 | 0.08 | 13.71 | 886.85 | 46.63 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 2 | 0.07 | 1.72 | 59.03 | 18.95 | 191.11 | 0 | 3.05 | 2.33 | 0 | 0.06 | 0 | 6.45 | 885.25 | 0 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 50 | 0.29 | 1.72 | 99.49 | 30.61 | 248.65 | 7.91 | 3.38 | 2.7 | 0.61 | 0.06 | 1.09 | 27.07 | 888.72 | 232.45 | 8.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 24.7 | 0.18 | 1.72 | 87.43 | 22.9 | 221.04 | 2.7 | 3.2 | 2.52 | 0.1 | 0.06 | 0.08 | 13.71 | 886.85 | 46.63 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 13.28 | 0.07 | 0 | 11.17 | 2.95 | 18.22 | 2.02 | 0.09 | 0.09 | 0.16 | 0 | 0.24 | 7.16 | 0.98 | 76.39 | 2.47 | 0 | 0 | 0 | 0 | 0
Mode | 9 | 0.18 | 1.72 | 98.57 | 22.82 | 214.64 | 4 | 3.11 | 2.47 | 0 | 0.06 | 0 | 7.99 | 887.57 | 0 | 0.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 26 | 0.18 | 1.72 | 90.77 | 22.83 | 219.27 | 3 | 3.2 | 2.5 | 0.01 | 0.06 | 0 | 10.6 | 886.99 | 0.5 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0