## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 13 |  |  |  | Date : 13/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 13/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 269.77 | 0.02 | 99.5 | 0.67 | 0 | 0.01 | 0.01 | 21.11 | NA | 2.99 | 8.08 | 0.02 | 0.08 | 888.57 | NA | 2.5 | 0.06 | 0.01 | 21.41 | 21.83
07-08Hr | 0 | 271.22 | 0.02 | 99.5 | 0.86 | 0.21 | 0.01 | 0.01 | 21.14 | NA | 3.31 | 8.01 | 0.02 | 0.28 | 889.13 | NA | 2.45 | 0.06 | 0.01 | 17.21 | 22.99
08-09Hr | 0 | 256.49 | 0.02 | 99.5 | 1.31 | 0.13 | 0.01 | 0.01 | 21.01 | NA | 3.15 | 7.94 | 0.02 | 0.1 | 889.15 | NA | 2.53 | 0.06 | 0.01 | 20.8 | 28.53
09-10Hr | 0 | 229.21 | 0.02 | 99.5 | 1.07 | 0.05 | 0.01 | 0.01 | 21.46 | NA | 2.97 | 7.9 | 0.02 | 0 | 888.79 | NA | 2.6 | 0.06 | 0.01 | 18.65 | 25.7
10-11Hr | 0 | 185.75 | 0.02 | 98.34 | 0.64 | 0.03 | 0.01 | 0.01 | 22.51 | NA | 3.4 | 7.94 | 0.02 | 0 | 888.28 | NA | 2.88 | 0.06 | 0.01 | 19.74 | 21.9
11-12Hr | 0 | 194 | 0.02 | 92.25 | 0.46 | 0.23 | 0.01 | 0.01 | 24.08 | NA | 3.38 | 8.08 | 0.02 | 0 | 887.34 | NA | 2.53 | 0.06 | 0.01 | 12.43 | 27.81
12-13Hr | 0 | 201.48 | 0.02 | 93.66 | 0.27 | 0.34 | 0.01 | 0.01 | 23.46 | NA | 3.51 | 8.19 | 0.02 | 0 | 886.61 | NA | 2.5 | 0.06 | 0.01 | 13.96 | 16.65
13-14Hr | 0 | 193.98 | 0.02 | 94.17 | 0.05 | 0.15 | 0.01 | 0.01 | 23.25 | NA | 3.49 | 8.15 | 0.02 | 0 | 886.3 | NA | 2.81 | 0.06 | 0.01 | 11.53 | 16.72
14-15Hr | 0 | 188.86 | 0.02 | 92.16 | 0.22 | 0.08 | 0.01 | 0.01 | 23.75 | NA | 3.4 | 8.22 | 0.02 | 0 | 885.91 | NA | 2.92 | 0.06 | 0.01 | 12.43 | 11.84
15-16Hr | 0 | 163.6 | 0.02 | 94.73 | 0 | 0.23 | 0.01 | 0.01 | 22.85 | NA | 3.33 | 8.29 | 0.02 | 0 | 885.92 | NA | 2.46 | 0.06 | 0.01 | 16.91 | 2.11
16-17Hr | 0 | 194.25 | 0.02 | 96.86 | 0.38 | 0.26 | 0.01 | 0.01 | 22.1 | NA | 3.22 | 8.08 | 0.02 | 0 | 886.23 | NA | 2.4 | 0.06 | 0.01 | 12.45 | 0
17-18Hr | 0 | 176.55 | 0.02 | 96.91 | 0.32 | 0.23 | 0.01 | 0.01 | 21.97 | NA | 3.35 | 8.15 | 0.02 | 0 | 887.06 | NA | 2.48 | 0.06 | 0.01 | 10.21 | 0
18-19Hr | 0 | 199.18 | 0.02 | 95.78 | 0.32 | 0.23 | 0.01 | 0.01 | 21.97 | NA | 3.22 | 8.19 | 0.02 | 0 | 887.99 | NA | 2.53 | 0.06 | 0.01 | 7.57 | 0
19-20Hr | 0 | 199.46 | 0.02 | 95.75 | 0.38 | 0.23 | 0.01 | 0.01 | 21.83 | NA | 3.2 | 8.22 | 0.02 | 0 | 888.46 | NA | 2.55 | 0.06 | 0.01 | 11.48 | 0
20-21Hr | 0 | 203.9 | 0.02 | 97.76 | 0.27 | 0.28 | 0.01 | 0.01 | 21.62 | NA | 2.99 | 8.15 | 0.02 | 0 | 888.39 | NA | 2.33 | 0.06 | 0.01 | 13.23 | 0
21-22Hr | 0 | 221 | 0.02 | 99.47 | 0.4 | 0.13 | 0.01 | 0.01 | 21.29 | NA | 3.15 | 8.12 | 0.02 | 0 | 888.21 | NA | 2.66 | 0.06 | 0.01 | 12.91 | 0
22-23Hr | 0 | 230.48 | 0.02 | 99.5 | 0.27 | 0.15 | 0.01 | 0.01 | 21.14 | NA | 2.81 | 8.12 | 0.02 | 0 | 887.85 | NA | 2.33 | 0.06 | 0.01 | 15.2 | 0
23-00Hr | 0 | 240.22 | 0.02 | 99.5 | 0.11 | 0.15 | 0.01 | 0.01 | 21 | NA | 3.56 | 8.12 | 0.02 | 0 | 887.48 | NA | 2.73 | 0.06 | 0.01 | 13.96 | 0
00-01Hr | 0 | 262.03 | 0.02 | 99.5 | 0.83 | 0.23 | 0.01 | 0.01 | 20.78 | NA | 3.37 | 7.97 | 0.02 | 0.03 | 887.12 | NA | 2.55 | 0.06 | 0.01 | 12.07 | 0
01-02Hr | 0 | 243.09 | 0.02 | 99.5 | 0.83 | 0.05 | 0.01 | 0.01 | 20.87 | NA | 3.06 | 8.08 | 0.02 | 0.01 | 886.85 | NA | 2.56 | 0.06 | 0.01 | 13.74 | 0
02-03Hr | 0 | 243.84 | 0.02 | 99.5 | 0.62 | 0.28 | 0.01 | 0.01 | 20.72 | NA | 3.56 | 8.05 | 0.02 | 0.04 | 886.78 | NA | 2.66 | 0.06 | 0.01 | 17.01 | 0
03-04Hr | 0 | 234.97 | 0.02 | 99.5 | 1.15 | 0.31 | 0.01 | 0.01 | 20.52 | NA | 3.62 | 7.9 | 0.02 | 0 | 887.06 | NA | 2.56 | 0.06 | 0.01 | 17.6 | 0
04-05Hr | 0 | 243.67 | 0.02 | 99.5 | 0.91 | 0.21 | 0.01 | 0.01 | 20.69 | NA | 3.28 | 7.94 | 0.02 | 0.04 | 887.53 | NA | 2.46 | 0.06 | 0.01 | 19.35 | 0
05-06Hr | 0 | 253.2 | 0.02 | 99.5 | 1.15 | 0.16 | 0.01 | 0.01 | 20.71 | NA | 3.08 | 7.97 | 0.02 | 0.03 | 888.18 | NA | 2.4 | 0.06 | 0.01 | 19.52 | 1.53
06-07hr | 0 | 256.16 | 0.02 | 99.5 | 0.75 | 0.33 | 0.01 | 0.01 | 20.95 | NA | 3.38 | 7.97 | 0.02 | 0.01 | 888.66 | NA | 2.55 | 0.06 | 0.01 | 18.91 | 1.62
Avg | 0 | 222.25 | 0.02 | 97.65 | 0.57 | 0.19 | 0.01 | 0.01 | 21.71 | NA | 3.27 | 8.07 | 0.02 | 0.02 | 887.59 | NA | 2.56 | 0.06 | 0.01 | 15.21 | 7.97
Min | 0 | 163.6 | 0.02 | 92.16 | 0 | 0 | 0.01 | 0.01 | 20.52 | NA | 2.81 | 7.9 | 0.02 | 0 | 885.91 | NA | 2.33 | 0.06 | 0.01 | 7.57 | 0
Max | 0 | 271.22 | 0.02 | 99.5 | 1.31 | 0.34 | 0.01 | 0.01 | 24.08 | NA | 3.62 | 8.29 | 0.02 | 0.28 | 889.15 | NA | 2.92 | 0.06 | 0.01 | 21.41 | 28.53
Geom.Mean | 0 | 222.25 | 0.02 | 97.65 | 0.57 | 0.19 | 0.01 | 0.01 | 21.71 | NA | 3.27 | 8.07 | 0.02 | 0.02 | 887.59 | NA | 2.56 | 0.06 | 0.01 | 15.21 | 7.97
Median | 0 | 229.21 | 0.02 | 99.5 | 0.46 | 0.21 | 0.01 | 0.01 | 21.29 | NA | 3.31 | 8.08 | 0.02 | 0 | 887.53 | NA | 2.53 | 0.06 | 0.01 | 13.96 | 0
Mode | 0 | 256.49 | 0.02 | 99.5 | 0.27 | 0.23 | 0.01 | 0.01 | 21.97 | NA | 2.99 | 8.08 | 0.02 | 0 | 887.06 | NA | 2.53 | 0.06 | 0.01 | 12.43 | 0
Std.Deviation | 0 | 31.4 | 0 | 2.52 | 0.37 | 0.09 | 0 | 0 | 1.05 | NA | 0.21 | 0.11 | 0 | 0.06 | 0.99 | NA | 0.15 | 0 | 0 | 3.68 | 10.9
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0