## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 14 |  |  |  | Date : 14/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 34.44 | 23.04 | 0.02 | 66.22 | 1.72 | 0.23 | 0.01 | 0.01 | 19.94 | 88.12 | 3.49 | 10.78 | 0.02 | 0 | 892.85 | 0.02 | 2.66 | 0.06 | 0.01 | 59.32 | 7.46
07-08Hr | 34.51 | 23.01 | 0.02 | 57.8 | 1.67 | 0.17 | 0.01 | 0.01 | 22.55 | 87.89 | 3.46 | 10.79 | 0.02 | 0 | 893.76 | 0 | 2.73 | 0.06 | 0.01 | 69.95 | 73.86
08-09Hr | 35.01 | 23.18 | 0.02 | 55.47 | 2.06 | 0.31 | 0.01 | 0.01 | 23.1 | 88.56 | 3.45 | 10.96 | 0.02 | 0 | 893.79 | 0.01 | 2.54 | 0.06 | 0.01 | 69.08 | 150.83
09-10Hr | 35.43 | 21.51 | 0.02 | 57.55 | 2.71 | 0.15 | 0.01 | 0.01 | 22.63 | 84.29 | 3.23 | 11.07 | 0.02 | 0 | 892.95 | 0 | 2.61 | 0.06 | 0.01 | 69.92 | 170.64
10-11Hr | 35.82 | 21.81 | 0.02 | 53.34 | 1.89 | 0.15 | 0.01 | 0.01 | 24.66 | 76.85 | 3.23 | 11.2 | 0.02 | 0 | 891.98 | 0 | 2.62 | 0.06 | 0.01 | 57.16 | 183.72
11-12Hr | 36.25 | 23.49 | 0.02 | 50.36 | 2.26 | 0.16 | 0.01 | 0.01 | 25.3 | 73.01 | 3.53 | 11.33 | 0.02 | 0 | 891.18 | 0 | 2.79 | 0.06 | 0.01 | 52.81 | 181.62
12-13Hr | 36.69 | 21.94 | 0.02 | 52.61 | 2.38 | 0.15 | 0.01 | 0.01 | 24.38 | 74.81 | 3.28 | 11.46 | 0.02 | 0 | 890.49 | 0.01 | 2.56 | 0.06 | 0.01 | 46.43 | 154.34
13-14Hr | 36.89 | 22.6 | 0.02 | 52.28 | 2.44 | 0.17 | 0.01 | 0.01 | 24.1 | 81.05 | 3.41 | 11.55 | 0.02 | 0 | 889.96 | 0 | 2.65 | 0.06 | 0.01 | 64.44 | 110.98
14-15Hr | 37.11 | 22.16 | 0.02 | 62.65 | 2.31 | 0.13 | 0.01 | 0.01 | 21.04 | 84.51 | 3.31 | 11.58 | 0.02 | 0 | 889.8 | 0 | 2.61 | 0.06 | 0.01 | 60.52 | 4.56
15-16Hr | 37.38 | 22.09 | 0.02 | 71.41 | 1.81 | 0.18 | 0.01 | 0.01 | 19.46 | 81.6 | 3.41 | 11.72 | 0.02 | 0 | 889.8 | 0.01 | 2.67 | 0.06 | 0.01 | 62.55 | 0.51
16-17Hr | 36.91 | 22.83 | 0.02 | 74.41 | 1.79 | 0.19 | 0.01 | 0.01 | 18.55 | 89.67 | 3.39 | 11.55 | 0.02 | 0 | 890.08 | 0 | 2.6 | 0.06 | 0.01 | 55.69 | 0
17-18Hr | 36.96 | 22.36 | 0.02 | 75.72 | 1.92 | 0.24 | 0.01 | 0.01 | 18.16 | 88.2 | 3.36 | 11.57 | 0.02 | 0 | 890.54 | 0 | 2.54 | 0.06 | 0.01 | 56.51 | 0
18-19Hr | 36.91 | 22.92 | 0.02 | 78.23 | 1 | 0.09 | 0.01 | 0.01 | 17.54 | 86.77 | 3.35 | 11.55 | 0.02 | 0 | 891.11 | 0 | 2.72 | 0.06 | 0.01 | 49.73 | 0
19-20Hr | 36.33 | 22.64 | 0.02 | 79.13 | 0.96 | 0.14 | 0.01 | 0.01 | 17.39 | 95.02 | 3.32 | 11.36 | 0.02 | 0 | 891.4 | 0.01 | 2.63 | 0.06 | 0.01 | 45.55 | 0
20-21Hr | 36.57 | 22.76 | 0.02 | 82.33 | 1.05 | 0.14 | 0.01 | 0.01 | 17.17 | 86.88 | 3.35 | 11.43 | 0.02 | 0 | 891.4 | 0 | 2.68 | 0.06 | 0.01 | 47.77 | 0
21-22Hr | 36 | 22.52 | 0.02 | 83.93 | 1.15 | 0.15 | 0.01 | 0.01 | 16.61 | 92.26 | 3.39 | 11.25 | 0.02 | 0 | 891.42 | 0 | 2.68 | 0.06 | 0.01 | 39.03 | 0
22-23Hr | 35.42 | 23.19 | 0.02 | 82.46 | 1.37 | 0.26 | 0.01 | 0.01 | 16.75 | 98.12 | 3.42 | 11.07 | 0.02 | 0 | 891.19 | 0 | 2.56 | 0.06 | 0.01 | 35.62 | 0
23-00Hr | 35.39 | 22.94 | 0.02 | 82.46 | 1.69 | 0.13 | 0.01 | 0.01 | 16.76 | 88.88 | 3.42 | 11.05 | 0.02 | 0 | 891.28 | 0 | 2.7 | 0.06 | 0.01 | 36.38 | 0
00-01Hr | 36.03 | 22.6 | 0.02 | 82.49 | 1.6 | 0.17 | 0.01 | 0.01 | 16.7 | 88.96 | 3.43 | 11.3 | 0.02 | 0 | 890.84 | 0 | 2.66 | 0.06 | 0.01 | 35.04 | 0
01-02Hr | 35.53 | 22.02 | 0.02 | 83.78 | 1.55 | 0.15 | 0.01 | 0.01 | 16.52 | 91.67 | 3.34 | 11.11 | 0.02 | 0 | 890.35 | 0 | 2.66 | 0.06 | 0.01 | 30.03 | 0
02-03Hr | 34.95 | 21.99 | 0.02 | 86.37 | 1.25 | 0.14 | 0.01 | 0.01 | 15.89 | 96.9 | 3.35 | 10.92 | 0.02 | 0 | 890.24 | 0 | 2.64 | 0.06 | 0.01 | 28.32 | 0
03-04Hr | 35.34 | 22.61 | 0.02 | 87.76 | 1.26 | 0.15 | 0.01 | 0.01 | 15.73 | 95.56 | 3.37 | 11.06 | 0.02 | 0 | 890.42 | 0 | 2.64 | 0.06 | 0.01 | 30.05 | 0
04-05Hr | 35.43 | 23.13 | 0.02 | 84.46 | 1.8 | 0.18 | 0.01 | 0.01 | 16.31 | 93.58 | 3.4 | 11.09 | 0.02 | 0 | 890.75 | 0 | 2.64 | 0.06 | 0.01 | 31.29 | 0
05-06Hr | 34.85 | 22.09 | 0.02 | 78.46 | 1.46 | 0.12 | 0.01 | 0.01 | 18.09 | 93.43 | 3.32 | 10.91 | 0.02 | 0 | 891.27 | 0 | 2.68 | 0.06 | 0.01 | 41.39 | 24.04
06-07hr | 34.88 | 23.76 | 0.02 | 69.59 | 1.42 | 0.14 | 0.01 | 0.01 | 21.16 | 91.16 | 3.46 | 10.9 | 0.02 | 0 | 892.1 | 0 | 2.75 | 0.06 | 0.01 | 60.09 | 7.85
Avg | 35.88 | 22.61 | 0.02 | 71.65 | 1.7 | 0.17 | 0.01 | 0.01 | 19.46 | 87.91 | 3.38 | 11.22 | 0.02 | 0 | 891.24 | 0 | 2.65 | 0.06 | 0.01 | 49.39 | 42.82
Min | 34.44 | 21.51 | 0.02 | 50.36 | 0.96 | 0.09 | 0.01 | 0.01 | 15.73 | 73.01 | 3.23 | 10.78 | 0.02 | 0 | 889.8 | 0 | 2.54 | 0.06 | 0.01 | 28.32 | 0
Max | 37.38 | 23.76 | 0.02 | 87.76 | 2.71 | 0.31 | 0.01 | 0.01 | 25.3 | 98.12 | 3.53 | 11.72 | 0.02 | 0 | 893.79 | 0.02 | 2.79 | 0.06 | 0.01 | 69.95 | 183.72
Geom.Mean | 35.88 | 22.61 | 0.02 | 71.65 | 1.7 | 0.17 | 0.01 | 0.01 | 19.46 | 87.91 | 3.38 | 11.22 | 0.02 | 0 | 891.24 | 0 | 2.65 | 0.06 | 0.01 | 49.39 | 42.82
Median | 35.82 | 22.61 | 0.02 | 75.72 | 1.69 | 0.15 | 0.01 | 0.01 | 18.16 | 88.56 | 3.39 | 11.2 | 0.02 | 0 | 891.18 | 0 | 2.65 | 0.06 | 0.01 | 49.73 | 0
Mode | 35.43 | 22.6 | 0.02 | 82.46 | 0.96 | 0.15 | 0.01 | 0.01 | 15.89 | 73.01 | 3.35 | 11.55 | 0.02 | 0 | 891.4 | 0 | 2.66 | 0.06 | 0.01 | 28.32 | 0
Std.Deviation | 0.88 | 0.56 | 0 | 12.69 | 0.47 | 0.05 | 0 | 0 | 3.15 | 6.57 | 0.07 | 0.28 | 0 | 0 | 1.13 | 0.01 | 0.06 | 0 | 0 | 13.56 | 69.25
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0