## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 27 |  |  |  | Date : 27/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 27/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.11 | 217.83 | 0.02 | 51.42 | 5.21 | 0.19 | 0.01 | 0.01 | 19.49 | 21.28 | 3.26 | 10.62 | 0.02 | 0 | 893.12 | 33.93 | 2.55 | 0.06 | 0.01 | 10.51 | 7.91
07-08Hr | 0.13 | 222.56 | 0.02 | 48.79 | 5.77 | 0.2 | 0.01 | 0.01 | 20.7 | 22.94 | 3.47 | 10.71 | 0.02 | 0.01 | 893.65 | 34.25 | 2.64 | 0.06 | 0.01 | 13.08 | 57.81
08-09Hr | 0.1 | 194.62 | 0.02 | 48.39 | 13.2 | 0.16 | 0.01 | 0.01 | 22.19 | 22.87 | 3.4 | 10.8 | 0.02 | 0 | 893.55 | 34.64 | 2.68 | 0.06 | 0.01 | 12.09 | 162.45
09-10Hr | 0.1 | 208.93 | 0.02 | 46.79 | 12.57 | 0.17 | 0.01 | 0.01 | 23.18 | 22.39 | 3.3 | 11.04 | 0.02 | 0 | 892.89 | 35.29 | 2.64 | 0.06 | 0.01 | 11.34 | 183.47
10-11Hr | 0.09 | 211.09 | 0.02 | 42.81 | 3.4 | 0.19 | 0.01 | 0.01 | 24.54 | 22.23 | 3.27 | 11.07 | 0.02 | 0 | 891.89 | 35.41 | 2.53 | 0.06 | 0.01 | 12.63 | 194.15
11-12Hr | 0.15 | 206.29 | 0.02 | 41.92 | 2.99 | 0.2 | 0.01 | 0.01 | 24.91 | 22.58 | 3.37 | 11.15 | 0.02 | 0 | 890.75 | 35.69 | 2.59 | 0.06 | 0.01 | 12.63 | 189.16
12-13Hr | 0.11 | 191.44 | 0.02 | 39.53 | 2.02 | 0.19 | 0.01 | 0.01 | 25.98 | 21.48 | 3.27 | 11.2 | 0.02 | 0 | 890.26 | 35.83 | 2.54 | 0.06 | 0.01 | 11.86 | 168.06
13-14Hr | 0.11 | 211.5 | 0.02 | 38.06 | 1.19 | 0.17 | 0.01 | 0.01 | 26.63 | 22.06 | 3.37 | 11.25 | 0.02 | 0 | 890.18 | 35.97 | 2.66 | 0.06 | 0.01 | 9.8 | 97.17
14-15Hr | 0.12 | 202.8 | 0.02 | 53.48 | 1.24 | 0.15 | 0.01 | 0.01 | 22.22 | 21.6 | 3.3 | 11.27 | 0.02 | 0 | 890.11 | 36.13 | 2.6 | 0.06 | 0.01 | 14.2 | 7.23
15-16Hr | 0.09 | 223.25 | 0.02 | 66.99 | 1.3 | 0.18 | 0.01 | 0.01 | 19.93 | 22.36 | 3.39 | 11.31 | 0.02 | 0 | 890.37 | 36.15 | 2.66 | 0.06 | 0.01 | 9.05 | 0.31
16-17Hr | 0.12 | 212.77 | 0.02 | 79.8 | 0.79 | 0.15 | 0.01 | 0.01 | 18.65 | 22.23 | 3.31 | 11.27 | 0.02 | 0 | 890.87 | 36.11 | 2.62 | 0.06 | 0.01 | 10.48 | 0
17-18Hr | 0.12 | 210.01 | 0.02 | 82.78 | 0.5 | 0.15 | 0.01 | 0.01 | 18.23 | 22.26 | 3.28 | 11.26 | 0.02 | 0 | 891.38 | 36.02 | 2.6 | 0.06 | 0.01 | 10.14 | 0
18-19Hr | 0.13 | 219.86 | 0.02 | 75.53 | 0.57 | 0.12 | 0.01 | 0.01 | 18.03 | 22.92 | 3.41 | 11.2 | 0.02 | 0 | 891.87 | 35.76 | 2.73 | 0.06 | 0.01 | 9.78 | 0
19-20Hr | 0.1 | 224.53 | 0.02 | 66.03 | 1.16 | 0.22 | 0.01 | 0.01 | 18.11 | 22.51 | 3.38 | 11.1 | 0.02 | 0 | 892.08 | 35.45 | 2.59 | 0.06 | 0.01 | 11.35 | 0
20-21Hr | 0.08 | 226.43 | 0.02 | 64.06 | 1.82 | 0.15 | 0.01 | 0.01 | 17.77 | 22.87 | 3.31 | 11.21 | 0.02 | 0 | 892.08 | 35.87 | 2.58 | 0.06 | 0.01 | 13.62 | 0
21-22Hr | 0.13 | 223.2 | 0.02 | 61.92 | 2.08 | 0.25 | 0.01 | 0.01 | 17.56 | 21.94 | 3.42 | 11.14 | 0.02 | 0 | 892.1 | 35.61 | 2.57 | 0.06 | 0.01 | 13.15 | 0
22-23Hr | 0.1 | 222.18 | 0.02 | 61.1 | 2.35 | 0.19 | 0.01 | 0.01 | 17.3 | 22.04 | 3.29 | 11 | 0.02 | 0 | 891.87 | 35.15 | 2.53 | 0.06 | 0.01 | 14.13 | 0
23-00Hr | 0.14 | 225.81 | 0.02 | 59.58 | 2.63 | 0.08 | 0.01 | 0.01 | 17.12 | 21.78 | 3.3 | 10.98 | 0.02 | 0 | 891.84 | 35.07 | 2.71 | 0.06 | 0.01 | 13.44 | 0
00-01Hr | 0.09 | 227.67 | 0.02 | 58.45 | 3.06 | 0.28 | 0.01 | 0.01 | 16.91 | 22.85 | 3.47 | 10.97 | 0.02 | 0 | 891.55 | 35.06 | 2.59 | 0.06 | 0.01 | 13.71 | 0
01-02Hr | 0.12 | 226.56 | 0.02 | 62.89 | 2.71 | 0.17 | 0.01 | 0.01 | 16.74 | 22.97 | 3.46 | 10.91 | 0.02 | 0 | 891.4 | 34.97 | 2.67 | 0.06 | 0.01 | 13.94 | 0
02-03Hr | 0.15 | 226.08 | 0.02 | 61 | 2.77 | 0.19 | 0.01 | 0.01 | 16.38 | 22.02 | 3.26 | 10.84 | 0.02 | 0 | 891.12 | 34.6 | 2.58 | 0.06 | 0.01 | 13.92 | 0
03-04Hr | 0.09 | 227.2 | 0.02 | 57.72 | 3.23 | 0.14 | 0.01 | 0.01 | 16.46 | 21.56 | 3.25 | 10.81 | 0.02 | 0 | 891.17 | 34.62 | 2.59 | 0.06 | 0.01 | 14.38 | 0
04-05Hr | 0.13 | 223.14 | 0.02 | 58.23 | 3.58 | 0.16 | 0.01 | 0.01 | 16.49 | 21.65 | 3.27 | 10.71 | 0.02 | 0 | 891.56 | 34.27 | 2.55 | 0.06 | 0.01 | 13.54 | 2.55
05-06Hr | 0.12 | 227.83 | 0.02 | 56.24 | 3.68 | 0.15 | 0.01 | 0.01 | 18.08 | 20.99 | 3.15 | 10.7 | 0.02 | 0 | 892.14 | 34.21 | 2.53 | 0.06 | 0.01 | 13.04 | 38.76
06-07hr | 0.11 | 215.02 | 0.02 | 50.48 | 3.1 | 0.24 | 0.01 | 0.01 | 20.38 | 22.06 | 3.27 | 10.75 | 0.02 | 0 | 892.65 | 34.39 | 2.55 | 0.06 | 0.01 | 11.56 | 8.72
Avg | 0.11 | 217.14 | 0.02 | 57.36 | 3.32 | 0.18 | 0.01 | 0.01 | 19.76 | 22.18 | 3.33 | 11.01 | 0.02 | 0 | 891.7 | 35.22 | 2.6 | 0.06 | 0.01 | 12.29 | 44.71
Min | 0.08 | 191.44 | 0.02 | 38.06 | 0.5 | 0.08 | 0.01 | 0.01 | 16.38 | 20.99 | 3.15 | 10.62 | 0.02 | 0 | 890.11 | 33.93 | 2.53 | 0.06 | 0.01 | 9.05 | 0
Max | 0.15 | 227.83 | 0.02 | 82.78 | 13.2 | 0.28 | 0.01 | 0.01 | 26.63 | 22.97 | 3.47 | 11.31 | 0.02 | 0.01 | 893.65 | 36.15 | 2.73 | 0.06 | 0.01 | 14.38 | 194.15
Geom.Mean | 0.11 | 217.14 | 0.02 | 57.36 | 3.32 | 0.18 | 0.01 | 0.01 | 19.76 | 22.18 | 3.33 | 11.01 | 0.02 | 0 | 891.7 | 35.22 | 2.6 | 0.06 | 0.01 | 12.29 | 44.71
Median | 0.11 | 222.18 | 0.02 | 58.23 | 2.71 | 0.17 | 0.01 | 0.01 | 18.23 | 22.23 | 3.3 | 11.04 | 0.02 | 0 | 891.84 | 35.29 | 2.59 | 0.06 | 0.01 | 12.63 | 0.31
Mode | 0.12 | 191.44 | 0.02 | 38.06 | 0.79 | 0.19 | 0.01 | 0.01 | 16.91 | 22.23 | 3.27 | 10.71 | 0.02 | 0 | 891.87 | 34.21 | 2.59 | 0.06 | 0.01 | 12.63 | 0
Std.Deviation | 0.02 | 10.38 | 0 | 11.7 | 3.16 | 0.04 | 0 | 0 | 3.19 | 0.56 | 0.08 | 0.22 | 0 | 0 | 0.99 | 0.7 | 0.06 | 0 | 0 | 1.61 | 72.54
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0