## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 26 |  |  |  | Date : 26/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 26/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 32.98 | 24.47 | 0.02 | 78.58 | 1.86 | 0.18 | 0.01 | 0.01 | 16.94 | 86.75 | 3.59 | 10.34 | 0.02 | 0 | 890.04 | 0.01 | 2.8 | 0.06 | 0.01 | 17.75 | 9.42
07-08Hr | 32.93 | 23.69 | 0.02 | 67.14 | 2 | 0.13 | 0.01 | 0.01 | 19.94 | 82.41 | 3.53 | 10.31 | 0.02 | 0 | 890.79 | 0 | 2.79 | 0.06 | 0.01 | 20.75 | 64
08-09Hr | 33.37 | 23.57 | 0.02 | 63.4 | 2.13 | 0.2 | 0.01 | 0.01 | 20.51 | 92.87 | 3.55 | 10.44 | 0.02 | 0 | 890.89 | 0 | 2.67 | 0.06 | 0.01 | 36.58 | 143.46
09-10Hr | 33.48 | 23.15 | 0.02 | 55.66 | 2.08 | 0.29 | 0.01 | 0.01 | 22.01 | 91.59 | 3.48 | 10.47 | 0.02 | 0 | 890.09 | 0 | 2.61 | 0.06 | 0.01 | 58.33 | 163.94
10-11Hr | 34.3 | 22.85 | 0.02 | 55.43 | 1.91 | 0.26 | 0.01 | 0.01 | 22.79 | 88.21 | 3.47 | 10.74 | 0.02 | 0 | 889.06 | 0 | 2.61 | 0.06 | 0.01 | 66.5 | 179.88
11-12Hr | 34.51 | 22.94 | 0.02 | 52.27 | 1.69 | 0.13 | 0.01 | 0.01 | 23.96 | 70.92 | 3.31 | 10.8 | 0.02 | 0 | 888.16 | 0 | 2.63 | 0.06 | 0.01 | 56.71 | 172.38
12-13Hr | 34.81 | 22.23 | 0.02 | 47.75 | 1.81 | 0.12 | 0.01 | 0.01 | 24.69 | 93.37 | 3.28 | 10.9 | 0.02 | 0 | 887.4 | 0 | 2.6 | 0.06 | 0.01 | 37.47 | 163.85
13-14Hr | 35.08 | 23.18 | 0.02 | 43.7 | 2.11 | 0.16 | 0.01 | 0.01 | 23.86 | 85.96 | 3.36 | 10.98 | 0.02 | 0 | 887.16 | 0 | 2.63 | 0.06 | 0.01 | 59.55 | 126.64
14-15Hr | 35.66 | 22.94 | 0.02 | 56.04 | 1.83 | 0.17 | 0.01 | 0.01 | 20.36 | 92.86 | 3.32 | 11.17 | 0.02 | 0 | 887.16 | 0 | 2.6 | 0.06 | 0.01 | 33.26 | 21.14
15-16Hr | 35.52 | 21.99 | 0.02 | 72.24 | 1.74 | 0.15 | 0.01 | 0.01 | 17.59 | 91.34 | 3.29 | 11.12 | 0.02 | 0 | 887.36 | 0 | 2.59 | 0.06 | 0.01 | 24.68 | 1.46
16-17Hr | 35.43 | 22.76 | 0.02 | 83.96 | 1.5 | 0.11 | 0.01 | 0.01 | 15.99 | 99.02 | 3.38 | 11.07 | 0.02 | 0 | 887.77 | 0 | 2.77 | 0.06 | 0.01 | 27.19 | 0
17-18Hr | 35.41 | 23.2 | 0.02 | 88.14 | 1.64 | 0.21 | 0.01 | 0.01 | 15.26 | 112.07 | 3.39 | 11.09 | 0.02 | 0 | 888.32 | 0.01 | 2.64 | 0.06 | 0.01 | 23.54 | 0
18-19Hr | 35.73 | 21.72 | 0.02 | 91 | 1.42 | 0.17 | 0.01 | 0.01 | 14.48 | 87.51 | 3.22 | 11.17 | 0.02 | 0 | 888.8 | 0.01 | 2.58 | 0.06 | 0.01 | 18.29 | 0
19-20Hr | 35.68 | 22.57 | 0.02 | 93.04 | 1.25 | 0.19 | 0.01 | 0.01 | 13.98 | 90.65 | 3.37 | 11.15 | 0.02 | 0 | 888.97 | 0 | 2.63 | 0.06 | 0.01 | 15.15 | 0
20-21Hr | 35.48 | 22.27 | 0.02 | 95.17 | 1.07 | 0.13 | 0.01 | 0.01 | 13.58 | 119.82 | 3.35 | 11.09 | 0.02 | 0 | 889.05 | 0 | 2.64 | 0.06 | 0.01 | 11.89 | 0
21-22Hr | 35.09 | 23.13 | 0.02 | 95.79 | 1.4 | 0.13 | 0.01 | 0.01 | 13.6 | 109.98 | 3.45 | 10.99 | 0.02 | 0 | 888.79 | 0 | 2.72 | 0.06 | 0.01 | 12.24 | 0
22-23Hr | 34.78 | 22.16 | 0.02 | 95.84 | 1.5 | 0.11 | 0.01 | 0.01 | 13.23 | 112.86 | 3.24 | 10.89 | 0.02 | 0 | 888.7 | 0 | 2.58 | 0.06 | 0.01 | 9.36 | 0
23-00Hr | 34.69 | 23.13 | 0.02 | 97.89 | 1.48 | 0.19 | 0.01 | 0.01 | 13.17 | 166.19 | 3.42 | 10.84 | 0.02 | 0 | 888.52 | 0.01 | 2.66 | 0.06 | 0.01 | 8.63 | 0
00-01Hr | 34.29 | 24.06 | 0.02 | 97.63 | 1.69 | 0.25 | 0.01 | 0.01 | 13.46 | 149.35 | 3.54 | 10.74 | 0.02 | 0 | 888.15 | 0 | 2.62 | 0.06 | 0.01 | 10.98 | 0
01-02Hr | 34.13 | 23.31 | 0.02 | 96.37 | 1.87 | 0.12 | 0.01 | 0.01 | 13.53 | 153.95 | 3.43 | 10.71 | 0.02 | 0 | 887.91 | 0 | 2.68 | 0.06 | 0.01 | 21.99 | 0
02-03Hr | 33.79 | 22.76 | 0.02 | 94.68 | 2.06 | 0.16 | 0.01 | 0.01 | 13.57 | 109.48 | 3.44 | 10.58 | 0.02 | 0 | 887.69 | 0 | 2.63 | 0.06 | 0.01 | 8.68 | 0
03-04Hr | 33.58 | 21.86 | 0.02 | 93.62 | 2.13 | 0.17 | 0.01 | 0.01 | 13.5 | 108.8 | 3.27 | 10.51 | 0.02 | 0 | 887.8 | 0 | 2.61 | 0.06 | 0.01 | 8.61 | 0
04-05Hr | 33.25 | 23.52 | 0.02 | 91.7 | 2.05 | 0.23 | 0.01 | 0.01 | 13.53 | 120.47 | 3.56 | 10.41 | 0.02 | 0 | 888.42 | 0 | 2.72 | 0.06 | 0.01 | 11.48 | 0
05-06Hr | 33.25 | 23.15 | 0.02 | 87.26 | 1.85 | 0.18 | 0.01 | 0.01 | 14.87 | 93.77 | 3.53 | 10.4 | 0.02 | 0 | 889.16 | 0 | 2.71 | 0.06 | 0.01 | 14.39 | 29.41
06-07hr | 33.25 | 22.67 | 0.02 | 75.87 | 1.7 | 0.19 | 0.01 | 0.01 | 18.1 | 83.67 | 3.34 | 10.4 | 0.02 | 0 | 889.91 | 0 | 2.59 | 0.06 | 0.01 | 17.05 | 14.36
Avg | 34.42 | 22.93 | 0.02 | 78.81 | 1.75 | 0.17 | 0.01 | 0.01 | 17.06 | 103.75 | 3.4 | 10.77 | 0.02 | 0 | 888.64 | 0 | 2.65 | 0.06 | 0.01 | 25.24 | 43.6
Min | 32.93 | 21.72 | 0.02 | 43.7 | 1.07 | 0.11 | 0.01 | 0.01 | 13.17 | 70.92 | 3.22 | 10.31 | 0.02 | 0 | 887.16 | 0 | 2.58 | 0.06 | 0.01 | 8.61 | 0
Max | 35.73 | 24.47 | 0.02 | 97.89 | 2.13 | 0.29 | 0.01 | 0.01 | 24.69 | 166.19 | 3.59 | 11.17 | 0.02 | 0 | 890.89 | 0.01 | 2.8 | 0.06 | 0.01 | 66.5 | 179.88
Geom.Mean | 34.42 | 22.93 | 0.02 | 78.81 | 1.75 | 0.17 | 0.01 | 0.01 | 17.06 | 103.75 | 3.4 | 10.77 | 0.02 | 0 | 888.64 | 0 | 2.65 | 0.06 | 0.01 | 25.24 | 43.6
Median | 34.51 | 22.94 | 0.02 | 87.26 | 1.81 | 0.17 | 0.01 | 0.01 | 15.26 | 93.37 | 3.39 | 10.8 | 0.02 | 0 | 888.52 | 0 | 2.63 | 0.06 | 0.01 | 18.29 | 0
Mode | 33.25 | 23.13 | 0.02 | 43.7 | 2.13 | 0.13 | 0.01 | 0.01 | 13.53 | 149.35 | 3.53 | 10.74 | 0.02 | 0 | 887.16 | 0 | 2.63 | 0.06 | 0.01 | 8.63 | 0
Std.Deviation | 0.96 | 0.67 | 0 | 18.23 | 0.29 | 0.05 | 0 | 0 | 4 | 23.52 | 0.11 | 0.3 | 0 | 0 | 1.07 | 0 | 0.06 | 0 | 0 | 17.74 | 67.88
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0